Section Cover Page

Section 01 23 00 2014-10-01 Alternatives

Use this Section to specify alternatives for which alternative prices are being requested in the Bid Form.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Data Sheet - General

.3	Specification Section Text:

.1	Intent

.2	Related Requirements

.3	Coordination

.4	Description of Alternatives

INFRASTRUCTURE POLICY

Infrastructure’s policy is to specify alternatives judiciously, in a limited number per contract (normally a maximum of 3), and only where warranted on account of exceptional circumstances.  This is due, in part, to the complications to the bidding and contract award process, particularly in government, which result from specifying alternatives.

In principal, alternatives should not be used as means of obtaining the "best price".   Alternatives should be accurately cost estimated during the design and documentation phases of a project and appropriate decisions taken prior to the bidding phase.

When alternatives are to be specified, the preferred method is a separate total tender price for each alternative, as opposed to a base bid with add/deduct prices for alternatives.  The Infrastructure Master Specification (ie. Instructions to Bidders, Section 00 41 19 - Stipulated Price Bid Form (Alternatives) Document 00 51 02 - Letter of Acceptance (Qualified), and this Section) is based on this method.

COORDINATION WITH SPECIFICATIONS

Fully specify each alternative in the appropriate technical specifications (Divisions 02-48).

Each specification section which contains products or methods affected by an alternative (whether it be a scope alternative which affects the total scope of work, or whether a product is changed under an alternative) should cross-reference to this Section 01 23 00, and preferably to the specific alternative by its assigned letter designation.

COORDINATION WITH DRAWINGS

Unless an alternative changes only specified attributes of a product or equipment and does not affect related work, fully detail each alternative on drawings.  Alternatives which involve scope must be shown on drawings.

Each drawing or portion of a drawing showing an alternative should identify the alternative by letter designation.  Ensure that the list of drawings identifies those sheets which identify an alternative.

END OF DATA SHEET

1.	INTENT

.1	Each alternative for which an alternative bid price is being requested is identified by letter designation and described in this Section.

.2	The Work of the Contract will be based on the alternative selected by the Province at the time of contract award.

2.	RELATED REQUIREMENTS

.1	Instructions to Bidders, including basis of bidding,

bid evaluation, and contract award:	Section [             ].

.2	Bid Form:	Section 00 41 19.

3.	COORDINATION

.1	Coordinate pertinent related work and modify surrounding work as required to properly integrate the work under each alternative, and to provide the complete construction required by the Contract Documents.

4.	DESCRIPTION OF ALTERNATIVES

.1	Alternative 'A':

.1	[                           ].

.2	Alternative 'B':

.1	[                           ].

.3	Alternative 'C':

.1	[                           ].

SPEC NOTE:  Describe each alternative clearly and comprehensively by appropriately referencing all specification sections and drawings which are affected.  Ensure that the total scope of work under each alternative has been clearly defined.

END OF SECTION