Section Cover Page

Section 05 41 00 Wind Bearing 2011-06-28 Metal Stud Systems

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

Use this Section to specify requirements for supply and installation of metal stud systems required to resist wind loads.  Prepare this Section with input from structural engineer.

This Master Specification Section contains:

.1	This Cover Sheet

.2	LEED Notes and Credits

.3	Data Sheet - Design

.4	Specification Section Text:

1.	General

1.1	Related Sections

1.2	Reference Documents

1.3	Description of System

1.4	Administrative Requirements

1.5	Submittals

1.6	Quality Assurane

1.7	Delivery, Storage and Handling

2.	Products

2.1	Framing Members

2.2	Anchoring Devices

2.3	Framing Connection Devices

2.4	Accessories

3	Execution

3.1	Erection

3.2	Anchorage and Connections

3.3	Erection Tolerances

3.4	Stud Schedule

3.5	Track Schedule

LEED Notes:

Sustainable building practices and benefits of using steel:

Steel is made from recycled material and is itself a recyclable product.  Less energy is required to make steel from recycled material than to manufacture it from mined material. Steel is one of the few materials that can contain both post-consumer and pre-consumer content.

LEED allows for steel to be up to 25% recycled content without verification from the manufacturer. The location of the steel fabricator, rather than the location of the steel mill may be used as the manufacturing location when calculating the amount of local and regional material used for a project.

This section is coordinated with Division 01 74 19, Waste Management and Disposal in order to reduce packaging material that often comes with steel building components, such as steel strapping, plastic wrap and other protective packaging. Waste metal generated from construction is to be diverted from landfill and sent into recycling.

LEED Credits:

Potential LEED credits are available through this section:

.1	MR Credit 3 Materials Reuse: Use salvaged, refurbished or reused materials, the sum of which constitutes at least 5% or 10% based on cost, of the total value of materials on the project. Salvaged light gauge steel framing members would qualify for this credit.

.2	MR Credit 4 Recycled Content: The criteria is that the sum of post-consumer recycled content plus one-half of the pre-consumer recycled content constitutes at least 10% or 20% of the total value of the materials in the project. Steel components have some recycled content and will contribute to the overall recycled content of components in the building. The LEED Reference Guide allows a default value of 25% post-consumer content for steel.  Claims above 25% will require documentation from the manufacturers.

.3	MR Credit 5 Regional Materials: Use building materials or products that have been extracted, harvested, recovered and processed within 800 km (2400 km is shipped by rail or water) of the final manufacturing site.  Demonstrate that the final manufacturing site is within 800 km (2400 km is shipped by rail or water) of the project site for these products. If fabricated regionally, steel will count in this credit. The contractor will be required to submit documentation consisting of cost, weight, transportation service and distances as evidence of compliance with credit requirements.

In order to meet the LEED EQ 4.2 Credit(Indoor Air Quality - Low Emitting Materials: Paints and Coatings), site applied touch-up primer on interior applications must meet GC-03, Green Seal Environmental Criteria for Anti-Corrosive Paints, Second Edition, January 7, 1997. Maximum VOC content must be less than 250 g/l. Typically it is only the weld spots that require touch-up primer.

Deflections in steel stud framing systems typically arise from flexural bending of the studs, lateral movement of the top and bottom connections, masonry connector deformation, and lateral movement of the bottom of spandrel beams.  It is necessary to carry out rational engineering design to evaluate these factors and produce a proper design of the stud system, based on CSA S136-94.  Information on section profiles and suggested details are available from local manufacturers and "Lightweight Steel Framing Manual", 1988 edition, published by the Canadian Sheet Steel Building Institute.

Laterally imposed wind loads on masonry veneer are transferred to metal stud systems via masonry connectors specified in Section 04 20 00 - Unit Masonry.  Design stud systems back-up for masonry veneer to sustain full wind load and to accommodate secondary effects of masonry connectors.

Assume a deflection limit of L/720 for metal stud backup of masonry veneer.

Do not consider gypsum board and/or rigid insulation as interacting with or supplying support to the steel stud system in any way.  Bridging is usually necessary.

Minimum allowable stud thickness is 1.22 mm to allow studs to accept loads from masonry connectors without excessive deformation.

Assume that the stud framing system is unable to support vertical loads resulting from deflection of the main structural frame.

1.	General

1.1	RELATED SECTIONS

.1	[LEED Submittal Forms	Section 01 32 16.]

.2	[LEED Requirements	Section 01 35 18.]

.3	[Environmental Procedures	Section 01 35 20.]

.4	Waste Management and Disposal		Section 01 74 19.

.5	Masonry connectors:	Section 04 20 00.

.6	Steel fabrications:	Section 05 50 00.

.7	Gypsum board:	Section 09 29 00.

.8	[Plywood][Cementitious board] sheathing:	Section [            ].

1.2	REFERENCE DOCUMENTS

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED requirements and sustainable practices

.1	American Society for Testing and Materials (ASTM):

| .1 | ASTM A653/A653M-09 | Standard Specification for Steel Sheet, Zinc Coated (Galvanized) or Zinc Iron Alloy Coated (Galvannealed) by the Hot Dip Process |
| --- | --- | --- |
| .2 | ASTM A792/A792M-09 | Standard Specification for Steel Sheet, 55% Aluminum Zinc Alloy Coated by the Hot Dip Process |

.2	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org |
| --- | --- | --- |

.3	Canadian General Standards Board (CGSB):

| .1 | CAN/CGSB 1.181-99 | Ready Mixed Organic Zinc Rich Coating |
| --- | --- | --- |
| .2 | CAN/CGSB 7.1-98 | Lightweight Steel Wall Framing Components |

.4	Canadian Sheet Steel Building Institute (CSSBI):

| .1 | CSSBI 51-06 | Lightweight Steel Framing Design Manual |
| --- | --- | --- |
| .2 | CSSBI Fact Sheet #3 June 1994 | Care and Maintenance of Prefinished Sheet Steel Building Products |
| .3 | CSSBI Technical Bulletin Vol. 7, No. 2 February 2004 | Changing Standard Thicknesses for Canadian Lightweight Steel Framing Applications |
| .4 | CSSBI S5-08 | Wind Bearing Steel Studs |

.5	Canadian Standards Association (CSA):

| .1 | CAN/CSA G164 M92(R2003) | Hot Dip Galvanizing of Irregularly Shaped Articles |
| --- | --- | --- |
| .2 | CSA W47.1-03 (R2008) | Certification of Companies for Fusion Welding of Steel Structures |
| .3 | CSA W55.3-1965 (R2003) | Resistance Welding Qualification Code for Fabricators of Structural Members Used in Buildings |
| .4 | CSA W59-03 | Welded Steel Construction (Metal Arc Welding) (Metric Version) |
| .5 | CAN/CSA S136-07 | North American Specification for the Design of Cold-Formed Steel Structural Members |

.6	Green Seal: Standards:

| .1 | GC-03 | Green Seal Environmental Criteria for Anti-Corrosive Paints, Second Edition, January 7, 1997 |
| --- | --- | --- |

.7	Master Painters Institute:

| .1 | Master Painters Institute Green Performance Standard GPS-1-08 |
| --- | --- |

1.3	DESCRIPTION OF SYSTEM

.1	Provide exterior wall stud framing system to resist wind loads, consisting of the following components:

.1	Studs.

.2	Top and bottom tracks.

.3	Bridging and bracing.

.4	Top and bottom track connections to main structure, including fabrications to accommodate main structure deflections.

.5	Head, sill and jamb members at wall openings.

.6	Framing component connections.

1.4	Administrative requirements

.1	Coordination:

.1	Coordinate work of this Section with fixtures supported by wind load bearing metal stud systems.  Such fixtures may include, but are not limited to:  architectural woodwork, premanufactured casework, plumbing fixtures, and electrical fixtures and panels.

.2	Coordinate work of this Section with masonry connectors specified in Section 04 20 00.

.2	Inspection by Minister:

.1	Provide minimum 72 hours notice to Minister prior to commencement of work of this Section.

.2	Do not conceal stud system until inspected by Minister.

1.5	SUBMITTALS

SPEC NOTE:  Consider size and structural requirements of project in deciding which submittals to specify, if any.

.1	Product Data:

.1	Submit manufacturer's printed product literature, specifications and data sheet in accordance with Section 01 33 00 - Submittal Procedures.

.2	Submit product data for mechanical fasteners, indicating sizes, shear, and pull-over loading capacity where applicable.  Provide data indicating thickness and type of corrosion protection coating.

.3	Submit product data indicating suitability of explosive powder actuated fasteners for application.

.2	Shop Drawings:

.1	Submit shop drawings detailing anchorage and framing connections.  Indicate type, size and spacing of fastening devices.

SPEC NOTE:  Include following clause only when design engineer requires welding by company certified in accordance with Article 1.6 - Welder Qualifications.

.3	Certificates:

.1	Submit Certificate of welder qualifications specified in this Section.

.4	Manufacturer Reports:

.1	Submit certified copies of mill reports covering chemical and mechanical properties, and coating designation of steel used for this project.

.5	Sustainable Design Submittals:

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 4 is not being sought.

.1	LEED Submittals: submit LEED submittal forms for Credit MR 4 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Documentation identifying quantity by weight of recycled content in steel product if content is over 25% and to be claimed as such toward LEED credits.

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 5 is not being sought.

.2	LEED Submittals: submit LEED submittal forms for Credit MR 5 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Regional Materials: provide evidence that project incorporates required percentage [20] [30] % of regional materials/products, showing their cost, distances from extraction to manufacture and manufacture to project site, and total cost of materials for project.

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or sustainable building practices are not being followed.

.3	Submit product data for site applied touch-up primer verifying compliance with GC-03, Green Seal Environmental Criteria for Anti-Corrosive Paints, for VOC content.

1.6	Quality assurance

.1	Welder Qualifications:

SPEC NOTE:  Include this article only when the design engineer requires it.  Applicable MIG welding is normally performed by non-certified personnel in the "drywall" trade, using "suitcase" welding equipment.

.1	Welding shall be by company certified by the Canadian Welding Bureau to CSA W47.1, Certification of Companies for Fusion Welding of Steel Structures.

1.7	delivery, storage, and handling

.1	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 - Management and Disposal.

2.	Products

2.1	FRAMING MEMBERS

SPEC NOTE:  Verify availability of grade and thickness combinations with manufacturers.

.1	Cold-formed Sheet Steel:  to ASTM A653M, grade [A] [D].  Thicknesses of framing members specified or indicated on drawings is exclusive of galvanized coating.

.2	Configuration and Cutouts:  to CAN/CGSB-7.1, centres of cutouts shall be minimum 300 mm from stud ends.

.3	Galvanized Zinc Coating:  to ASTM A653M, minimum Z275 coating.

.4	Bridging and Bracing:  as indicated on drawings.

.5	Colour Coding:  in accordance with Lightweight Steel Framing Manual, published by Canadian Sheet Steel Building Institute, 1988 edition.

SPEC NOTE:  Determine whether stud and track sizes will be indicated on drawings or in Schedules at end of this Section.  Specify accordingly.  Refer also to Spec Note preceding Schedules at end of Section.

.6	Stud Sizes and Spacing:  as indicated [in Stud Schedule at end of this Section] [on drawings].

.7	Bottom Track Sizes:  as indicated [in Track Schedule at end of this Section] [on drawings].

.8	Top Track Sizes:  as indicated [in Track Schedule at end of this Section] [on drawings].

2.2	ANCHORING DEVICES

SPEC NOTE:  Verify that drawings indicate sizes and types of fastening devices for anchorage.

.1	Drilled Inserts:  steel, cadmium plated or hot-dip galvanized, sizes as indicated on drawings.

.2	Bolts and nuts:  to ASTM A307, sizes as indicated on drawings, with large flat type steel washers, sized to suit fasteners, hot-dip galvanized.

.3	Explosive Powder Actuated Fasteners:  as recommended by manufacturer for the application, subject to approval by Minister.

2.3	FRAMING CONNECTION DEVICES

SPEC NOTE:  Verify that drawings show sizes and types of fastening devices for connections.

.1	Screws:  self-drilling and tapping, sizes as indicated on drawings, and as follows:

.1	Material:  stainless steel or steel with minimum 0.008 mm cadmium or zinc coating.

.2	Head Profile:  hex, pan, and low-profile type.

.3	Length:  adequate to penetrate not less than 3 fully exposed threads beyond joined materials.

.2	Welding Electrodes:  minimum tensile strength series of 480 MPa, suitable for material being welded.

2.4	ACCESSORIES

SPEC NOTE: Delete the following requirement for Green Seal Standard if project is not attaining LEED certification or sustainable building practices are not being followed.

.2	Touch-Up Primer for Galvanized Steel:  zinc-rich, organic, ready mixed, to CAN/CGSB-1.181 [meeting requirements of Green Seal Standard GC-03, 1997, for VOC content to be less than 250 g/l.]

3.	Execution

3.1	ERECTION

SPEC NOTE:  Ensure drawings include detailing of corners, sills, jambs and headers at openings.

.1	Provide continuous top and bottom tracks.

.2	Space studs [at [300][400][600][   ] mm on centres] [as indicated [in Metal Stud System Schedule] [on drawings]].  Coordinate spacing with panel products to be applied against framing.

SPEC NOTE:  If more than one spacing is required, ensure that locations are shown on drawings or in schedule.  Do not exceed 600 mm spacing on centres.

.3	Cut members using saw or shear.  Flame cutting is not permitted.

.4	Except as indicated otherwise on drawings, provide double studs at wall openings greater than stud space in width, and at door and window jambs.  Locate studs not more than 50 mm from each side of openings.

.5	Provide minimum of three studs at corners.

.6	Provide cross-studs secured to studs, and additional framing as required for support of fixtures mounted to walls.

.7	After erection, refinish damaged finishes, welds, fastener heads and nuts with zinc-rich paint, in accordance with paint manufacturer's instructions.

3.2	ANCHORAGE AND CONNECTIONS

.1	Securely anchor metal stud systems to main structure with fasteners spaced at maximum [600][   ] mm o.c., and located not more than 50 mm from track ends.  Unless otherwise indicated, anchor components as follows:

.1	To concrete with drilled inserts.

.2	To steel with screws, welds, explosive powder actuated fasteners, or bolts [as detailed on drawings].

.2	Install powder actuated fasteners in accordance with manufacturer's instructions, strictly observing minimum recommended edge distances for the applicable substrate.

.3	Connect framing members using bolts, screws or welds [, and as detailed on drawings].

.4	Use wafer head screws or welds where panel products will be installed against fastening devices.

.5	Do welding in accordance with ANSI/AWS D1.3 - Structural Welding Code - Sheet Steel.

3.3	ERECTION TOLERANCES

.1	Out of Plumb:  maximum 1/500 of member length.

.2	Track Camber:  maximum 1/1000 of member length.

.3	Gap Between End of Studs and Web of Tracks:  maximum 4 mm.

.4	Stud Spacing:  plus or minus 3 mm from specified spacing.  Cumulative error in spacing shall not exceed requirements for applied panel products.

SPEC NOTE:  Unless all stud and track sizes are indicated on drawings, use following schedules to provide information not indicated on drawings.  Coordinate with wall schedules on drawings as required.  Do not duplicate information on drawings and in these schedules.

3.4	STUD SCHEDULE

| Location | Web Depth (mm) | Stud Thickness (mm) | Stud Spacing (mm) |
| --- | --- | --- | --- |
| [ ] | [92][102][152] [203] | [1.22][1.52] [1.91][2.67] | [400][600] [300] |
| [ ] | [ ] | [ ] | [ ] |
| All [other] locations | [ ] | [ ] | [ ] |

3.5	TRACK SCHEDULE

|  | Bottom Track | Inner Top Track | Outer Top Track |
| --- | --- | --- | --- |
| Location | Thick- ness (mm) | Flange Width (mm) | Thick- ness (mm) | Flange Width (mm) | Thick- ness (mm) | Flange Width (mm) |
| [ ] | [1.22] | [33] | [1.22] | [51] | [ ] | [ ] |
|  | [1.52] |  | [1.52] | [ ] |  |  |
|  | [1.91] |  | [1.91] |  |  |  |
|  | [2.67] |  | [2.67] |  |  |  |
| [ ] | [ ] | [ ] | [ ] | [ ] | [ ] | [ ] |
| All [other] locations | [ ] | [ ] | [ ] | [ ] | [ ] | [ ] |

SPEC NOTE:  Top track descriptions in Schedule (i.e. inner and outer) assume that typical track deflection detail indicated in CSSBI's Lightweight Steel Framing Manual, August 1988 printing, will apply.  Edit as required if other top track details apply.

END OF SECTION