Section Cover Page

Section 06 40 00 2015-10-30 Architectural Woodwork

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

Use this Section to specify supply and installation of all interior and exterior shop-fabricated woodwork items, except items noted as exceptions on Data Sheet - Section Scope.

This Master Specification Section contains:

.1	This Cover Page.

.2	LEED Notes and Credits

.3	Data Sheets for the following: Section Scope, Specification Preparation, Technical Data, Coordination and Sample Schedule.

.4	Specification Section Text:

1.	General

1.1	Related Work Specified in Other Sections

1.2	Reference Documents

1.3	Product Options and Substitutions

1.4	Administrative Requirements

1.5	Submittals

1.6	Closeout Submittals

1.7	Quality Assurance

1.8	Delivery, Storage and Handling

1.9	Warranty

2.	Products

2.1	Description

2.2	Lumber, General

2.3	Panel Products, General

2.4	Accessories

2.5	Casework Hardware

2.6	Casework, General

2.7	Casework, [Stain with] Clear Finish [, Type [ ]]

2.8	Casework, Opaque Finish [, Type [ ]]

2.9	Casework, High Pressure Decorative Laminate (HPDL) Finish [, Type []]

2.10	High Pressure Decorative Laminate (HPDL) Countertops [and Backsplashs,] Self-Edge Type

2.11	High Pressure Decorative Laminate (HPDL) Countertops and Backsplashs, Post-Formed Type

2.12	Flush Panelling, , [Stain with] Clear Finish

2.13	Stile and Rail Panelling, [Stain with] Clear Finish

2.14	[Trim] [and] [Handrails], [Stain with] Clear Finish

2.15	[Trim] [and] [Handrails], Opaque Finish

2.16	Fabrication

2.17	Factory Finishing Materials

2.18	Factory Finish

3.	Execution

3.1	Verification of Conditions

3.2	Installation

3.3	Architectural Woodwork Schedule

LEED Notes:

Refer to Section 01 35 18 – LEED Requirements for:

- Requirements necessary to obtain points for certification.

- Confirmation of LEED perquisites and credits affecting this Section.  Not all are mandatory for certification.

Maintain built-in sustainability regardless of LEED requirements for:

- Recycling, reuse of materials, components and assemblies.

- Diversion of construction waste from landfills.

- Use of recycled materials, local materials, rapidly renewable and durable materials.

- Maintain healthy indoor environment during constructing.

- Provide for thermal comfort, access to views and daylight for indoor spaces.

- Foster innovation into facility design and planning.

LEED Credits:

1.	Materials & Resources

-	Prereq 1 - Storage & Collection of Recyclables

-	Credit 2 - Construction Waste Management

-	Credit 4 - Recycled Content

-	Credit 5 - Regional Materials

-	Credit 6 - Rapidly Renewable Materials

-	Credit 7 - Certified Wood

2.	Indoor Environmental Quality

-	Prereq 1 - Minimum IAQ Performance

-	Credit 4.1 - Low-Emitting Materials: Adhesives & Sealants

-	Credit 4.2 - Low-Emitting Materials: Paints and Coating

-	Credit 4.4 - Low-Emitting Materials: Composite Wood and Agrifibre Products

3.	Regional Priority

-	Credit 1 – Durable Building

This Master Specification Section includes shop-fabricated items listed on Section Cover Page, under Part 2 - Products.

Refer to construction trade definitions for a more complete listing of items that may need to be included in this Section.

Specify in this Section all items included in construction trade definitions, except the following:

.1	Flush Wood Doors, specified in Section 08 14 16.

.2	Plastic Faced Doors and Panels, specified in Section 08 14 23.

Also specify the following items in this Section, even though similar products may be specified in other Sections:

.1	Casework hardware.

.2	Factory Finishing Materials.

.3	Sealants for casework.

.4	Glass and plastic glazing completely surrounded by architectural woodwork.

.5	Mirrors installed in wood frames.

.6	Custom-fabricated wood furniture.

USE OF REFERENCE DOCUMENTS

This Specification is based primarily on “Architectural Woodwork Quality Standards Illustrated” 2003 edition, published by the Architectural Woodwork Manufacturers Association of Canada and the Architectural Woodwork Institute, in the U.S., hereinafter referred to as the AWMAC Manual.  Specifier should have a copy on hand, be familiar with, and frequently refer to this edition of the AWMAC Manual in order to properly specify requirements of this Section.

# QUALITY

AWMAC quality grades allow the architectural woodwork manufacturer a number of options in the choice of materials and construction.  This specification selects some of these options and establishes some requirements for materials and workmanship that differ from the referenced standard. For example, this specification does not permit the use of melamine and limits the use of medium density fibreboard (MDF) to drawer bottoms only.

SPECIFICATION SECTION STRUCTURE

Specification Section text is highly structured.  Review entire Section prior to editing.  Section structure in Part 2 is based primarily on general categories of components, as identified in Article headings 2.5 to 2.14.  These articles include detailed specification requirements applicable to a given component category (except for accessories and requirements related to factory finishing, which are specified separately).

If there are required items that do not fit into any of the standard Articles (component categories), add additional Articles as required.  If all items within a given component category have identical specification requirements, it is unnecessary to assign any type designations and the structure remains relatively simple.  However, for some projects not all items within a component category will have identical requirements, e.g. some "Casework for Clear Finish" components may need to be red oak, others birch.  In such cases, assign different type designations to differentiate the component categories.  Specify the variables by inserting one or more additional articles to address the exceptions to the first component category. For example:

2.6	CASEWORK, CLEAR FINISH, TYPE B

.1	Same as Casework, Clear Finish, Type A, except as follows:

Use the "Architectural Woodwork Schedule" at end of Section to provide a summary listing of all components required for project, including their locations, factory finish requirements where applicable, and other variables as necessary. Refer to Data Sheet - Sample Schedule.

HIGH PRESSURE DECORATIVE LAMINATE (HPDL)

High Pressure Decorative Laminate (HPDL) is also known as Plastic Laminate. The types for vertical applications are thinner than the types for horizontal applications. HPDL, in accordance with 2000 NEMA usage, is available in the following types.

- Horizontal  and Vertical General Purpose:

  - (HGS) and (VGS): thickest laminates available.

  - (HGL) and (VGL): slightly thinner than HGS and VGS respectively.

- Horizontal and Vertical Post Forming, (HGP) and (VGP): post forming use only.

- Fire Rated, (HGF)

- Cabinet Liner (CLS): Liner grade.

- Backer (BKL): Laminate backer grade.

HIGH PRESSURE DECORATIVE LAMINATE FINISHES AND SURFACE TEXTURES

Cashmere, textured, suede, and matte are terms different manufacturers use to describe the most common type of finish available. As these finishes relate mostly to the way they reflect light, or sheen, the manufacturer’s finish terms listed above will be referred to as matte. Another common type of finish is gloss. Other finishes are available at increased cost. Consult with manufacturers prior to specifying a finish other than matte or gloss.

High pressure decorative laminates are also available with different surface textures. These surface textures may be smooth or textured. Textured surfaces may be lightly textured with a slightly pebbled surface, or they may have a pronounced texture such as simulated slate or some other texture determined by the manufacturer. If a surface texture other than smooth is specified, provide a generic description.

Alternatively, an acceptable range of finish and surface texture may be specified by naming a minimum of three products, each of which has an acceptable finish and surface texture.

# COORDINATION WITH DRAWINGS

Ensure that drawings show the following:

- Location of items, including hardware types.

- Extent of woodwork, configuration, operation of doors.

- Universal Design accessibility requirements, as applicable.

- Architectural woodwork as distinct from stock design manufactured casework.

- Architectural woodwork as distinct from site fabricated finish carpentry.

- Special veneer matching not specified as a recognized industry system.

- Details showing profiles, elevations, mouldings, edge treatment, and transitions from veneer to lumber for Stile and Rail Panelling for Clear Finish.

- Details required but not included in AWMAC Manual.

- Same terminology as specifications, without repeating or adding specification requirements.

- Dimensions.

- Wood grain direction and plastic laminate pattern direction, when applicable.

- Items specified in other Sections but requiring cut-outs for incorporation into architectural woodwork.

- Arrangement of sliding door hardware, locks, light fixtures, panel hangers and anchorage, and similar hardware and accessories.

- Glass doors and shelves and other non-wood components.

Do not include information on drawings that describes quality of materials, components or assemblies.  Specify such requirements in this Section.

Do not provide on drawings detailing already included by reference to the AWMAC Manual.

3.3	ARCHITECTURAL WOODWORK SCHEDULE

| Location/Components | Finish and Surface Texture |  | Gloss Level | Colour/ Pattern | Finished at |
| --- | --- | --- | --- | --- | --- |
| Rms: 137, 143, 267, 279 |  |  |  |  |  |
| Casework, Clear Finish, Type 1 Exposed Surfaces Semi-exposed Surfaces |  | Lacquer Veneer Varnish Lacquer Veneer Varnish | Satin | Clear | Factory |
| Countertops and Backsplashs HPDL Finish, Self Edge Type |  | Self-Edge Type, Matte & Smooth |  | Blue/speckled | Factory |
| Flush Panelling, Veneer |  | Lacquer Veneer Varnish | Satin | Clear | Site |
| Trim |  | Lacquer Veneer Varnish | Semi Gloss | Clear | Site |
| Rms: 107, 256 |  |  |  |  |  |
| Casework, Opaque Finish, Type 2 Exposed Surfaces Semi-exposed Surfaces |  | Latex Latex | Velvet Velvet | Almond Almond | Factory |
| Countertops and Backsplashs HPDL Finish, Post Formed |  | Matte & Smooth | Matte | Blue | Factory |
| Trim |  | Latex | Semi Gloss | Almond | Site |
| Rm: 102, |  |  |  |  |  |
| Casework, HPDL Finish Exposed Surfaces Semi-exposed Surfaces |  | Matte & Textured Matte & Smooth |  | Off White | Factory |
| Countertops and Backsplashs, HPDL Finish, Self Edge Type |  | Matte & Textured |  | Blue/speckled | Factory |
| Trim |  | Latex | Semi Gloss | Off White | Site |

END OF DATA SHEETS

1.	General

  - section includes

.1	This section includes requirements for supply, fabrication, [factory] [and] [site] finishing and delivery to the job site, and installation of shop manufactured casework indicated on the drawings including, but not limited to, the following:

.1	Decorative laminate finished casework and cabinets

.2	Decorative laminate finished countertops

.3	Decorative [metalwork] [and] [stone] incorporated into casework

.4	Fabric finished casework

.5	Glass panels incorporated into casework

.6	Hardware forming a part of casework and cabinets fabricated by this Section

.7	Shelving

.8	Shop finishing of casework, cabinets and countertops

.9	Solid surfacing material countertops

.10	Stainless steel surfacing material countertops

.11	Stone surfacing material countertops

.12	Structural supports incorporated into casework

.13	Wood veneer finished casework and cabinets

.2	Provide work of this section in accordance with AWMAC Northern Alberta Chapter Trade Definitions.

  - RELATED Work Specified in Other SECTIONS

.1	[LEED Requirements	Section 01 35 18.]

.2	[Environmental Procedures	Section 01 35 20.]

.3	[Waste Management and Disposal	Section 01 74 19.]

.4	Custom Metal Fabrications:	Section 05 50 00.

.5	Rough Carpentry	Section 06 10 00.

.6	Finish Carpentry:	Section 06 20 00.

.7	Flush Wood Doors:	Section 08 14 16.

.8	Plastic Faced Doors and Panels:	Section 08 14 23.

.9	Hardware, keying: 	Section 08 70 00.

.10	Glazing:	Section 08 81 05.

.11	Site Painting and Finishing - General Requirements:	Section 09 91 05.

.12	Plumbing Fixtures and Trim	Section 22 42 00.

1.3	REFERENCE DOCUMENTS

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED requirements and sustainable practices.

.1	Architectural Woodwork Manufacturers Association of Canada (AWMAC) and Architectural Woodwork Institute (AWI):

| .1 .2 | Architectural Woodwork Standards, 1st Edition, 2009 AWMAC Guarantee and Inspection Service Guide and Manual |
| --- | --- |

.2	American National Standards Institute (ANSI):

| .1 | ANSI/BHMA A156.9 -2010 | American National Standard for Cabinet Hardware. |
| --- | --- | --- |
| .2 | ANSI/NPA A208.1-2009 | Particleboard |
| .3 | ANSI A208.2-2009 | Medium Density Fiberboard (MDF) for Interior Applications |
| .4 | ANSI/HPVA HP-1-2009 | Standard for Hardwood and Decorative Plywood |

.3	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org |
| --- | --- | --- |

.4	Canadian General Standards Board (CGSB):

| .1 | CAN/CGSB-11.3-M87 | Hardboard |
| --- | --- | --- |
| .2 | CAN/CGSB-71.20-M88 | Adhesive, Contact, Brushable |

.5	Canadian Standards Association (CSA):

| .1 | CSA B111-1974 (R2003) | Wire Nails, Spikes and Staples |
| --- | --- | --- |
| .2 | CSA O112.4 Series -M77(R2006) | Wood Adhesives |
| .3 | CSA O112.5-Series -M77(R2006) | Urea Resin Adhesives for Wood (Room- and High-Temperature Curing) |
| .4 | CSA O112.7-Series-M77(R2006) | Resorcinol and Phenol-Resorcinol Resin Adhesives for Wood (Room- and Intermediate-Temperature Curing) |
| .5 | CSA O121-08 | Douglas Fir Plywood |
| .6 | CSA O141-05 (R2009) | Softwood Lumber |
| .7 | CSA O151-09 | Canadian Softwood Plywood |
| .8 | CSA O153-M1980 (R2008) | Poplar Plywood |

.6	International Organization for Standardization (ISO):

| .1 | ISO 14040-06 | Environmental Management-Life Cycle Assessment - Principles and Framework |
| --- | --- | --- |
| .2 | ISO 14041-98 (R2003) | Environmental Management-Life Cycle Assessment - Goal and Scope Definition and Inventory Analysis |

.7	FSC Forest Stewardship Council:

| .1 | FSC-STD-01-001-2004 | FSC Principle and Criteria for Forest Stewardship |
| --- | --- | --- |
| .2 | FSC-STD-20-002-2004 | Structure and Content of Forest Stewardship Standards V2-1 |
| .3 | FSC Certified Bodies |  |

.8	National Electrical Manufacturers Association (NEMA):

| .1 | ANSI/NEMA LD-3-05 | High-Pressure Decorative Laminates |
| --- | --- | --- |

.9	National Hardwood Lumber Association (NHLA):

| .1 | Rules for the Measurement and Inspection of Hardwood and Cypress 1998 |
| --- | --- |

.10	National Lumber Grading Authority (NLGA):

| .1 | NLGA-07 | Standard Grading Rules for Canadian Lumber |
| --- | --- | --- |

.11	SCAQMD South Coast Air Quality Management District, California State (SCAQMD):

| .1 | SCAQMD Rule 1113-04 | Architectural Coatings |
| --- | --- | --- |
| .2 | SCAQMD Rule 1168-05 | Adhesives and Sealants Applications |

1.4	Product options and substitutions

.1	Refer to Section 01 62 00 for requirements pertaining to product options and substitutions.

1.5	administrative requirements

.1	Coordination:

SPEC NOTE:  Delete following clause if all architectural woodwork is to be factory finished.

.1	For architectural woodwork items to be site finished, coordinate with work of Section 09 91 05 to ensure that back-priming of surfaces concealed after installation is performed prior to installation.

SPEC NOTE:  Delete following clause if inapplicable.  Identify woodwork items and locations.  If extent of coordination required warrants, consider as column heading in Architectural Woodwork Schedule at end of this Section.

.2	Coordinate installation of the following items during fabrication of [         ], located in [         ]:

.1	[Electrical conduit.]

.2	[Electrical junction boxes.]

.3	[Electrical fixtures.]

1.6	submittals

.1	Product Data:

.1	Submit manufacturer's printed product literature, specifications and data sheet in accordance with Section 01 33 00   Submittal Procedures.

.2	Submit manufacturer's product literature for items not manufactured by architectural woodwork manufacturer, when requested.

.3	Submit [two] [        ] copies of WHMIS MSDS   Material Safety Data Sheets in accordance with Section 01 33 00 - Submittal Procedures. Indicate VOC's for:

.1	Finishes

.2	Adhesives

.2	Shop Drawings:

.1	Indicate materials, factory finishes, thicknesses, and hardware. Include plans, elevations, sections and details at the following recommended drawing scales:

.1	Plans and elevations – 1:20

.2	Sections – 1:10

.3	Details – 1:2

.4	Material Legend and Finish Legend

.2	Indicate construction details, locations of built-in items, connections, attachments, anchorage and location of exposed fastenings, as applicable.

.3	Samples:

.1	Submit 215 mm x 280 mm samples of panel products for each factory applied finish system.

.2	Submit 32 mm x 350 mm samples of lumber of each species.

.3	Finish one side and edge of samples representing items to receive factory finishes.

.4	Submit 3-5 - 300 mm square samples of veneer flitches laminated to substrate when requested.

SPEC NOTE:  Specify samples of veneer flitches only if applicable, e.g. premium grade veneer paneling or custom laid up panels.

.5	Submit samples of plastic laminate for selection of colour.

.4	Manufacturer’s Instructions:

.1	Submit manufacturer’s installation instructions.

SPEC NOTE:  Use below paragraph for LEED projects when submittals are required.

.5	Sustainable Design Submittals:

.1	LEED Submittals: Co-ordinate submittals requirements in accordance with Section 01 35 18 - LEED Requirements.

SPEC NOTE: Delete LEED submittal item below if project is not to attain LEED certification or if Credit EQ 4.4 Low Emitting Materials: Comp Wood and Agrifibre Products is not being sought. If project is to follow sustainable building practices but not attaining LEED certification, delete references to LEED and retain requirement for no added urea-formaldehyde permitted.

.2	[LEED] Submittals: [submit LEED submittal forms for Credit EQ 4.4 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following][submit sustainable submittals as follows]:

.1	Composite Wood products including core materials, must contain no added urea-formaldehyde resins.

.2	Adhesives used to fabricate laminated assemblies must contain no urea-formaldehyde.

SPEC NOTE: Include below sentence for LEED projects seeking credit MRc7.

.3	Provide certificates by Forestry Stewardship Council Chain of Custody for wood materials in compliance with LEED Credit MR 7.

.1	Provide proof of FSC Certified Millwork shop.

1.7	closeout submittals

SPEC NOTE:  Include this article for architectural woodwork valued at over $25,000.00, or woodwork involving unusual materials, fabrication methods or finishes.

.1	Record Documentation:

.1	Comply with requirements of Division 01.

.2	Provide project record sheet identifying project title and address, Contractor and architectural woodwork manufacturer.

.3	Provide one set of reviewed shop drawings, indicating modifications to materials and shop finishes, and type and source of hardware and any specialty items used.

1.8	quality assurance

.1	Regulatory Agency Approvals:

.1	Lumber shall be graded and stamped by an agency certified by Canadian Lumber Standards Administrative Board.

.2	Plywood shall be graded and stamped in accordance with applicable CSA standards.

.3	Particleboard, fibreboard, and wood based composite panels shall conform to ANSI standards.

.2	Manufacturers:

.1	Materials and workmanship shall meet or exceed recommendations and requirements of AWMAC Manual.

.2	Requirements of this Section shall govern in case of conflict between this Section and the AWMAC Manual.

.3	Reference to custom or premium grade in this Section shall be as defined in the AWMAC Manual.

.4	Items without a grade specified shall be custom grade.

.5	Maintain a copy of the specified AWMAC Manual at the factory, readily available for duration of work.

.6	Installer shall be responsible for supplying field dimensions that will affect the work of this Section.

SPEC NOTE:  Include this item for LEED projects seeking Credit MR 7

.7	Confirm millwork shop is FSC Certified for LEED projects seeking Credit MR 7.

.3	Testing Agencies:

SPEC NOTE:  Consider including this Article, together with Security for Extended Warranty, only if the estimated cost of architectural woodwork $50,000.00 or more.

Specifying inspection, in addition to security for the extended warranty, provides additional quality assurance (at additional cost) for non-members of AWMAC.  If inspection is specified, non-members must pay an inspection fee to AWMAC that is equivalent to the cost of obtaining the AWMAC Certificate of Guarantee in addition to the cost of a maintenance bond.

SPEC NOTE: Notify the local Chapter of AWMAC when the GIS is being used for a project so that they can be ready to track and follow-up this requirement with their members when the project comes out to Bid.

.1	Arrange and pay for inspection by an AWMAC appointed inspector at the plant and at the site, regardless of whether or not the architectural woodwork subcontractor or supplier is a member of AWMAC.

.2	Submit a copy of the AWMAC inspection report with the AWMAC Certificate of Guarantee or the maintenance bond.

.4	Mock-Ups:

SPEC NOTE:  Include this Article when a large or complex quantity of Architectural Woodwork is involved.

.1	Provide mock-up of the following components [to site] [in factory]:

.1	[       ].

.2	[       ].

.2	Keep approved mock-up [on site] [in factory].

.3	Approved mock-up shall establish minimum standard and may [not] be incorporated into finished work of this Section.

1.9	DELIVERY, STORAGE, AND HANDLING

.1	Delivery and Acceptance Requirements:

.1	Make no delivery until site conditions have stable humidity and temperature conditions as required by AWMAC standards and are adequate to receive the work of this Section.  Protect materials from weather while in transit to site.

.2	Storage and Handling Requirements:

.1	Adequately protect finish surfaces during moving, handling and storage.

.2	Store architectural woodwork items on level surfaces in ventilated areas, protected from direct sunlight and extreme changes in temperature or humidity.

.3	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 – Waste Management and Disposal.

1.10	warranty

.1	Extended Warranty:

.1	Provide a two year extended warranty on the work of the architectural woodwork trade, commencing on the date of Interim Acceptance of the Work. The terms of this extended warranty shall be the same as those provided under the terms of the AWMAC Certificate of Guarantee.

.2	The foregoing shall not be construed to mean that the architectural woodwork subcontractor or supplier must be a member of AWMAC or that an AWMAC Certificate of Guarantee must be provided.

SPEC NOTE:  Consider specifying this Article only if the additional cost can be justified and the estimated cost of architectural woodwork is at least $25,000.00.

Cost of AWMAC Certificate of Guarantee ranges, on a sliding scale, from a minimum of $850.00 to less than 0.5% of the value of the architectural woodwork.  Contact AWMAC for current fee schedule.

.2	Security for Extended Warranty:

.1	Provide security for the performance of Contractor's obligations under the extended warranty in the form of:

.1	an AWMAC Certificate of Guarantee, or

.2	a maintenance bond in the amount of 100% of the value of the architectural woodwork subcontract and in a form acceptable to the Minister.

.2	Submit AWMAC Certificate of Guarantee or maintenance bond prior to Interim Acceptance of the Work.

2.	Products

SPEC NOTE:  Use the following article for LEED project.

2.1	Description

.1	Sustainability Characteristics:

Consider including a list of manufacturers that are within the required distances of the project site and obtain materials and products which are extracted, harvested, recovered and processed within 800 km or 2400 km of final manufacturing site, depending on the method of transportation.  Refer to Materials and Resources Credit 5 Regional Materials.

.1	Provide materials that have been extracted, harvested, recovered and processed within minimum distances required to the final point of manufacture.  Provide materials from a manufacturing facility within minimum distance required from Project site and delivered to Project site by acceptable transportation method.

.2	Refer to Section 01 35 18 LEED Requirements, Materials and Resources Credits:

.1	Credit 5 - Regional Materials

.3	Provide materials with recycled content and satisfy the following LEED credit requirements:

SPEC NOTE:  Utilize below paragraph for LEED projects seeking MR credit 4, for materials with recycle content, post-consumer and pre-consumer.   Recycle content materials are as defined in accordance with  the Federal Trade Commission document, Guides for the Use of Environmental Marketing Claims 16 CFR.7(e).

.1	Material and Resources Credit MR – 4 Recycle Content

SPEC NOTE:  Utilize below paragraph for LEED projects seeking MR credit 7, only wood materials that are certified by the Forestry Stewardship Council (FSC) will be recognized in the calculations

.4	Provide materials that are FSC certified and satisfy the following LEED credit requirements:

.1	Material and Resources Credit MR - 7 Certified Wood.

SPEC NOTE:  Use the paragraph below for LEED projects pursuing EQ credit 4.4, engineered or composite wood materials used in interior space of the building must not contain urea-formaldehyde in resins.

.5	Provide materials that contain no-added urea formaldehyde and have adhesives containing no urea-formaldehyde and satisfy the following LEED credit requirements:

.1	Indoor Environmental Quality Credit EQ - 4.4 Low - Emitting Materials: Composite Wood and Agrifibre Products.

2.2	LUMBER, GENERAL

.1	Materials:  to AWMAC Manual, except where otherwise specified.

.1	Framing lumber: specified species or SPF, no. 1 grade, S4S.

.1	CSA O141, kiln dried; dressed 4 sides.

.2	NLGA Standard Grading Rules for Canadian Lumber.

SPEC NOTE:  Use the paragraph below for LEED projects pursuing credits

.3	Co-ordinate with Section 01 35 18 - LEED Requirements.

.4	Materials and Resources, Credit 5 - Regional Materials: [20% & 30%] Extracted, harvested, recovered and processed regionally.

.5	Material and Resources Credit MR - 7 Certified Wood.

.2	Hardwood lumber:  meeting AWMAC [custom] [premium] grade, [edge grain] for species specified.

.1	National Hardwood Lumber Association (NHLA).

.2	AWMAC [custom] [premium] grade, moisture content as specified.

SPEC NOTE:  Use the paragraph below for LEED projects pursuing credits

.3	Co-ordinate with Section 01 35 18 - LEED Requirements.

.4	Materials and Resources, Credit 5 - Regional Materials: [20% & 30%] Extracted, harvested, recovered and processed regionally.

.5	Material and Resources Credit MR - 7 Certified Wood.

.2	 Moisture Content:  between 4-9%.

2.3	PANEL PRODUCTS, GENERAL

.1	Provide panel products manufactured with formaldehyde-free adhesive.

.2	Materials and Moisture Content: to AWMAC Manual, except where otherwise specified.

.3	Particleboard: Meeting ANSI 208.1 Grade M-2 for interior use, minimum 720 kg/m³ density [and Grade M-3, minimum 750 kg/m3 particleboard for countertops and shelves]; clearly mark panels with grade mark in visible location; extruded particleboard having loose cores with voids will not be permitted; having no added urea formaldehyde.

SPEC NOTE:  Use the paragraph below seeking LEED credits

.1	Materials and Resources, Credit 5 - Regional Materials: [20% & 30%] Extracted, harvested, recovered and processed regionally.

.2	MR Credit 7 Certified Wood; Forest Stewardship Council (FSC) certified.

.3	EQ Credit EQ - 4.4 Low - Emitting Materials: Composite Wood and Agrifibre Products. SCAQMD Rule 1168, Adhesives and Sealants Applications.

.4	Medium Density Fibreboard (MDF): Meeting ASTM D1037 and ANSI A208.2, Premium Grade for interior use, minimum 700 kg/m³ density; formaldehyde emissions shall be 0.30 ppm or less per 0.424m2/m3 of room volume [; fire retardant treated for Class [A] [B] [C] having a flame spread rating of [0 to 25] [26 to 75] [76 to 200]

SPEC NOTE:  Use the paragraph below seeking LEED credits

.1	Materials and Resources, Credit 5 - Regional Materials: [20% & 30%] Extracted, harvested, recovered and processed regionally.

.2	MR Credit 7 Certified Wood; Forest Stewardship Council (FSC) certified.

.3	EQ Credit EQ - 4.4 Low - Emitting Materials: Composite Wood and Agrifibre Products. SCAQMD Rule

.4	Fire Retardant Treatment for MDF: Treat MDF with [opaque] [clear] latex fire resistant [coating] [varnish] including primer, treatment and overcoats as recommended by coating manufacturer to provide a ULC Class A fire resistant finish:

.1	Basis-of-Design Materials:

.1	Magna Coatings Technology Inc., Safecoat

.5	Tempered Hardboard:  to CAN/CGSB-11.3, Type 2, minimum density of 476 kg/m3.

SPEC NOTE:  Use the paragraph below seeking LEED credits

.1	Materials and Resources, Credit 5 - Regional Materials: [20% & 30%] Extracted, harvested, recovered and processed regionally.

.2	MR Credit 7 Certified Wood; Forest Stewardship Council (FSC) certified.

.3	EQ Credit EQ - 4.4 Low - Emitting Materials: Composite Wood and Agrifibre Products. SCAQMD Rule

.6	Softwood Plywood: to applicable CSA standards referenced in AWMAC Manual, G2S.

SPEC NOTE: Use the paragraph below seeking LEED credits

.1	Materials and Resources, Credit 5 - Regional Materials: [20% & 30%] Extracted, harvested, recovered and processed regionally.

.2	MR Credit 7 Certified Wood; Forest Stewardship Council (FSC) certified.

.3	EQ Credit EQ - 4.4 Low - Emitting Materials: Composite Wood and Agrifibre Products. SCAQMD Rule

.7	Hardwood Plywood: to CSA-O115. Graded in accordance with the Official Grading Rules for Canadian Hardwood Plywood.

SPEC NOTE: Use the paragraph below seeking LEED credits

.1	Materials and Resources, Credit 5 - Regional Materials: [20% & 30%] Extracted, harvested, recovered and processed regionally.

.2	MR Credit 7 Certified Wood; Forest Stewardship Council (FSC) certified.

.3	EQ Credit EQ - 4.4 Low - Emitting Materials: Composite Wood and Agrifibre Products. SCAQMD Rule

SPEC NOTE:  Verify suitability and availability of veneer characteristics for intended use.

.8	High Pressure Decorative Laminate (HPDL): Meeting CAN3 A172 or ANSI/NEMA LD3 composed of phenolic resin impregnated Kraft paper filler stock for Class 1 Decorative Laminate of Grade required by AWMAC Manual.

.9	Solid Surfacing Material: Homogeneous solid sheets of filled plastic resin complying with material and performance requirements in ANSI Z124.3, for Type 5 or Type 6, without a pre-coated finish:

.1	Acceptable Materials:

.1	Avonite, Inc., Avonite

.2	DuPont Polymers, Corian

.3	Formica Corporation, Surell

.4	International Paper, Decorative Products Div., Fountainhead

.5	Wilsonart International, Gibraltar

2.4	ACCESSORIES

SPEC NOTE: Confirm that glazing is included in Architectural Woodwork scope of work.

SPEC NOTE:  If glass is completely surrounded by architectural woodwork, select applicable glass and glazing accessories from Basic Master Specification Section 08 81 00 - Glass and Glazing General Requirements, and include here.

.1	Glass:  [               ]

.2	Glazing Accessories:  [               ].

SPEC NOTE:  Insert appropriate text from Section 07 92 00 - Joint Sealants.

.3	Silicone Sealant:  to CAN/CGSB-19.13, Shore A hardness 15-25, [            ] colour.

SPEC NOTE:  Use the paragraph below for LEED projects. Sealants used in interior spaces of the building must have a VOC limit in compliance with the State of California South Coast Air Management Rule 1168.

.1	Sealant: to SCAQMD Rule 1168 - Adhesives and Sealants Applications.

SPEC NOTE:  Refer to laminate manufacturers' technical manuals for correct adhesive.

SPEC NOTE:  For LEED projects seeking EQ credit 4.4, adhesives used to fabricate laminated assemblies must not contain urea-formaldehyde.

SPEC NOTE:  Preservatives used in interior space of the building must have a VOC limit in compliance with the State of California South Coast Air Management Rule 1168.

.4	Laminated plastic adhesive:

.1	Adhesive: [       ], [urea resin adhesive to CSA O112.5] [contact adhesive to CAN/CGSB-71.20] [resorcinol resin adhesive to CSA O112.7] [polyvinyl adhesive to CSA O112.4] [two component epoxy thermosetting adhesive].

SPEC NOTE:  Use the following two paragraphs below for LEED projects pursuing EQ credit 4.1.

.2	Maximum VOC limit [SCAQMD Rule 1168, Adhesives and Sealants Applications] [250] g/l.

.3	Adhesives urea-formaldehyde free.

.5	Other Accessories:  to AWMAC Manual.

2.5	CASEWORK HARDWARE

SPEC NOTE: Hardware specified herein meets the Department’s minimum requirements for flush overlay casework.

.1	Where products are specified by proprietary names, other unnamed products may be substituted in accordance with the requirements of Section 01 62 00 – Product Options and Substitutions.

.2	Fasteners:

.1	Draw Bolt Fasteners: Mitre butt joint fastener, adjustable and requiring no special tools for installation, galvanized.

.2	Non-exposed Fasteners: Fabricators choice consistent with quality level specified.

.3	Hinges: to ANSI-A156.9, B01612 – concealed hinge, self closing, 120 to 125 degree of opening, full overlay type for screw attachment complete with mounting plates.

.1	Acceptable products:

1	Model 71T558 by Blum.

.2	Model HD1311-552 by Mepla.

.3	Model A00P94 by Salice.

.4	Model 9956 by Hettich.

.3	Door and Drawer Pulls: back mount, 100 mm wire D pulls, [brushed] [chrome] [brass]  [       ] finish.

.1	Acceptable Products:

.1	CBH 220-101

.2	Häfele America Co. 115.61.601

.3	Hettich Canada LP Columbus 41, 1170 122 40/320

.4	Richelieu, Collection BP33205170

.5	Stanley 4484 x 101

.4	Drawer Slides For Drawers Up To 150 mm Deep but less than 406 mm wide: to ANSI-A156.9, B85051, side mount, steel construction, ¾ extension, ball bearing operation, rail disconnect system, bright zinc finish, length as required.

.1	Acceptable Products:

.1	Model 2037 by Accuride.

.2	Model 8150 by Knape & Vogt.

.3	Model LP KA3434 by Hettich.

.5	Drawer Slides for drawers deeper than 150 mm but less than 406 mm wide: to ANSI-A156.9, B85051, side mount, steel construction, full extension, ball bearing operation, bright zinc finish, length as required.

.1	Acceptable Products:

.1	Model 3834 by Accuride.

.2	Model 8400 by Knape and Vogt.

.4	Model LP KA 5632 by Hettich.

.6	Lateral File Drawers: Heavy duty type, 25 mm over-travel extension, sequential sliding, hand-rail lift-off disconnect, length to suit drawer box; side mounted, 1067 mm maximum drawer width, 91 kg capacity, rating based on 50,000 cycle test; clear zinc finish:

.1	Acceptable Products:

.1	Model 3640 by Accuride

.2	Model LP KA4620 by Hettich Canada

.3	Model 8805 by Knape & Vogt

.7	Stainless Steel Pins: Steel pin shelf supports:

.1	Acceptable Products:

.1	Richelieu 2291180

.8	Stainless Steel Pins: Steel pin shelf supports and sockets:

.1	Acceptable Products:

.1	Richelieu 2292-180/5829-180

.9	Locks:  Nickel finished, Master Keyed, keyed alike in groups, cam lock with plate, adjust keying groups to suit requirements: Confirm keying required (master keyed, keyed alike in groups or keyed differently – supply keying schedule).

.1	Acceptable Products:

.1	Dom 225-240 Series, Richelieu

.2	CompX National

.3	Trimline

.10	Locks for Narcotics (located in Meds Room): Nickel finished, Master Keyed, with strike plate:

.1	Acceptable Products:

.1	Richelieu A 181182 and B 180192, adjust keying groups to suit requirements.

SPEC NOTE:  Add additional hardware beyond the typical casework hardware specified as required for specific projects.

SPEC NOTE: For casework requiring varying types of hardware or hardware finishes, compose the typical casework hardware, and any additional hardware required, into hardware sets and name the appropriate sets in Architectural Woodwork Schedule.

2.6	Casework, General

.1	Fabricate casework to AWMAC grade specified in the individual casework articles in this Section.

.2	Furring, Blocking, Nailing Strips and Grounds: standard grade, to NLGA grading rules, for boards and dimension lumber.

.3	Framing:  pine species.

.4	Case Bodies, Ends, Dividers, Bottoms and Doors and Exposed Backs: 19 mm unfinished thickness.

.5	Non-exposed Backs: 12 mm unfinished thickness for all base, tall and wall cabinets with hanging strips and minimum of 12 mm for wall cabinets without hanging strips.

.6	Thickness of Shelves Prior to Finishing:

.1	Unsupported lengths up to 813 mm: 19 mm particle board. or 19 mm veneer core plywood.

.2	Unsupported lengths between 814 mm and 914 mm: 19 mm veneer core plywood.

.3	Unsupported lengths between 915 mm and 1066 mm: 25 mm particle board or 27 mm veneer core plywood.

.4	Unsupported lengths between 1067 mm and 1219 mm: 27 mm veneer core plywood.

.7	Fabricate drawers of box construction as follows:

.1	Perimeters: 12 mm thickness prior to finishing, solid birch or maple for clear and opaque finishes and plywood or particleboard for plastic laminate finish.

.2	Bottoms: 12 mm thickness prior to finishing, MDF or tempered hardboard, dadoed or grooved into perimeter, captured on [3 sides] [4 sides].

.3	Faces: 19 mm thickness prior to finishing.

.8	Edge banding:

.1 	HPDL: Colour and finish to [match] [contrast] with surface finish.

.2	Wood Veneer: Species and finish to [match] [contrast] with surface finish.

.3	[PVC] [ABS] Banding: [5 mm] [3 mm] [PVC] [ABS] banding with exposed edges and corners machine profiled to 3 mm radius; colour to [match] [contrast] with surface finish

.9	Maximum gap between adjacent doors or drawers shall be 3 mm.

.10	When screw fastening, fasten into MDF or particle board by pre-drilling holes as required and inserting plastic or metal screw dowels to receive screw fasteners.

2.7	CASEWORK, [stain with] CLEAR FINISH [, TYPE [      ]]

SPEC NOTE: Specify Custom grade for most conventional architectural woodwork. Specify Premium grade when the highest degree of workmanship is required, e.g., for special projects and for feature areas within an otherwise conventional architectural woodwork project or when required for casework with a clear finish.

.1	AWMAC Quality Grade: [Custom][Premium].

.2	Construction: to AWMAC Manual for flush overlay, except as otherwise detailed on drawings.

SPEC NOTE:  Ensure drawing details are coordinated with AWMAC Manual. Mitred banding is11 mm thick and butt banding is 10 mm thick.

.3	Edge banding:

.1	Wood Veneer: No. 1 grade species and finish to [match] [contrast] with surface finish, [mitred] [butt] solid edge.

.2	[PVC] [ABS] Banding: [5 mm] [3 mm] [PVC] [ABS] banding with exposed edges and corners machine profiled to 3 mm radius; colour to [match] [contrast] with surface finish

.4	Exposed and Semi-exposed Parts:

.1	Panel Products:

.1	Plywood Species: [[Red] [White] [Oak]] [[Red] [White] [Natural] [Ash] [Birch] [Maple]] [Walnut] [Cherry].

.2	Core:  [veneer] [multi-core] [or] [particle board]. Use only particle board core for doors and drawer fronts.

.3	Veneer Grade:  [AA] [A].

.4	Veneer Cut:  [rotary-cut] [plain or flat sliced] [quarter sliced] [half-round sliced] [rift-cut].

.5	Veneer Match:  [book] [slip] [and sequence matched].

SPEC NOTE: Only veneer grade AA is sequence matched, refer to grading rules for specific properties. Veneer grade AA is mandatory for Premium grade casework but optional for Custom grade. Verify availability before specifying veneer cut in veneer species specified.

.2	Hardwood Lumber:

.1	Species:  [material matching panel product veneer] [         ].

.2	Grade: No. 1.

.3	Grain:  [mixed] [edge].

SPEC NOTE: Specify stain colour required or that will best represent the anticipated colour to enable Contractors to bid on equivalent finishes.

.5	Finish: [Semi-]Transparent stain, [[        ] colour] [three] colours] followed by] clear finish. [Refer to Architectural Woodwork Schedule for colours and locations.]

2.8	CASEWORK, OPAQUE FINISH [, TYPE [    ]]

.1	AWMAC Quality Grade:  Custom.

.2	Construction:  to AWMAC Manual for flush overlay, except as otherwise detailed on drawings.

SPEC NOTE:  Ensure drawing details are coordinated with AWMAC Manual.

.3	Edge banding:

.1 	HPDL: Colour and finish to [match] [contrast] with surface finish.

.2	Wood Veneer: Species and finish to [match] [contrast] with surface finish.

.3	[PVC] [ABS] Banding: [5 mm] [3 mm] [PVC] [ABS] banding with exposed edges and corners machine profiled to 3 mm radius; colour to [match] [contrast] with surface finish

.4	Exposed and Semi-exposed Parts:

.1	Panel Products:  [Birch] [Maple] plywood with [multicore] [veneer core] [particle board core], G2S. Use only particle board core for doors and drawer fronts.

.2	Lumber:  [Birch] [Maple], no. 1 grade.

2.9	CASEWORK, HIGH PRESSURE DECORATIVE LAMINATE (HPDL) FINISH [, TYPE [ ]]

SPEC NOTE:  Specify high pressure decorative laminate finish for exposed surfaces required to be resistant to moderate impact, hygienic, subject to intermittent exposure to moisture, or located in buildings with high interior humidity, e.g., computer centres, museums, hospitals, and buildings containing swimming pools.

SPEC NOTE: Specify Custom grade for most conventional architectural woodwork. Specify Premium grade when the highest degree of workmanship is required for special projects or feature areas within an otherwise conventional architectural woodwork project.

.1	AWMAC Quality Grade:  [Custom] [Premium].

.2	Construction:  to AWMAC Manual for flush overlay, except as otherwise detailed on drawings.

SPEC NOTE:  Ensure drawing details are coordinated with AWMAC Manual.

.3	Exposed and Semi-exposed Parts:

.1	Panel Products:

.1	Core: hardwood species, shop sanded exterior grade veneer core plywood, G2S, or industrial grade particleboard. Use only particle board core for doors and drawer fronts.

.2	High Pressure Decorative Laminate (HPDL):

.1	Horizontal General Purpose Grade (HGS): thickness of 1.2 mm ±0.12 mm, used on the following:

.1	Horizontal surfaces, unless specified otherwise.

.2	Edges of core materials.

.2	Vertical General Purpose Grade (VGS): thickness of 0.7 mm ±0.10 mm, used on the following:

.1	Vertical surfaces, unless specified otherwise.

.2	Exposed portions of case bodies, including ends, divisions and bottoms.

.3	Exposed shelves.

.4	Casework Doors: exposed and semi-exposed surfaces.

.5	Drawer Faces: exposed and semi-exposed surfaces.

.3	Liner Grade (CLS): thickness of 0.5 mm ±0.10 mm, used on the following:

.1	Semi-exposed shelves.

.2	Interior portions of case bodies.

.3	All surfaces of drawer boxes.

.4	Laminate backer grade (BKL): thickness of 0.5 mm ±0.10 mm, used on the following:

.1	Concealed surface of casework backs.

.2	Concealed surfaces, unless specified otherwise.

.5	Acid Resistant Work: Laboratory Grade, composed of phenolic resin impregnated, chemical resistant resin treated papers through full thickness of paper filler stock, minimum 1.27 mm thick; furniture finish. Only products with acid resistant treated papers through entire decorative laminate will be considered for this part of the work;

.1	Acceptable Product:

.1	 Pionite Chemguard.

.6	Laminate Finish and Surface: [matte] [gloss] finish, [smooth] [textured] surface. [Describe textured surface.] [Vertical] [Horizontal] wood grain direction.

SPEC NOTE:  Consult with woodwork manufacturers for availability and suitability of laminate finishes.  Some laminates are not available in general purpose grade, standard duty.

.7	Laminate Colour [and Pattern]:  similar to [                                   ] [as scheduled], [[ ] [colours] [and] [patterns] to be selected by Minister from manufacturer's standard range].

OR

[.7	Acceptable Products: [List a minimum of 3 acceptable products that meet the above specification.]

SPEC NOTE:  If more than one product or colour is required, specify location in Architectural Woodwork Schedule at end of Section. In the absence of a specified laminate product or colour, woodwork manufacturers will furnish base-priced (excluding upcharged) decorative laminates from decorative laminate manufacturer’s standard selections, maximum of four different colors and patterns per project, limited to one per casework elevation.

.2	Lumber:

.1	Species:  [            ].

.2	Grade: no. 1 .

.3	Grain:  [mixed] [edge].

2.10	HIGH PRESSURE DECORATIVE LAMINATE (HPDL) COUNTERTOPS [AND BACKSPLASHS], SELF-EDGE TYPE

.1	Laminate (HPDL):  [horizontal general purpose grade (HGS), thickness of 1.2 mm ±0.12 mm] [vertical general purpose grade (VGS), thickness of 0.7 mm ±0.10 mm] [laboratory grade, general purpose grade] and laminate backer grade (BKL), thickness of 0.5 mm ±0.10 mm.

SPEC NOTE:  Normally specify general purpose grade, standard duty.  Laboratory grade has limited solid colours.

.1	Laminate Finish and Surface: [matte] [gloss] finish, [smooth] [textured] surface. [Describe textured surface.]

SPEC NOTE:  Consult with manufacturers for availability and suitability of laminate finishes.

.2	Laminate Colour [and Pattern]:  [ similar to [                                ]] [as scheduled]. [[Number] [colours] [and] [patterns] selected by Minister from manufacturer's standard range].

SPEC NOTE:  If more than one product or colour is required, specify location in Architectural Woodwork Schedule at end of Section. In the absence of a specified laminate product or colour, woodwork manufacturers will furnish base-priced (excluding upcharged) decorative laminates from decorative laminate manufacturer’s standard selections, maximum of four different colors and patterns per project, limited to one per casework elevation.

OR

[.2	Acceptable Products: [List a minimum of 3 acceptable products that meet the above specification.]

.2	Core: poplar, spruce (exterior grade) or birch (interior grade) shop sanded exterior grade veneer core plywood, G2S, minimum 19 mm thickness or industrial grade particleboard, minimum 29 mm thickness. Provide plywood core at sink areas and within minimum 610 mm to each side of sink.

.3	Backing: HPDL backer applied to underside of countertops and back of backsplash.

.4	Edge Type:  [HGS high pressure decorative laminate] [PVC] [lumber, no. 1 grade][, as detailed on drawings].

.5	Backsplash: profile as detailed on drawings.

2.11	HIGH PRESSURE DECORATIVE LAMINATE (HPDL) COUNTERTOPS AND BACKSPLASHS, POST-FORMED TYPE

.1	General:  to AWMAC standard, with integral backsplash [100][   ] mm high.

.2	Laminate:  [postforming grade (HGP), thickness of 1.2 mm ±0.12 mm] [postforming and laboratory grade] and laminate backer grade.

SPEC NOTE:  Laboratory grade has typically limited solid colours.

.1	Laminate Finish:   [matte] finish, [smooth] [textured] surface. [Describe textured surface.]

.2	Laminate Colour [and Pattern]:  [                                                ] [as scheduled] [[  ] [colours] [and] [patterns] selected by Minister from manufacturer's standard range].

SPEC NOTE:  If more than one product or colour is required, specify location in Architectural Woodwork Schedule at end of Section. In the absence of a specified laminate product or colour, woodwork manufacturers will furnish base-priced (excluding upcharged) decorative laminates from decorative laminate manufacturer’s standard selections, maximum of four different colors and patterns per project, limited to one per casework elevation.

OR

[.2	Acceptable Products: [List a minimum of 3 acceptable products that meet the above specification.]

.3	Core: particleboard, minimum 2 – 16 mm thick.

.4	Backing: laminate backer applied to underside of countertops and backs of backsplashs.

.5	Edges: [full wrap] [non-drip] type.

2.12	FLUSH PANELLING, [stain with] clear finish

.1	AWMAC Quality Grade:  [Custom] [Premium].

SPEC NOTE: Specify Custom grade for most conventional flush panelling. Specify Premium grade when the highest degree of workmanship is required for special projects and feature areas within an otherwise conventional architectural woodwork project.

.2	Particle Board: [   ] mm thick, to AWMAC Manual

.3	Veneer Species:  [             ].

.4	Veneer Grade:  [AA] [A].

SPEC NOTE: Only veneer grade AA is sequence matched, refer to grading rules for specific properties. Veneer grade AA is mandatory for Premium grade casework but optional for Custom grade. Verify availability before specifying veneer cut in veneer species specified. Birch trees are too small for quarter cut.

.5	Veneer Cut:  [rotary] [plain or flat sliced] [quarter sliced] [rift cut].

SPEC NOTE:  Include remainder of this article only if premium grade is specified.  Consult with AWMAC members on availability.

.6	Matching of Adjacent Pieces of Veneer:  [bookmatch] [slipmatch] [random match].

.7	Panel Face Assembly: [book match] [slip centre book] [box match] [diamond match] [  ].

.8	Matching of Adjacent Panels:  [full width sets] [selectively reduced in width sets] [sequence matched uniform size sets] [blueprint matched panels and components].

2.13	STILE AND RAIL PANELLING, [stain with] CLEAR FINISH

.1	AWMAC Quality Grade:  Premium.

.2	Panel Products:

.1	Veneer Species:  [              ].

.2	Veneer Grade:  AA.

.3	Veneer Cut:  [rotary] [plain or flat sliced] [quarter sliced] [rift cut].

.4	Veneer Match:   running matched.

.5	Panel Type: [beveled] [raised] [flat].

.6	Panel Match:  maintain grain continuity by horizontal and vertical sequence matching.

SPEC NOTE:  If stile and rail panelled doors, specified in another Section, are located in stile and rail panelled walls, coordinate the specifying of veneer appearance requirements in both Sections to match door appearance with panelling.

SPEC NOTE:  Verify availability and matching of veneers.  It is difficult to achieve colour and grain match of veneer with lumber.

.3	Lumber:

.1	Species:  to match panel products.

.2	Grade: no.1, compatible in grain and colour with veneer panel products.

.3	Grain direction shall be the long direction of components.

.4	Mouldings: [solid] [applied] profile as indicated in AWMAC/AWI detail # [                  ][,as detailed].

.5	Fabrication:

.1	Top, cross and bottom rails shall run between stiles.

.2	Mitre mouldings.

.3	Raised Veneered Panel Rim: mitred, splined or doweled, and glued.

.4	Conceal panel product cores as detailed on drawings.

SPEC NOTE:  Ensure core concealment is detailed on drawings.

2.14	[TRIM] [AND] [HANDRAILS], [stain with] CLEAR FINISH

SPEC NOTE:  If both solid and veneered material is specified, ensure locations are indicated on the Architectural Woodwork Schedule or on drawings.

.1	AWMAC Quality Grade:  Premium.

.2	Lumber:

.1	Species: [               ], no.1 grade.

.2	Grain: [mixed] [edge].

.3	Hardware: [                        ]

SPEC NOTE: Edge grain may be substantially greater in cost or unavailable in species specified.

.4	Panel Products:

.1	Species: [                   ] plywood, G1S.

.2	Veneer Grade:  AA.

.3	Veneer Cut: [rotary] [plain or flat sliced] [quarter sliced] [half-round sliced] [rift-cut].

.4	Core: [multi-core] [particle board core].

.5	Edge Banding: [as detailed on drawings] [no.1 grade material to match face veneer,[3] [6] mm thickness].

.6	Provide continuity and compatibility of grain and colour.

2.15	[TRIM] [AND] [HANDRAILS], OPAQUE FINISH

.1	AWMAC Quality Grade:  Custom.

.2	Lumber:  [Birch] [Maple], no.1 grade.

.3	Panel Products:

.1	Species:  [Birch] [Maple] plywood, G1S.

.2	Veneer Grade:   [B].

.3	Core: [multicore] [particle board] core.

.4	Edge Banding:  [as detailed on drawings] [no.1 grade material to match face veneer, [3] [6] mm thickness].

2.16	fabrication

.1	Details for casework shall conform to flush overlay design.

.2	Set nails and countersink screw, apply plain wood filler to indentations, sand smooth and leave ready to receive finish.

.3	Shop install cabinet hardware.

.4	Use draw bolts in countertops and casework joints.

.5	Provide hairline joints in architectural woodwork.

.6	Fabricate work for delivery to site in sizes easily handled and to ensure passage through building openings.

SPEC NOTE:  Delete following two articles in their entirety if all architectural woodwork is to be site finished.  Clearly identify which portion of the project will be factory finished (e.g.: casework and countertops) and site finished (e.g.: handrails, trim, casing, windowsills) after they are fitted on site.

2.17	FACTORY FINISHING MATERIALS

SPEC NOTE:  Verify compatibility of finishes with fire retardant and preservative treated materials.

.1	Factory finishing materials:  Use only products included in Manufacturers' Product List of the Master Painter Institute Architectural Specification Manual, latest edition.

.2	Backprimers:  white Latex primer or gloss varnish thinned 25%, compatible with exposed finish, as applicable.

.3	Do not use combination filler/stain.

SPEC NOTE:  Use the paragraphs below for LEED projects. Surface coatings used in interior spaces of the building must have a VOC limit in compliance with the State of California South Coast Air Management Rule 1168.

SPEC NOTE:  For LEED projects paints and surface coatings used within the interior envelope of the building must be in compliance with LEED EQ Credit 4.2.

.4	Sustainable Finishes

.1	Comply with LEED Indoor Environment Quality credit EQ c4.2 Paints and Coatings.  Refer to Section 01 35 18 – LEED Requirements.

.2	Comply with SCAQMD Rule 1113- Architectural Coatings.

.3	Maximum allowable VOC limit [350] [          ] g/L.

2.18	FACTORY FINISHING

SPEC NOTE:  Clarify what items are to be factory finished by including the finishing location in the Architectural Woodwork Schedule.

.1	Comply with applicable requirements and recommendations for factory finishing in AWMAC Manual.

.2	Refer to Architectural Woodwork Schedule at end of this Section for factory finishing requirements.

.3	Applied and cured coatings shall be uniform in thickness, sheen, colour and texture, and free of defects detrimental to appearance or performance.

.4	Backprime the following surfaces that will be concealed after installation:

.1	Unfinished surfaces in contact with concrete, masonry, floors or floor finishes.

.2	Underside of front edges of countertops and toe-spaces.

.3	Other surfaces that may be subjected to moisture during normal use or cleaning operations.

.5	Use two coats tinted wood primer to back prime components receiving opaque finishes.

.6	Use gloss lacquer veneer varnish, to back prime components receiving clear finishes.

3.	Execution

3.1	VERIFICATION OF CONDITIONS

.1	Verify job site conditions in accordance with AWMAC Manual.

.2	Verify humidity and temperature conditions are stable and as recommended in AWMAC Manual.

.3	Do not deliver to site until job site conditions comply with the requirements outlined in the AWMAC Manual.

.4	Confirm site dimensions prior to fabrication.

3.2	INSTALLATION

.1	Install items in accordance with AWMAC Manual.

.2	Position items accurately, secure and rigid.

.3	Scribe and cut as required to fit neatly to abutting walls and recesses and to projecting, intersecting or penetrating objects.

.4	Apply smallest practicable bead of silicone sealant at junction of backsplashs and adjacent wall finish.

.5 	Provide cutouts for plumbing fixtures, inserts, appliances, outlet boxes and other fixtures.

.6	Back prime surfaces of cut-outs for sinks, drains and other mechanical services that will be concealed after installation. Electrical outlets are not allowed behind millwork, if outlets exist, notify the Minister.

3.3	ARCHITECTURAL WOODWORK SCHEDULE

SPEC NOTE:  The intent of this schedule is to provide a summary listing of all components included within the scope of this Section, by location.  Refer to Sample Schedule on Data Sheets for an example of a properly edited schedule; follow its format.

SPEC NOTE:  Use this schedule also to specify variables within components in Part 2, e.g. factory finishing, sheen, colour, plastic laminate finishes, hardware packages, etc.  Paint finishes are normally specified in Section 09 91 05.  Clearly identify which portion of the project will be factory finished (e.g.: casework and countertops) and site finished (e.g.: handrails, trim, casings, windowsills) after they are fitted on site.

SPEC NOTE:  Additional variables may occur among subcomponents.  For example, wall cabinets and base cabinets may be of different plastic laminate colours within the same Casework Type. For such situations, consider introducing cabinet types as first level indent headings below Casework Types.

| Location/Components | Finish and Surface Texture | [Gloss Level] | [Colour and Pattern] | Finished at |
| --- | --- | --- | --- | --- |
| [ ] |  |  |  |  |
| [ ] | [ ] | [ ] | [ ] | [Factory] [Site] |

END OF SECTION