Section Cover Page

Section 07 42 13 2016-05-03 Preformed Metal Siding System

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

Use this Section to specify requirements for shop and/or field assembled metal wall system, horizontal or vertical profile.

This Master Specification Section contains:

.1	This Cover Sheet

.2	LEED Notes and Credits

.3	Specification Section Text:

1.	General

1.1	Related Work Specified in Other Sections

1.2	Reference Documents

1.3	Product Options and Substitutions

1.4	Wall Systems

1.5	System Description

1.6	Submittals

1.7	Delivery, Storage, and Handling

2.	Products

2.1	Materials

2.2	Components

3.	Execution

3.1	Inspection

3.2	Preparation

3.3	Installation (Shop Assembled)

3.4	Installation (Field Assembled)

3.5	Control/Expansion Joints

3.6	Cleaning

Specifying Products and Methods:

.1	Refer to Alberta Infrastructure Specifications policy document "Specifying Products and Methods" for a complete policy statement.

.2	Use proprietary (trade name) specifications only when deemed essential and only when approved by Alberta Infrastructure, Procurement Section.

.3	When using proprietary specifications, specify the names of known acceptable products; name acceptable Alberta made products.

LEED Notes:

Sustainable building practices and benefits of using steel and aluminum cladding:

.1	Both aluminum and steel are made from recycled material and are themselves a recyclable product.  Less energy is required to make steel and aluminum from recycled material than to manufacture them from mined material. Steel and aluminum are one of the few materials that can contain both post-consumer and pre-consumer content.

.2	LEED allows for steel to be up to 25% recycled content without verification from the manufacturer. Aluminum suppliers are able to verify recycled  content anywhere between 15 to 65 percent. The location of the steel fabricator, rather than the location of the steel mill may be used as the manufacturing location when calculating the amount of local and regional material used for a project.

LEED Credits:

Potential LEED credits are available through this section:

.1	Recycled Content: MR 4. The criteria is that the sum of post-consumer recycled content plus one-half of the pre-consumer content constitutes at least the percent(10% and 20%)of the total value of the materials in the project. Metal components such as steel and aluminum have some recycled content and will contribute to the overall recycled content of components in the building. The LEED Reference Guide allows a default value of 25% post-consumer content for steel.  Claims above 25% will require documentation from the manufacturers.

.2	Regional Materials: MR 5. If fabricated regionally, metal will count in this credit. The contractor will be required to submit documentation consisting of cost, weight, transportation service and distance the material has travelled to the construction site.

1.	General

1.1	RELATED WORK SPECIFIED IN OTHER SECTIONS

.1	[LEED Submittal Forms	Section 01 32 16.]

.2	[LEED Requirements	Section 01 35 18.]

.3	[Environmental Procedures	Section 01 35 20.]

.4	Waste Management and Disposal	Section 01 74 19.

.5	Building framing members:	Section [             ].

.6	Sealants:	Section 07 92 00.

.7	Windows:	Section 08 51 13.

1.2	reference Documents

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED requirements and sustainable practices.

.1	American Society for Testing and Materials (ASTM):

| .1 | ASTM A653/ A653M-09 | Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process |
| --- | --- | --- |

.2	Aluminum Association (AA):

| .1 | AA-C22-A41 | Anodized Clear Coatings |
| --- | --- | --- |
| .2 | AA-C22-A42 | Integral Colour Coatings |

.3	American Architectural Manufacturers Association (AAMA):

| .1 | AAMA 508-05 | Voluntary Test Method and Specification for Pressure Equalized Rain Screen Wall Cladding Systems |
| --- | --- | --- |

.4	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org] |
| --- | --- | --- |

.5	Canadian General Standards Board (CGSB):

| .1 | CAN/CGSB-93.1-M85 | Sheet Aluminum Alloy, Prefinished, Residential |
| --- | --- | --- |
| .2 | CGSB 19-GP-5M, 1984 | Sealing Compound, One Component, Acrylic Base, Solvent Curing (Incorporating Amendment No. 1) |

.6	SCAQMD South Coast Air Quality Management District, California State (SCAQMD):

| .1 | SCAQMD Rule #1168, June 2006 |
| --- | --- |

1.3	PRODUCT OPTIONS AND SUBSTITUTIONS

.1	Refer to Division 01 for requirements pertaining to product options and substitutions.

1.4	WALL SYSTEM

.1	Wall assembly to be [field] [shop] assembled.

1.5	SYSTEM DESCRIPTION

.1	Construct the wall to provide for expansion and/or contraction of component material as will be caused by an ambient temperature range of [85] [95]°C without causing buckling, failure of joint seals, undue stress on fasteners or other detrimental effects.

.2	Design members to withstand their own weight, and the design loads due to the pressure and suction of wind as calculated in accordance with Alberta Building Code 2006 and applicable municipal regulations, to a maximum allowable deflection of [     ] [1/180] of span between attachments.

.3	Provide for positive drainage, to the exterior face of the wall, any water entering at joints and/or any condensation occurring within the wall construction, all to NRC "Rain Screen Principles".

.4	Minimum thermal resistivity of wall system shall be [     ]m.°C/W.

.5	Vapour permeance through wall system shall not exceed [12] [45] SI permeance (ng/(s-m2-Pa)).

.6	The wall system shall accommodate, by means of expansion joints, any movement in the wall itself and between the wall and the building structure, caused by structural movements (deflection and wracking, etc.) and/or thermal expansion and contraction without permanent distortion, damage to infills, cracking of joints, breakage of seals, or water penetration.

.7	Design the wall system to accommodate the tolerances of the structure, provided irregularities do not exceed them, and clearances shown are maintained.

.8	Maintain the following tolerances:

.1	Maximum variation from plane or location shown on approved shop drawings:  10 mm/10 m of length and 20 mm/100 m max.

.2	Maximum offset from true alignment between two adjacent members abutting end to end, in line:  0.75 mm.

.9	Design, assemble and secure wall system to the building structural frame in a manner that will keep any stresses on sealants within manufacturers' recommended maximum.

1.6	SUBMITTALS

.1	Comply with requirements of Division 01.

.2	Product Data:

.1	Submit manufacturer's printed product literature, specifications and data sheet in accordance with Section 01 33 00 - Submittal Procedures.

.2	Submit [two] [        ] copies of WHMIS MSDS, Material Safety Data Sheets in accordance with Section 01 33 00 - Submittal Procedures. Indicate VOC's for:

.1	Adhesives

.3	Shop Drawings

.1	Submit shop drawings in accordance with Division 01.

.2	Clearly indicate dimensions, siding profiles, attachment methods, schedule of wall elevations, trim and closure pieces, [soffits,] [fascia,] and related work.

.4	Samples

.1	Submit duplicate samples in accordance with Division 01.

.2	Samples to be representative of material, finish, colour and profile of specified work.

.5	Sustainable Design Submittals

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 4 is not being sought.

.1	LEED Submittals: submit LEED submittal forms for Credit MR 4 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Recycled Content:  provide listing of products incorporating recycled content.  Include details of percentages of post-consumer and pre-consumer recycled content for materials and products.  Indicate material and product costs.

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 5 is not being sought.

.2	LEED Submittals: submit LEED submittal forms for Credit MR 5 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Regional Materials: provide evidence that project incorporates required percentage [20] [30] % of regional materials/products, showing their cost, distances from extraction to manufacture and manufacture to project site, and total cost of materials for project.

1.7	DELIVERY, STORAGE, AND HANDLING

.1	Delivery and Acceptance Requirements:

.1	Stack panel sheets tilted to provide water run-off.

.2	Storage and Handling Requirements:

.1	Cover components to protect from direct moisture penetration.  Arrange stacks in a manner to encourage air movement.

.3	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 - Management and Disposal.

2.	Products

2.1	MATERIALS

.1	Sheet steel:  exposed to exterior, to ASTM A653/A653M, grade A, Z275 coating designation, factory precoated with [modified silicone] [fluorocarbon] paint finish, 2 coat system dry paint film thickness of 0.025 mm conforming to film test procedures described in CSSBI Bulletin No. 5.  Colour to be [       ] [from standard range] [selected by Minister.]

.2	Sheet steel:  interior backing sheet, to ASTM A653/A653M, grade A, [ZF075] [Z275] coating designation.]

.3	Sheet aluminum:  to CAN/CGSB-93.1 Type [1] [2] Class [F1S] [F2S], [plain] [patterned] surface, [0.50 mm] [0.60 mm] base metal, prepainted with [modified silicone] [fluorocarbon] paint finish, 2 coat system, dry paint film thickness of 0.025 mm, conforming to film test procedures described in CCSBI Bulletin #5.  Colour to be [      ] [from standard range] [selected by Minister.]

.4	Insulation:  fibrous glass to [     ] [kg/m3] density, minimum thermal resistivity of [     ] m.°C/W.

.5	Screws:  [cadmium plated steel] [stainless steel], purpose made, head colour same as exterior sheet, dished [steel/neoprene] [aluminum/neoprene] [stainless steel/neoprene.]

SPEC NOTE:  Delete VOC content requirement below if sustainable building practices are not being followed.

.6	Sealant:  [one component acrylic to CGSB 19-GP-5M] [           ], of colour to match siding.][VOC content compliant with SCAQMD Rule #1168, June 2006].

.7	Gaskets:  soft pliable vinyl, extruded profile, to achieve weathertightness when installed.

2.2	COMPONENTS

.1	Exterior sheet:  factory preformed prepainted metal, to profile [indicated on drawings] of [     ] mm deep [fluted] [ribbed] section x [     ] mm wide sheet], male and female lipped edges, [vinyl gasket shop fitted into female lip] [female lip filled to 50% with sealant], of [     ] mm core thickness metal.

.2	Exterior corners:  of same profile, material and finish as adjacent siding material, shop cut and brake formed to right angle, concealed corner brace, hairline exposed joint, pop rivet connections with painted head to match siding.

.3	Exposed joint:  [perpendicular to profile], ends of siding sheet shop cut clean and square, backed with tight fitting filler lapping back of joint, pop rivet connections, all exposed components shall be colour matched to siding.

.4	Accessories:  cap flashings, drip flashings, internal corner flashings, copings and closures for head, jamb, sill and corners, of same material and finish as exterior siding, brake formed to shape.

.5	Liner sheet:  factory formed [flat] [profiled] [flat ribbed] [to drawing details], [     ] mm module, male and female side lip, shop installed sealant in female lip.  [Secure to liner sheet with fire retardant adhesive.]

.6	Sub-girts:  of [1.2 mm] [     ] mm steel, galvanized to ASTM A653M-96, Z275 coating designation, profiled to accept [liner and] [exterior sheet] with structural attachment to building frame.

3.	Execution

3.1	INSPECTION

.1	Field measure building frame.  Confirm that variations in level and plumb are acceptable prior to erection of wall.

.2	Commencement of site erection shall mean acceptance of building conditions.

3.2	PREPARATION

.1	Protect contact surfaces of metals in contact with concrete, mortar, plaster or other cementitious surface with protective coating.

.2	Touch up building framing members with primer as required.

SPEC NOTE:  Select either sub-section 3.3 or 3.4 as required.

3.3	INSTALLATION (SHOP ASSEMBLED)

.1	Install all wall/siding assemblies by erection crews approved by material fabricator to written instructions.

.2	Install liner sheet and 'Z' bar girts to structural wall supports, using self tapping screws.  Interlock and seal side and end joints.  Precaulk female joint to ensure continuous [air] [dust proof] [vapour] barrier seal.

.3	Install insulation to ensure continuous thermal barrier in conjunction with air/vapour barrier formed by liner sheet.

.4	Install exterior finish siding to internal [sub-girts] [girts] with concealed fasteners.

.5	At vertical profiles for exterior siding, provide notched and formed top closures, caulked and sealed to arrest weather penetration.

.6	Provide alignment bars, brackets, clips, inserts, shims, etc. as required to securely and permanently fasten the wall system to the building structure.

.7	Completed installation to be free from noise, rattles, wind whistles, or noise due to thermal movement.

3.4	INSTALLATION (FIELD ASSEMBLED)

.1	Erect shop assembled wall system, attaching to building framing system with inside fasteners.

.2	Install wall/siding assembly by erection crews approved by material fabricator to written instructions.

.3	Install wood assembly to achieve thermal/air/vapour barrier.

.4	Perimeter caulk with sealant, install wall/siding over sill flashings, install [cap] [coping] flashings and ensure completed installation is continuous perimeter sealed.

.5	At vertical profiles for exterior siding, provide notched and formed top closures, caulked and sealed to arrest weather penetration.

3.5	CONTROL/EXPANSION JOINTS

.1	Construct [control] [expansion] joints as detailed.

.2	Cover sheets, of brake formed profile, of same material and finish as adjacent material.

.3	Attach with purpose made fasteners, exposed head of same colour as adjacent surface.

3.6	CLEANING

.1	Wash down exposed exterior surfaces using a solution of mild domestic detergent in warm water, applied with soft clean wiping cloths.  Wipe interior surfaces clean when construction is completed.

.2	Remove excess sealant by the moderate use of mineral spirits or other solvent acceptable by the sealant manufacturer.

END OF SECTION