Section Cover Page

Section 08 11 16 2014-11-01 Aluminum Doors and Frames

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

This Master Specification Section contains:

.1	This Cover Sheet

.2	LEED Notes and Credits

.3	Specification Section Text:

1.	General

1.1	Related Work Specified in Other Sections

1.2	Reference Standards

1.3	Product Options and Substitutions

1.4	Design

1.5	Submittals

1.6	Closeout Submittals

1.7	Delivery, Storage and Handling

2.	Products

2.1	Materials

2.2	Finishes

2.3	Hardware

2.4	Fabrication (General)

2.5	Fabrication (Aluminum Doors)

2.6	Fabrication (Aluminum Frames)

3.	Execution

3.1	Installation

3.2	Glazing

3.3	Caulking

3.4	Cleaning

3.5	Hardware Schedule

LEED Notes:

Refer to Section 01 35 18 – LEED Requirements for:

- Requirements necessary to obtain points for certification.

- Confirmation of LEED perquisites and credits affecting this Section.  Not all are mandatory for certification.

Maintain built-in sustainability regardless of LEED requirements for:

- Recycling, reuse of materials, components and assemblies.

- Diversion of construction waste from landfills.

- Use of recycled materials, local materials, rapidly renewable and durable materials.

- Maintain healthy indoor environment during constructing.

- Provide for thermal comfort, access to views and daylight for indoor spaces.

- Foster innovation into facility design and planning.

LEED Credits:

1.	Materials & Resources

-	Prereq 1 - Storage & Collection of Recyclables

-	Credit 2 - Construction Waste Management

-	Credit 4 - Recycled Content

-	Credit 5 - Regional Materials

2.	Indoor Environmental Quality

-	Prereq 1 - Minimum IAQ Performance

-	Credit 4.1 - Low-Emitting Materials: Adhesives & Sealants

-	Credit 4.2 - Low-Emitting Materials: Paints and Coating

3.	Regional Priority

-	Credit 1 – Durable Building

1.	General

1.1	RELATED WORK SPECIFIED IN OTHER SECTIONS

.1	Submittal Procedures	Section 01 33 00.

.2	[LEED Requirements	Section 01 35 18.]

.3	[Waste Management and Disposal	Section 01 74 19.]

.4	Operation and Maintenance Data and Manuals	Section 01 78 23.

.5	Equipment and Systems Demonstration and Instruction	Section 01 79 00.

.6	Steel support framing above ceiling/soffit:	Section 05 50 00.

.7	Rough wood blocking:	Section 06 10 00.

.8	Insulation:	Section 07 21 16.

.9	Caulking and sealants between frames and other building components:	Section 07 92 00.

.10	Metal door frames and screens:	Section 08 12 13.

.11	Hollow metal doors:	Section 08 13 13.

.12	Aluminum windows:	Section 08 51 13.

.13	Hardware	Section 08 70 00.

.14	Glass and glazing:	Section 08 81 00.

1.2	reference STANDARDS

SPEC NOTE:  Edit references to suit project.

.1	Aluminum Association (AA):

| .1 | AA-C22-A41 | Anodized Clear Coatings |
| --- | --- | --- |
| .2 | AA-C22-A42 | Integral Colour Coatings |
| .3 | DAF 45-03 | Designation System for Aluminum Finishes |

.2	American Architectural Manufacturers Association (AAMA):

| .1 | AAMA 609-93 | Voluntary Guide Specification for Cleaning and Maintenance of Architectural Anodized Aluminum |
| --- | --- | --- |

.3	American Society for Testing and Materials (ASTM):

| .1 | ASTM E330-02 | Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference |
| --- | --- | --- |

.4	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org |
| --- | --- | --- |

.5	Canadian General Standards Board (CGSB):

| .1 | CGSB 1.40-97 | Anticorrosive Structural Steel Alkyd Primer |
| --- | --- | --- |
| .2 | CAN/CGSB-12.1-M90 | Tempered or Laminated Safety Glass |
| .3 | CAN/CGSB-12.20-M89 | Structural Design of Glass for Buildings |
| .4 | CGSB 19-GP-5M, 1984 | Sealing Compound, One Component, Acrylic Base, Solvent Curing (Incorporating Amendment No. 1) |

.6	Canadian Standards Association (CSA):

| .1 | CAN/CSA-G40.20/G40.21-04 | Rolled or Welded Structural Quality Steel/Structural Quality Steel |
| --- | --- | --- |
| .2 | CAN/CSA G164-M92 (R2003) | Hot Dip Galvanizing of Irregularly Shaped Articles |

.7	State of California’s South Coast Air Quality Management District(SCAQMD):

| .1 | SCAQMD Rule #1168 | June 2006, Adhesives and Sealants |
| --- | --- | --- |

1.3	PRODUCT OPTIONS AND SUBSTITUTIONS

.1	Refer to Division 01 for requirements pertaining to product options and substitutions.

1.4	DESIGN

.1	Design members to withstand, within acceptable deflection limitations, their own weight, the weight of glass, and the minimum design loads due to the pressure and suction of wind as calculated in accordance with Alberta Building Code.

.2	Make provision to drain, to the exterior, any water entering at joints and/or condensation occurring within the wall construction.

.3	Design assembly to accommodate expansion and contraction when subjected to minimum and maximum surface temperature of -35°C to +75°C.

.4	Deflection limit for mullions shall be governed by flexure limit of glass unit to permissible maximum by glass manufacturer and calculated with a safety factor of 2.5 with full recovery of glazing compounds or [     ] [1/175] maximum deflection of unsupported length; whichever is less.

1.5	SUBMITTALS

.1	Product Data:

.1	Submit manufacturer's printed product literature, specifications and data sheet in accordance with Section 01 33 00 - Submittal Procedures.

.2	Submit [two] [        ] copies of WHMIS MSDS - Material Safety Data Sheets in accordance with Section 01 33 00 - Submittal Procedures. Indicate VOC's for adhesives and sealants.

.2	Shop Drawings:

.1	Clearly indicate, by large scale details, all perimeter conditions of construction, mullion/muntin details, all components of the assembly, anchorage, sealing techniques, tolerances of openings, elevations, all materials, hardware and finishes.

.3	Samples:

.1	Submit one 50 x 50 mm finish sample of each door and frame finish.

.4	Manufacturer's Instructions:

.1	Submit manufacturer's installation instructions.

.5	Sustainable Design Submittals:

SPEC NOTE: Delete LEED submittal item below if project is not to attain LEED certification or if Credit EQ 4.1 Low Emitting Materials: Adhesives and Sealants is not being sought. If project is to follow sustainable building practices but not attaining LEED certification, delete references to LEED and retain SCAQMD Rule #1168 as a sustainable submittal.

.1	[LEED] Submittals: [submit LEED submittal forms for Credit EQ 4.1 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following][submit sustainable submittals as follows]:

.1	Documentation identifying that VOC content is less than the VOC limits of State of California’s South Coast Air Quality Management District(SCAQMD) Rule #1168, June 2006.

1.6	CLOSEOUT SUBMITTALS

.1	Provide maintenance data for cleaning and maintenance of aluminum finishes for incorporation into manual specified in Section 01 78 23 - Operation and Maintenance Data and Manuals.

1.7	DELIVERY, Storage, and handling

.1	Delivery and Acceptance Requirements:

.1	Receive and store materials as recommended by materials manufacturer.

.2	Storage and Handling Requirements:

.1	Adequately protect finish surfaces during moving, handling and storage.

.2	Apply temporary protective coating to finished surfaces. Remove coating after erection. Do not use coatings that will become hard to remove or leave residue.

.3	Leave protective covering in place until final cleaning of building.

.3	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 - Management and Disposal.

2.	Products

2.1	MATERIALS

.1	Aluminum extrusions:  Aluminum Association alloy [AA6063-T5] [AA6006-T5].

SPEC NOTE:  Specify alloy AA6006-75 when hardcoat finish is selected.

SPEC NOTE:  Use the paragraph below for LEED projects pursuing EQ credit 4.2.  Paints and coatings used on interior of the buildings (defined as inside of the weatherproofing system and applied on site) shall comply with .1  Architectural paints, coatings and primers applied to interior walls and ceilings.

.1	Indoor Environmental Quality, Credit 4.2 - Low-Emitting Materials: Paints and Coating.

.2	SCAQMD Rule 1113 – Architectural Coatings .

.3	Maximum VOC limit  [250] [         ] g/l.

.2	Sheet aluminum:  Aluminum Association alloy AA1100 [anodizing quality].

.3	Steel reinforcements:  to CAN/CSA-G40.21.

.4	Fasteners:  aluminum, stainless steel type 316, or cadium plated steel, finished to match adjacent material.

SPEC NOTE:  Use the paragraph below for LEED projects pursuing EQ credit 4.2.  Paints and coatings used on interior of the buildings (defined as inside of the weatherproofing system and applied on site) shall comply with .2  Anti-corrosive and anti-rust paints applied to interior ferrous metal substrates.

.5	Steel primer:  to CAN/CGSB-1.40.

.1	Indoor Environmental Quality, Credit 4.2 - Low-Emitting Materials: Paints and Coating

.2	SCAQMD Rule 1113 – Architectural Coatings

.3	Maximum VOC limit  [250] [            ] g/l.

.6	Bituminous paint:  to CAN/CGSB-1.108.

.7	Weatherstripping:  waterproof, rot-proof pile fibre 4 mm high x 6 mm wide in neoprene backing of flexible vinyl.

.8	Sills:  sloped extruded aluminum sill sections including upturned end stops, chairs, anchors, splice plates; finish same as aluminum framing.

.9	Insulated panels:  outer facing of [     ] mm sheet [aluminum] [galvanized sheet steel], inner facing of [     ] mm galvanized sheet steel, laminated to core material of [     ] insulation, form edges [closed seam] [to lip for glazing into wall system, provide for condensation drainage to wall system weep drainage].

.10	Glass and glazing materials:  in accordance with Section 08 81 00.

.11	Sealants:  in accordance with Section 07 92 00, paragraph [     ], [      ] colour [selected by Province].

SPEC NOTE:  Use the paragraph below for LEED projects. Sealants used in interior spaces of the building must have a VOC limit in compliance with the State of California South Coast Air Management Rule 1168.

.1	Indoor Environmental Quality, Credit 4.1 low Emitting Materials:  Adhesives & Sealants

.2	Sealant: to SCAQMD Rule 1168 - Adhesives and Sealants Applications.

.3	Maximum VOC limit  [250] [        ] g/l.

SPEC NOTE:  Refer to Section 07 92 00 and select appropriate sealant material and insert paragraph number and colour as required in blank spaces.

2.2	FINISHES

.1	Finish on exposed aluminum surfaces shall be [mill finish] [anodized to Alcan [Analok] [Hardcolour] [[6] [10] [15] [20] [25] micrometres] thick, finish designation [A22] [A32] [A41] [A42] [A4x], clear [light bronze] [medium bronze], [dark bronze] [black] colour] [enamelled to Alcan [     ] with thermosetting acrylic enamel, colour selected by Province].

.1	Indoor Environmental Quality, Credit 4.2 - Low-Emitting Materials: Paints and Coating

.2	SCAQMD Rule 1113 – Architectural Coatings

.3	Maximum VOC limit  [250] [___] g/l.

.2	Shop apply strippable protective [coating] [covering] to finished aluminum surfaces until completion of the work.

.3	Paint ungalvanized steel clips, supports and reinforcing steel with steel primer or bituminous paint.

.4	Finish on insulated panels shall be [     ], colour selected by  Province.  [Interior surface of panel may be left natural].

2.3	HARDWARE

SPEC NOTE:  Schedule items as per paragraph 3.5.

SPEC NOTE:  For automatic doors use centre pivot hinges.

.1	Butts:  [1 1/2] [2] pair per door leaf, [114 mm x 102 mm] [114 mm x 114 mm] [127 mm x 114 mm], FBB 199, NRP, [     ] finish.

Pivot hinges:  [offset] [centre] pivots, self-lubricating bronze bearings, hardened steel pins, adjusting pivot with locking screw, [mortised intermediate pivot hinge], finish shall match door frame.

.2	Cylinder:  [supplied under Section 08 70 00] [mortised cam type, [master keyed to building keying system], 5 pin type, finish same as door, [thumb turn], mount 1520 mm above floor.

.3	Maximum security lock:  5 ply steel bolt, 35 mm throw, anti-saw roll pins, to accept mortised cylinder.

.4	Push:  aluminum bar with push plate similar to Kawneer style [     ], mount 1140 mm above floor.

.5	Pull:  extruded aluminum shape similar to Kawneer style [     ], mount 1140 mm above floor.

.6	Panic:  [concealed] [surface] rim device, Russwin [     ] model, [roller strike], mount 1025 mm above floor.

.7	Threshold:  extruded aluminum, ribbed, full width of opening, [as required to cover floor mounted closer].

.8	Closer:  [single] [double] acting, overhead, [surface] [concealed] mounted, rectangular slim profile, LCN [     ] model [including support bracket], [     ] finish, adjustable closing and latch speeds.

.9	Floor closer:  [offset] [centre] pivot type, [single] [double] acting, hydraulic action, [105° hold open], floor cover plate [flush with threshold], metal concrete form box, adjustable closing and latch speeds.

.10	Holder:  overhead [surface] [concealed] type, adjustable check for [     °] opening, Glynn-Johnson Model [     ], [     ] finish.

2.4	FABRICATION (GENERAL)

.1	Provide minimum 20 mm bite for factory-sealed double glazed units.  Ensure sufficient bite on all other glass as required for live and dead loads.

.2	Make allowances for deflection of structure to ensure that structural loads are not transmitted to aluminum work.

.3	Provide structural steel internal reinforcement as required to achieve specified criteria for frame stability.

.4	Manufacturers' nameplates on doors or frames are not acceptable.

.5	Accurately join and fit corners of doors and frames to flush hairline joints [and weld along concealed lines of contact].

.6	Accurately form cut-outs, recesses, mortising or milling required for finishing hardware in accordance with templates supplied and reinforce with galvanized or stainless steel plates.

2.5	FABRICATION (ALUMINUM DOORS)

.1	Construct doors of porthole extrusions with 3.0 mm wall thickness.

.2	Door stiles nominal [     ] mm wide ± 6 mm.

.3	Top rail nominal [     ] mm wide ± 6 mm.

.4	Bottom rail nominal [     ] mm wide ± 6 mm.

.5	Reinforce mechanically-joined corners of doors by welding and spigotting or one piece cast aluminum angle to produce sturdy door unit resistant to wracking.

.6	Provide weatherstripping on two sides and head of exterior doors and sweep strip full width of bottom rail.  Construct to permit ready placement of weatherstripping on installed doors without special tools.

.7	Provide glazing stops of interlocking snap-in type for dry glazing.  Design and make exterior stops tamperproof type.

2.6	FABRICATION (ALUMINUM FRAMES)

.1	Construct frames of aluminum extrusions, [     mm x     mm] size, 3.0 mm thickness [flush] [applied] stops, [screw applied] [snap-on], [thermally broken sections], [split mullion].

.2	Vertical mullions shall be continuous.  Sills shall be one piece or flush jointed on mullion centreline with alignment spline.

.3	Provide for adequate clearance and shim space at perimeter of opening.

.4	Provide weep holes in horizontal members of exterior frames and screens.  Drain weepholes to exterior.

3.	Execution

3.1	INSTALLATION

.1	Erect and secure aluminum work plumb, square and level, free from warp, twist and superimposed loads.

.2	Secure work adequately and accurately to structure in designed location, in manner not restricting thermal movement.  Lock settings after alignment.

.3	Backpaint aluminum in contact with dissimilar metals and cementitious materials; with bituminous paint.

.4	Protect aluminum and glass surfaces until final cleaning.

.5	Completed installation shall be free from objectionable noise, rattles, wind whistles and noise due to thermal movement.

.6	Fit finish hardware neatly, accurately; make plumb and level with proper clearance for correct operation.

3.2	GLAZING

.1	Glaze aluminum doors, screens and sidelights using [     ] glass in accordance with Section 08 81 00.

SPEC NOTE:  If drawings or schedules do not indicate types and thicknesses of glass required for various locations, detail the requirements here.  Ensure types of glass required in this Section are included in Section 08 81 00.

3.3	Sealant

.1	Install sealant and related materials for perimeter of frame and between members of aluminum work in accordance with Section 07 92 00 to provide a weatherproof installation.

.2	Ensure continuity of air/vapour barrier with adjacent construction.

3.4	CLEANING

.1	Wash down exposed interior metal surfaces using a solution of mild domestic detergent in warm water, applied with soft clean wiping cloths.

.2	Clean exposed exterior non-metal surfaces as recommended by the manufacturer of the material.

.3	Wipe interior surfaces clean when construction is completed.  Clean and polish finish hardware.

3.5	HARDWARE SCHEDULE

.1	Provide and install hardware to the following schedule:

SPEC NOTE:  Set out a hardware schedule listing door numbers down left column and set out column headings as for specified items:  Room # to Room #, handling, single or double leaf, hinges, cylinder, push/pull, panic, threshold, closer, holders, weatherstripping.

END OF SECTION