Section Cover Page

Section 08 35 13 2014-11-01 Accordion Folding Doors

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

This Master Specification Section contains:

.1	This Cover Sheet

.2	LEED Notes and Credits

.3	Specification Section Text:

1.	General

1.1	Related Work Specified in Other Sections

1.2	Reference Documents

1.3	Submittals

1.4	Delivery, Storage and Handling

2.	Products

2.1	Materials/Components

3.	Execution

3.1	Erection

LEED Notes:

Refer to Section 01 35 18 – LEED Requirements for:

- Requirements necessary to obtain points for certification.

- Confirmation of LEED perquisites and credits affecting this Section.  Not all are mandatory for certification.

Maintain built-in sustainability regardless of LEED requirements for:

- Recycling, reuse of materials, components and assemblies.

- Diversion of construction waste from landfills.

- Use of recycled materials, local materials, rapidly renewable and durable materials.

- Maintain healthy indoor environment during constructing.

- Provide for thermal comfort, access to views and daylight for indoor spaces.

- Foster innovation into facility design and planning.

LEED Credits:

1.	Materials & Resources

-	Prereq 1 - Storage & Collection of Recyclables

-	Credit 2 - Construction Waste Management

-	Credit 4 - Recycled Content

-	Credit 5 - Regional Materials

2.	Indoor Environmental Quality

-	Prereq 1 - Minimum IAQ Performance

-	Credit 4.1 - Low-Emitting Materials: Adhesives & Sealants

-	Credit 4.2 - Low-Emitting Materials: Paints and Coating

-	Credit 4.4 - Low-Emitting Materials: Composite Wood and Agrifibre Products

3.	Regional Priority

-	Credit 1 – Durable Building

1.	General

1.1	RELATED WORK SPECIFIED IN OTHER SECTIONS

.1	Submittal Procedures	Section 01 33 00.

.2	LEED Requirements	Section 01 35 18.

.3	Waste Management and Disposal	Section 01 74 19.

.4	Operation and Maintenance Data and Manuals	Section 01 78 23.

.5	Steel support framing:	Section [05 12 00][05 50 00.]

.6	Wood blocking:	Section 06 10 00.

.7	Wood finish trim:	Section 06 20 00.

.8	Acoustic ceiling:	Section [            .]

1.2	REFERENCE DOCUMENTS

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED documentation and sustainable practices.

.1	American Society for Testing and Materials (ASTM):

| .1 | ASTM E84-08a | Standard Test Method for Surface Burning Characteristics of Building Materials |
| --- | --- | --- |
| .2 | ASTM E90-09 | Standard Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements |
| .3 | ASTM E336-08 | Standard Test Method for Measurement of Airborne Sound Insulation in Buildings |
| .4 | ASTM E557-00 (2006) | Standard Guide for the Installation of Operable Partitions |

.2	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org |
| --- | --- | --- |

.3	Underwriters' Laboratories of Canada (ULC):

| .1 | CAN/ULC S102-07 | Surface Burning Characteristics of Building Materials and Assemblies |
| --- | --- | --- |

1.3	submittals

.1	Product Data:

.1	Submit manufacturer's printed product literature, specifications and data sheet in accordance with Section 01 33 00 - Submittal Procedures.

.2	Shop Drawings:

.1	Indicate opening sizes, head, jamb and floor conditions, fabric characteristics, hardware and attachments.

.3	Samples:

.1	Submit 300 x 300 mm sample of vinyl fabric covering for approval.

.2	Submit samples of door pull and latch [end post] [intermediate posts] [lead post].

.4	Manufacturer's Instructions:

.1	Submit manufacturer's installation instructions.

1.4	DELIVERY, Storage, and handling

.1	Delivery and Acceptance Requirements:

.1	Deliver doors and panels to minimize storage on site and when site conditions conform to requirements for storage.

.2	Storage and Handling Requirements:

.1	Store and handle doors as follows:

.1	Store doors in well ventilated area, off floor.

.2	Protect doors from scratches, handling marks and other damage.

.3	Waste Management and Disposal:

.1	Separate waste materials for [reuse] [and] [recycling] in accordance with Section 01 74 19 - Management and Disposal.

2.	Products

2.1	MATERIALS/COMPONENTS

.1	Folding Partition:  accordion fold pantograph action, internal galvanized 1.63 mm steel hinge plates, 5 mm Dia. rods, [limiting mechanism] [limit chains], [stacking straps and snaps, ball bearing trolleys at every second hinge], [acoustic seals at top, bottom and both jambs], internal air release, [sound absorbent liner.]

.2	Vinyl Fabric Covering:  [[0.5] [0.75] [     ] kg/m2] vinyl fabric covering of [    kg/m2] vinyl coating laminated to [     kg/m2] mildew resistant backing fabric, [with ULC fire hazard classification maximum ratings of flame spread 25, fuel contributed 10 and smoke developed 50,] [clear plastic finish coating for increased washability], of [        ] texture, colour as selected by Province.

.3	Track:  [formed steel] [extruded aluminum], [32 mm x 32 mm] [41 mm x 45 mm] designed to support partition live and dead loads; including steel sub-channel and track connectors, [white enamelled ceiling closure] [white enamelled ceiling guard.]

.4	Accessories:  aluminum jamb moulding with integral resilient seal, and all fitments required.

.5	Hardware:  latching door handles of cast steel satin chrome finish, [lock cylinder master keyed to building keying system] [pull bars.]

3.	Execution

3.1	ERECTION

.1	Install folding door to manufacturer's printed instructions, to a complete and operating installation.

.2	Door shall glide smoothly from stacked to drawn position without undue effort.

.3	Coordinate installation of components with related and adjacent work.

.4	Clean down fabric surfaces and final adjust.

END OF SECTION