Section Cover Page

Section 10 56 26 2011-08-24 Small Mobile Shelving Systems

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

Use this Section to specify mobile shelving systems in standard movement with range lengths to 3.20 m and track lengths to 4.60 m, and in lateral movement with range lengths not greater than 1.80 m.

For systems with ranges exceeding 3.20 m and tracks exceeding 4.60 m in length, use Section 10 56 57, Large Mobile Shelving Systems.

This Section is structured to specify either complete systems or the mobilization of existing shelving, or both.

This Master Specification Section contains:

.1	These Cover Sheets

.2	LEED Notes and Credits

.3	Data Sheet - System Characteristics & Types

.4	Data Sheet - Floor Slopes and Drifting

.5	Data Sheets - System Planning and Operation

.6	Data Sheets - System Components

.7	Data Sheet - Structural and Related Considerations

.8	Data Sheet - Metric Conversions

.9	Specification Section Text:

1.	General

1.1	Related Work Specified in Other Sections

1.2	Reference Documents

1.3	Definitions

1.4	System Description

1.5	Design Criteria

1.6	Performance Requirements

1.7	Submittals

1.8	Maintenance/Extra Materials

1.9	Waste Management and Disposal

1.10	Qualifications

1.11	Extended Warranty

Section Cover Page

Section 10 56 26 2011-08-24 Small Mobile Shelving Systems

2.	Products

2.1	Materials

2.2	Existing Shelving

2.3	[Four Post] [Case Type] Shelving

2.4	Cantilever Shelving

2.5	Shelving Components

2.6	Shelving Accessories

2.7	Tracks

2.8	Carriages

2.9	Subfloors

2.10	Ramps

2.11	Drive Mechanisms

2.12	End Panels

2.13	Safety Devices

2.14	Accessories

2.15	Fabrication

2.16	Finishes

3.	Execution

3.1	Mobilization of Existing Shelving

3.2	Assembly and Installation, General

3.3	Track Installation

3.4	Installation of Subfloor and Ramps

3.5	System Demonstration

3.6	Cleaning

3.7	Installation Schedule

LEED Notes:

N/A

LEED Credits:

Contribution towards LEED credits in this section may apply as follows:

.1	LEED Credit MR 4: Recycled Content.

The criteria is that the sum of post-consumer recycled content plus one-half of the pre-consumer content constitutes at least the percent(10% and 20%) of the total value of the materials in the project. Steel components have some recycled content and will contribute to the overall recycled content of components in the building. The manufacturers will be able to provide information on the content of recycled steel in their product.

2.	MR Credit 5 Regional Materials:

.1	Use building materials or products that have been extracted, harvested, recovered and processed within 800 km (2400 km is shipped by rail or water) of the final manufacturing site.  Demonstrate that the final manufacturing site is within 800 km (2400 km is shipped by rail or water) of the project site for these products. The contractor will be required to submit documentation consisting of cost, weight, transportation service and distances as evidence of compliance with credit requirements.

.3	LEED Credit MR 7: Certified Wood.

.1	The manufacturer of the wood shelving may be utilizing FSC Certified wood products which may contribute to this LEED credit. Under this credit a minimum of 50% of wood-based materials used on the project would have to be FSC Certified. Depending upon the quantity of wood used in the project, the shelving may be a contributing factor to the overall calculation.

4.	LEED Credit EQ 4.4 Low-Emitting Materials: Comp wood and Agrifibre Products.

.1	In order to obtain EQ 4.4 composite wood products must contain no added urea-formaldehyde in the production of the product. MDF and particleboard are specified as shelving components. Product data and/or LEED letters from manufacturers are required for verification.

SYSTEM CHARACTERISTICS

Mobile shelving systems consist of shelving mounted on wheeled carriages which ride on metal tracks.  Tracks oriented perpendicular to carriage lengths provide standard movement, available in manual, mechanically assisted and electrical operation.  Tracks oriented parallel to carriage lengths provide lateral movement, available only in manual operation.

Mechanically assisted systems feature drive mechanisms manually operated by cranks or wheels at end panels.  Mechanical advantage is typically achieved by chain drives transferring force via drive shafts to carriage wheels, or via sprocket wheels to chains laid in tracks.

Provided floors are adequately level and flat, both manual and mechanically assisted carriages may ride on low profile tracks designed to be installed directly on finished floors.

SYSTEM TYPES

Systems currently available can be classified into three types:

1.	Systems featuring non-levelled low profile tracks surface mounted on existing floors.  These systems are designed for smaller installations on relatively level and flat floors.

2.	Systems featuring tracks recessed into and integral with subfloors, with levelling capability.  These systems are also primarily designed for smaller installations and less dependent on floor levelness and flatness.

3.	Systems featuring levelled, higher profile tracks recessed between levelled subfloors.  These are designed for all sizes of installations and for virtually every floor slope.

FLOOR SLOPES AND DRIFTING

Installers say it is common to find floors sloping 25 mm and more in 3.5 m.  As a rule of thumb, tracks oriented across slabs sloping away from structural elements such as foundations, walls and beams will reduce risk of drifting, and the cost of measures to prevent it.

Mobile shelving systems are not suitable for installation on floors supported by subsoils susceptible to movement.  Obtain adequate geotechnical and any other relevant information to determine stability of subsoils.

Document floor profiles of existing floors, along anticipated track locations.  Plot elevations to the nearest millimetre, at regular intervals.  Locate changes in slope.  If slopes along profiles exceed 10 mm in 4.60 m (0.22%), drifting can be expected to occur.  In such cases specify tracks installed on levelled subfloors.

Failure to adequately determine existing floor slopes and floor stability may result in system failure to meet performance requirements.

ALTERNATIVES TO RAISED SUBFLOORS

For concrete slabs on grade that are not yet constructed, there may be cheaper alternatives to providing surface mounted tracks on levelled, raised subfloors.  These alternatives, which require high profile levelled tracks, are as follows:

1.	Provide floor slab recesses at track locations, of sufficient width to permit acceptable gradient from existing floor variations to levelled tracks.  Install levelled tracks.  Pour topping to fill recesses and provide transition from levelled tracks to surrounding floor.

2.	Pour track footings.  Install levelled tracks.  Pour concrete floor around tracks.

3.	Pour entire floor slab at a lower elevation.  Install levelled tracks.  Pour topping around tracks.

Design elevations of recesses, track footings and lowered slabs to provide adequate tolerance for levelling high profile tracks to be flush with surrounding floor slab, including thickness of floor finishes.  After tracks are installed, they must be covered with a capped form to permit topping or floor to be poured around them.  Specify "superflat" floor tolerances for levelness and flatness for new floors, to minimize variation between top of track and floor elevations.  Coordinate with Sections 03 30 00 and 03 35 10.

PLANNING AND OPERATION

System layout affects cost.  As frequency of access and number of persons accessing the system increases, the number of aisles must be increased and aisle lengths made shorter to optimize access, with increasing floor area requirements.  At some point, access can best be accommodated by stationary shelving.  Before finalizing system layout and editing this Master Specification, or even deciding whether mobile systems are suitable, determine the following:

1.	How many people will be accessing the system, and how frequently?

2.	What media must the shelving support?

3.	Are there structural limitations affecting storage density?

4.	Will the cost of the system be offset by savings in floor space required?

5.	What are required clearances from overhead items such as lighting, sprinklers and other mechanical and electrical items?

6.	Are there areas of existing floors where slopes would permit surface mounted tracks to be located without negatively affecting planning requirements?

Specified performance requirements are based on the assumption that only one range will be moved at a time.  Determine whether this assumption is realistic for your situation and plan the layout accordingly.  With mechanically assisted systems, ranges move more slowly as mechanical advantage is increased to stay within the specified range of operator effort.  To ensure range movement will accommodate higher activity levels, additional fixed ranges and aisles, and reduced aisle lengths may have to be introduced.  Obtain advice on system layout from several vendors of different systems.

System layouts and movement configuration must be indicated on drawings.

EFFORT TO OPERATE

Manufacturers can design mechanically assisted systems to vary the effort required to move mobile ranges.  Effort required may vary from 1 N per 100 kg to 1 N per 1000 kg of mobile range mass (equivalent to 1 lb./1,000 lb.-10,000 lb.).  Some factors affecting effort required are:

1.	Carriage live and dead loads.

2.	"Gear reduction" and quality of design and components provided in drive mechanism.

3.	Wheel size and bearings.

4.	Quality of installation.

5.	Number of adjacent mobile ranges to be moved, if movement of multiple ranges is anticipated.

TRACKS

Tracks typically consist of a hard steel wearing surface on a base of softer steel or aluminum.  Tracks are available for small systems, in low profiles for installation directly on existing floors or on a levelled subfloor, or in higher profiles as an integral part of a levelled modular subfloor.  Low profile tracks will interfere with cart access but the relatively short aisle lengths of small systems may preclude the need for cart access.  Where existing floor slopes meet criteria, surface mounted, low profile tracks will be acceptable.

SUBFLOORS

Where recessing tracks into floors is not an option, raised subfloors may be used to provide a level and flat platform for surface mounted tracks and to remove a tripping hazard presented by higher profile levelled tracks.  Subfloors typically consist of wood product panels, supported on metal framing, and are designed to permit levelling adjustment.  Vendors typically provide ramps with subfloors.

DRIVE MECHANISMS

Refer to System Characteristics on previous Data Sheet.  The larger the wheels, the less effort required to move the ranges.  Drive shafts need to be designed to prevent twist which, if large enough, will result in ranges "dog-tracking" or "crab-walking" along tracks.  Increased effort to operate or binding in tracks may result.  Chains will stretch over time and will need tensioning.  Better mechanisms provide an additional take up sprocket that will simplify tension maintenance.

SHELVING

Four post shelving is the most basic type of shelving system.

Metal case type shelving offers superior appearance and prevents documents from being wedged behind posts, while providing rigidity equal to or greater than four post systems.

Cantilever (bracket type) shelving is suitable when properly reinforced for mobile systems.  This type allows varying shelf depths and types to accommodate different media.  Shelves can vary before assembly and can be changed after installation.  Mobilizing existing cantilever shelving may not be possible or may require modification at substantial cost.

Specify shelf dimensions for the media to be stored, as follows:

| Media (depth, width, height) | Shelf Depth (mm) | Min. Clear Height (mm) | Shelf Width (mm) |
| --- | --- | --- | --- |
| Letter Files |  |  |  |
| (298, n/a, 241) | 308 | 255 | optional |
| Legal Files |  |  |  |
| (375, n/a, 241) | 381 | 255 | optional |
| X-ray film |  |  |  |
| (457, n/a, 381) | 457 | 395 | optional |
| Binders |  |  |  |
| (267-292, n/a, 292) | 305 | 305 | optional |
| Archive boxes |  |  |  |
| (394, 305, 267) | 457 | 281 | 991 |

Standard shelf depths: 254 mm, 305 mm, 381 mm, 457 mm, 610 mm, 762.

Standard shelf widths: 610 mm, 762 mm, 914 mm, 991 mm, 1067 mm, 1219 mm.

Obtain user input for nontypical storage requirements of hospitals, health units, museums, etc..  Determine shelf size on the basis of efficient accommodation of objects being stored.  Special pre-manufactured shelves and accessories are available to store audio-visual media and computer tapes.

STRUCTURAL CONSIDERATIONS

Concrete slabs on grade, i.e., in contact with and directly supported on grade, are normally able to support the higher loads imposed by mobile shelving.  These loads, however, can be well above the design load capacity of structural floors spanning above grade.  Obtain engineering analysis to determine the feasibility of mobile shelving systems on floors above grade, and to determine maximum allowable track spacing.  As a follow up, have an engineer review the designed system layout, the specification and shop drawings to ensure structural requirements are adequately addressed.  Relevant considerations include track and wheel spacing, and the following:

1.	Nature of media to be stored.

2.	Shelf loading.

3.	Vertical spacing and number of shelves.

FORCE AND MASS

The metric system measures force in Newtons (N) and mass in kilograms (kg).  The force required to move mobile ranges is expressed in Newtons.  System live and dead loads are expressed in Newtons and Kilopascals for structural considerations, and in kilograms when used to determine force required to move mobile range mass.

MEDIA WEIGHTS

The following media weights are based on information provided by mobile shelving system manufacturers:

| Media | kg/m | N/m | lb./filing inch |
| --- | --- | --- | --- |
| Letter files | 41.07 | 403 | 2.3 |
| Legal files | 52.68 | 517 | 2.95 |
| Computer print-out | 107.15 | 1050 | 6.0 |
| Computer tapes | 44.64 | 438 | 2.5 |
| X-Ray film | 142.86 | 1400 | 8.0 |
| Binders | 78.58 | 770 | 4.4 |
| Books (small) | 26.79 | 263 | 1.5 |
| Books (medium) | 35.72 | 350 | 2.0 |
| Periodicals | 56.55 | 555 | 3.2 |
| Audio Records (LP's) | 74.41 | 730 | 4.2 |
| Audio-visual film | 10.42 | 102 | 0.6 |

Metric conversion factors were obtained from the Canadian Metric Practice Guide, CAN/CSA-Z234.1-89, and are as follows:

| Imperial Unit | Metric Equivalent |
| --- | --- |
| 1 pound force | 4.448 Newtons (N) |
| 1 pound per inch | 1751 Newtons per metre (N/m) |
| 1 pound per inch | 17.857 97 kilograms/metre (kg/m) |
| 1 pound mass | 0.4536 kilogram (kg) |

Note: Conversion to N/m has been derived.

END OF DATA SHEETS

1.	General

1.1	RELATED Work Specified in Other SECTIONS

SPEC NOTE:  Edit or delete this article to suit project requirements.

.1	[LEED Submittal Forms	Section 01 32 16]

.2	[LEED Requirements	Section 01 35 18]

.3	[Environmental Procedures	Section 01 35 20]

.4	Waste Management and Disposal	Section 01 74 19.

.5	[Cast-In-Place Concrete:	Section 03 30 00.

.6	[Concrete Floor Finishes:	Section 03 35 10.

.7	Floor finishes:	Section [             ].

1.2	REFERENCE DOCUMENTS

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED documentation and sustainable practices.

.1	American National Standards Institute (ANSI):

| .1 | ANSI 208.1, 2009 | Particleboard, Mat formed Wood |
| --- | --- | --- |
| .2 | ANSI A208.2, 2009 | Medium Density Fiberboard for Interior Use |
| .3 | ANSI MH28.1-1997 | Industrial Grade Steel Shelving, Specification for the Design, Testing, Utilization, and Application of |

.2	American Society for Testing and Materials (ASTM):

| .1 | ASTM A653/ A653M-09 | Specification for Steel Sheet, Zinc Coated (Galvanized) or Zinc Iron Alloy Coated (Galvannealed) by the Hot Dip Process |
| --- | --- | --- |
| .2 | ASTM A924/ A924M-09 | Specification for General Requirements for Steel Sheet, Metallic Coated by the Hot Dip Process |

.3	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org] |
| --- | --- | --- |

.4	Canadian General Standards Board (CGSB):

| .1 | CAN/CGSB-1.300-2000 | Applied Coating System of Semigloss Baked Finish for Office Furniture |
| --- | --- | --- |
| .2 | CAN/CGSB-11.3 M87 | Hardboard |

.5	Canadian Standards Association (CSA):

| .1 | CSA-G40.20-04/ G40.21-04 | General Requirements for Rolled or Welded Structural Quality Steel / Structural Quality Steels |
| --- | --- | --- |

.6	National Electrical Manufacturers' Association (NEMA):

| .1 | NEMA LD-3- 2005 |
| --- | --- |

1.3	DEFINITIONS

.1	Carriage:  framing supporting full length of shelving ranges.  Carriages may consist of modular sections connected together.

.2	Drifting:  movement of mobile ranges along tracks, due to gravity.

.3	Lateral Movement:  shelving moves sideways relative to faces; tracks are parallel to shelving faces.

.4	Standard Movement:  shelving moves forwards and backwards relative to faces; tracks are perpendicular to shelving faces.

.5	Range:  one or more shelving bays, single or double faced, connected together and supported by a carriage.  Range length defines the front to back depth of a system.

.6	Surface Mounted Track:  track installed directly on existing floor or on raised subfloor, not recessed.

1.4	SYSTEM DESCRIPTION

.1	Provide system with mobile [and fixed] shelving ranges, [[in standard movement] [and] [lateral movement]] [located as indicated on drawings].

.2	Provide manual or mechanically assisted mobile shelving system, consisting of the following:

.1	[New] [and existing] mobile [and stationary] shelving.

.2	Tracks.

.3	[Mobile] [and fixed] carriages.

.4	Drive mechanisms, if required.

.5	Safety devices, if required.

.6	Accessories.

.7	[Levelled subfloor.]

SPEC NOTE:  Delete levelled subfloor from list of system components, and following clause, if system is to be installed on an area of existing floor which meets criteria specified in following clause.

.3	Provide levelled subfloors when floor slopes are greater than 0.22% (10 mm in 4.60 m), at any location along mobile system tracks.

1.5	DESIGN CRITERIA

.1	Design system assuming fully loaded shelving.

SPEC NOTE:  Include the following two clauses if shelving is new.  Refer to media weights listed in Data Sheets.

.2	Design shelving to support [         ] N/m.

.3	Shelves shall be supported with lugs or clips.  Supports shall not project laterally into media storage space.

.4	Design carriages to support [shelving specified] [existing shelving.

.5	Provide anti-tip devices for any mobile ranges whose height-to-width ratio exceeds 4:1, width being least plan dimension of carriage frame.

SPEC NOTE:  Include the following clause if raised subfloor is specified or if profile of floor to receive system is unknown.

.6	Design raised subfloors to support [2.4] [  ] kPa plus mobile shelving loads, with maximum deflection of [1/360] [   ] of framing spans.  Design as a tightly connected assembly of components.

SPEC NOTE:  Normal office floor loading is 2.4 kPa.  Obtain engineer's input.

SPEC NOTE:  Specify following clause if system is to be supported by floors above grade.  Track spacing determines floor loading distribution.  Obtain input from a qualified engineer.

.7	Space tracks at maximum [        ] mm on centres.

1.6	PERFORMANCE REQUIREMENTS

.1	Systems shall meet performance requirements when loaded to design capacity.

.2	System shall operate smoothly, quietly, safely and consistently.

.3	Maximum vertical deflection of carriage framing:  1/600 of spans.

.4	Except as specified otherwise, components shall support design loads without permanent deformation.

.5	Connections shall not loosen and components shall not be displaced due to vibration or system operation, including track anchorage in relation to anti-tip requirements.

SPEC NOTE:  Delete following clause if manual ranges are not an option.

.6	Maximum effort required to start and maintain mobile range movement for manual systems shall be 70.0 N, applied horizontally against range at 1.2 m above floor.  Requirement applies to all mobile ranges at any direction and location along tracks.

SPEC NOTE:  Delete following clause if mechanically assisted ranges are not an option.

.7	Maximum effort required to start and maintain mobile range movement for mechanically assisted systems shall be 45.0 N.  Requirement applies to all mobile ranges in either direction and at any location along tracks.

.8	Drive mechanisms shall not exhibit play or looseness.  Cranks shall require maximum ten degree rotation before starting range movement.

.9	Fixed ranges shall not be displaced when impacted at normal operating speed, by maximum available number of adjacent mobile ranges.

.10	Mobile ranges shall not drift.

SPEC NOTE:  Delete following clause for industrial type shelving.

.11	Shelving posts and shelves shall be readily assembled, dis-assembled and re-assembled, without tools and with total salvageability of all components.  Shelf supports shall not damage storage media.

1.7	SUBMITTALS

.1	Shop Drawings:

.1	Comply with requirements of Division 01.

SPEC NOTE:  Delete above clause if Division 01 is not included in this Contract.

.2	Submit shop drawings including the following:

.1	Plan layout of system showing subfloor and ramps if applicable, track location and spacing, aisle access, crank locations if applicable, fixed and mobile ranges, and dimensions.

.2	End elevations, indicating dimensions, crank type and location, and anti-tip devices, as applicable.

.3	Clearances to adjacent building elements.

.4	Large scale details showing carriages, tracks, subfloor perimeters and ramps, and anti-tip devices, as applicable.

SPEC NOTE:  Delete following subclause, if system is to be installed on an area of existing floor which meets criteria for slope specified under System Description.

[.5	If no subfloor is indicated on the shop drawings, a statement verifying that floor slope at any location along tracks, does not exceed 0.22% (e.g. 10 mm in 4600 mm).]

.2	Product Data:

.1	Submit manufacturer's product literature indicating compliance with specified requirements.

.3	Samples:

.1	Comply with requirements of Division 01.

SPEC NOTE:  Delete above clause if Division 01 is not included in this Contract.

.2	Submit duplicate samples, minimum 100 mm x 100 mm, of each colour and type of exposed finish, on representative substrates.

.3	Submit sample of finish proposed for raised subfloor  and ramps, if applicable.

.4	Identify colour and application on each sample.

.4	Operation and Maintenance Data

SPEC NOTE:  Delete following clause if Division 01 is not included in this Contract.

.1	Comply with requirements of Division 01.

.2	Submit operation and maintenance data including the following:

.1	Name, address and phone number of nearest firm qualified to service system.

.2	Parts lists referenced to drawings illustrating parts.

.3	Operating and troubleshooting instructions.

.4	Manufacturer's recommendations for servicing frequencies and adjustment.

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 4 is not being sought.

.5	LEED Submittals: submit LEED submittal forms for Credit MR 4 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Documentation identifying quantity by weight of recycled content in products.

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 5 is not being sought.

.6	LEED Submittals: submit LEED submittal forms for Credit MR 5 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Regional Materials: provide evidence that project incorporates required percentage [20] [30] % of regional materials/products, showing their cost, distances from extraction to manufacture and manufacture to project site, and total cost of materials for project.

SPEC NOTE: Delete LEED submittal item below if project is not to attain LEED certification or if Credit EQ 4.4 Low Emitting Materials: Comp Wood and Agrifibre Products is not being sought. If project is to follow sustainable building practices but not attaining LEED certification, delete references to LEED and retain requirement for no added urea-formaldehyde permitted.

.7	[LEED] Submittals: [submit LEED submittal forms for Credit EQ 4.4 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following][submit sustainable submittals as follows]:

.1	Composite Wood products including core materials, must contain no added urea-formaldehyde resins.

.2	Adhesives used to fabricate laminated assemblies must contain no urea-formaldehyde.

1.8	MAINTENANCE/EXTRA MATERIALS

.1	Provide maintenance materials, special tools and spare parts in accordance with Section 01 78 43 Spare Parts and Maintenance Materials.

.2	Provide [    ] spare [shelves][end panels] components for maintenance use.

.1	Store where directed.

.2	Identify each box.

.3	Provide tools for assembly and disassembly, standard with storage shelving manufacturer.

1.9	waste management and disposal

.1	Separate and recycle waste materials in accordance with Section 01 74 19 Waste Management and Disposal and with the Waste Reduction Workplan.

1.10	QUALIFICATIONS

.1	Manufacturer:  company specializing in the manufacture of mobile shelving systems of the type specified.

.2	Installer:  company authorized by manufacturer to install and service system specified.

1.11	EXTENDED WARRANTY

.1	Provide an extended warranty to correct defects occurring within 2 years after termination of one year warranty specified in [General Conditions of Contract] [Purchase Agreement Terms and Conditions].

SPEC NOTE:  Refer to General Conditions if mobile shelving is part of a general construction contract.  Refer to Purchase Agreement Terms and Conditions if mobile shelving is being procured through Purchasing Branch.

.2	The following requirements apply to extended warranty, and to one year warranty specified in [General Conditions of Contract] [Purchase Agreement Terms and Conditions]:

.1	Correct defects related to safety or causing interruption in operation, within [24] [48] [72] [  ] hours of notification.

SPEC NOTE:  Obtain input from system user as to how long system breakdown can reasonably be tolerated, before specifying correction deadline.

.2	Correct defects not related to safety or causing interruption in operation, within ten working days of notification by Minister.

.3	In the event that defects are not corrected within time period specified, Minister may obtain service by others and require Contractor to pay for service so obtained.

.4	Correction of defects during warranty period shall include, if required, unloading and re-loading of shelves to Minister's requirements.  Alternatively, Contractor shall pay for cost incurred by Minister for unloading and reloading shelves.

.3	If required by Minister, inspect system with Minister near end of warranty period to note defects and to verify acceptability.

2.	Products

2.1	MATERIALS

.1	Sheet Steel:  commercial grade, stretcher levelled to ASTM A653M.  Sheet steel shall be without visible deformation or surface irregularities.

.2	Steel Sections and Plates:  to CAN/CSA-G40.21.

.3	Particleboard:  to ANSI A208.1, grade 1-M-2, 19 mm thick.

.4	Medium Density Fibreboard (MDF):  to ANSI A208.2, 19 mm thick.

2.2	EXISTING SHELVING

SPEC NOTE:  Include this article if existing shelving is to be mobilized.  Edit to suit project requirements.

.1	Mobilize [existing] shelving located [as indicated on drawings.] [as follows:]

.1	[      ].

.2	Modify existing shelving as required to meet or exceed performance criteria [and as follows:]

.1	[                             ].

AND/OR

SPEC NOTE:  Delete above article and include the following when only new shelving is specified.  If applicable, incorporate requirements of Section 10 56 29 - Industrial Grade Metal Shelving, if mobile shelving is required to be provided with industrial grade shelving.

2.3	[FOUR POST] [CASE TYPE] SHELVING

SPEC NOTE:  Delete this article if shelving is other than four post and/or case type.

.1	Four post and case style shelving shall meet or exceed requirements of ANSI MH28.1, American National Standard for the Design, Testing, Utilization and Application of Industrial grade steel shelving, except as follows:

.1	Install shelving not more than 13 mm from vertical in 3 m (changed from ANSI MH28.1, 1.4.4).

.2	Maximum vertical deflection of shelves shall be 1/200 of shelf span (changed from ANSI MH28.1, 6.2.3 (c)).

.3	Maximum permanent deformation must be equal to or less than 15% of L/200 (changed from ANSI MH28.1, 6.3.2).

2.4	CANTILEVER SHELVING

SPEC NOTE:  Delete this article if shelving is not cantilever type.

.1	Cantilever shelving shall meet or exceed the following parts of American Library Association Library Technology Reports, November-December, 1990, Volume 26, No. 6, Appendix D - LTR Performance Standard for Single-Tier Steel Bracket Library Shelving:

.1	Section 6.1, Lateral deflection or deviation of the uprights under loads.

.2	Section 6.2, Deflection of shelves under load (shelf sag).

.3	Section 6.3, Longitudinal deflection of uprights under horizontal pull.

2.5	SHELVING COMPONENTS

.1	Posts:  cold rolled, cold-formed steel, with shelf support slots at maximum 25 mm o.c..  Provide readily visible slot variations at maximum 150 mm centres for easy horizontal alignment of shelves.  [Posts shall have integral end panels flush with both sides.]

SPEC NOTE:  Specify posts with integral end panels for case type shelving.

.2	Adjustable Shelves:  sheet steel, slotted for shelf dividers, front and back edges double bent or rolled more than 180 degrees, and as follows:

SPEC NOTE:  Refer to Data Sheets for recommended shelf dimensions for typical storage media.

.1	Shelf Depth:  [   ] mm nominal.

.2	Shelf Width:  [     ] mm nominal.

.3	Slot Spacing:  25 mm.

.4	Type:  single-face.

.3	Base Shelf:  sheet steel, slotted, [same depth as adjustable shelves] [[   ] mm deep].

SPEC NOTE:  Base shelf may be deeper than adjustable shelves to increase stability and/or to provide for future option to increase shelf depths of cantilever shelving.

.4	Height of Shelving Bays:  [     ] mm nominal.

.5	Number of Shelves Per Bay:  [7] [6] [ ], including base shelf, but not including top panels.

SPEC NOTE:  Provided clearances permit, normally specify 7 shelves in 1930 mm height, for paper files; 6 shelves for binders.

.6	Base Kickplate:  sheet steel, minimum 1.6 mm thick, edges bent 90 degrees with minimum 13 mm return.

.7	Shelf backs:  sheet steel, height to accommodate shelf dividers, but not less than [125] mm, slotted for sheet steel shelf dividers.  Align slots in shelf backs with slots in shelves.  Provide one shelf back per shelf.

.8	Top panels: sheet steel, thickness to match adjustable shelves.

.9	Manufacturer's other standard components as required to meet specified requirements.

2.6	SHELVING ACCESSORIES

SPEC NOTE:  Specify sheet steel dividers for typical office installations and X-ray film.  Specify 125 mm height for letter files, splines down; 300 mm high for X-ray film.

.1	Sheet Steel Shelving Dividers:  with tabs at bottom and back to engage shelves and shelf backs, and as follows:

.1	Height:  [125] [200] [300] [   ] mm.

.2	Depth:  [200] [280] [380] mm.

.3	Number Per Shelf:  [3] [ ].  Do not count end brackets as dividers.

SPEC NOTE:  Delete above and specify spring type dividers for the following combination:  low activity use in storage rooms, systems in standard movement, and paper files, books or similar media.

.1	Spring Type Steel Dividers:  chrome plated, bent steel rod, concealed suspension, spring anchored at shelf front and back edges.  Dividers shall not be movable by lateral force imposed by media stored.

.1	Height:  projecting down to minimum 75 mm above shelves below.

.2	Depth:  spanning across depth of shelves.

.3	Number Per Shelf:  [3] [ ].  Do not count end brackets as dividers.

.2	[End Brackets:  sheet steel [, one at ends of ranges, two at intermediate posts] [End brackets at intermediate posts].]

SPEC NOTE:  Specify end brackets at intermediate posts for four post shelving, if end panels are specified.  Delete end brackets if case type or cantilever shelving is specified.

.3	[Back panels:  sheet steel, minimum 1.0 mm thick.]

SPEC NOTE:  Back panels are not normally required.

.4	[Reference Shelves:  sheet steel, appearance similar to adjustable shelves, with steel drawer glides, full extension type, with nylon rollers or steel ball bearings.  Provide reference shelves [as located on drawings] [[ ] per side of range] [one per [3] [4] [ ] shelving bays, each face of mobile and fixed ranges].

2.7	TRACKS

.1	Maximum Height of Surface-Mounted Tracks:  16 mm above finished floor.

2.8	CARRIAGES

.1	Squareness Tolerance:  length of diagonals across carriages shall differ by no more than 1/900 of longest diagonal.

.2	Transfer mobile range carriage loads to wheels using permanently sealed, self-lubricating ball or roller bearings.

.3	Carriages for Fixed Ranges: same as mobile carriages, and as follows:

.1	Supporting [single-faced] [and] [double-faced] shelving [as indicated on drawings].

.2	Supported on continuous steel or aluminum supports all around carriage frame, bolted to carriages and floor.

SPEC NOTE:  Delete following subclause if manual system only is specified.

.3	No drive mechanism.

2.9	SUBFLOORS

SPEC NOTE:  Refer to Data Sheets - Floor Slopes and Drifting and to Spec Note accompanying System Description article.

.1	Flooring Substrate:  wood panel product to manufacturer's standard.

.2	Support Framing & Framing Supports:  steel, electro-galvanized or hot dip galvanized, or extruded aluminum.

.3	Perimeter Closure:  sheet steel, galvanized, finished to match carriages, or wood, finished to match subfloor finish, height as required to conceal subfloor assembly perimeter exposed at rail ends.

SPEC NOTE:  Delete following clause if subfloor finish is specified and scheduled in Related Sections.

.4	Subfloor Finish:  [[       ] as specified in Section [        ]] [                 ].

2.10	RAMPS

SPEC NOTE:  Delete this article if subfloors are not specified.

.1	Structural Component:  [sheet steel, hot dip galvanized to ASTM A653M, Z275 zinc coating] [stainless steel].

SPEC NOTE:  Specify stainless steel structure for ramps where floor maintenance will involve regular wet cleaning practices.

.2	Profile ramp to provide maximum 1:10 slope and to permit concealed fastening to subfloor support framing and floor at toe of ramp.

.3	Close ramp ends with ramp finish and securely backed substrate.

.4	Exposed Finish:  [same as raised subfloor] [stainless steel cladding laminated to substrate, No. 4 finish, not less than 1.2 mm thick].

SPEC NOTE:  Specify ramp finish to match raised subfloor if ramp is not stainless steel.

2.11	DRIVE MECHANISMS

.1	If required to meet performance requirements, provide manufacturer's standard concealed mechanism, modified as required to meet specified requirements.

.2	Provide rotating crank at all mobile range ends adjacent to aisle access.

.3	Provide suitable ball or roller bearings where rotating components are connected to non-rotating components.

.4	Provide additional sprocket assembly designed solely to readily adjust chain tension.

2.12	END PANELS

SPEC NOTE:  Include this article where end of mobile ranges will be exposed to view in office environments.  Delete this article for systems installed in storage rooms.

.1	Type:  one piece face construction, designed for easy access to drive mechanisms.

.2	Material:  painted sheet steel, minimum 1.0 mm thick exclusive of paint finish, or manufacturer's standard wood panel product, finished as specified.  Faces shall be flat, with no visible deformation.

.3	Panel edge profile thickness:  minimum 19 mm.  Double bend sheet steel edge profiles.

.4	Size:  width to match carriage frame, height to extend from carriage frame to above shelving top panels.

2.13	SAFETY DEVICES

.1	Provide manufacturer's standard anti-tip devices for mobile ranges, where required.

.2	Secure anti-tip devices to structurally adequate building components.

.3	Aisle Locks:  manufacturer's standard device to lock drive mechanisms.

2.14	ACCESSORIES

.1	Bumpers:  manufacturer's standard cushioning type, in one colour.

.2	Handles For Manual Ranges:  manufacturer's standard.

.3	Track Terminations/End Bumpers:  manufacturer's standard.

.4	Provide additional accessories as required for a complete and operational installation, meeting specified requirements.

2.15	FABRICATION

.1	Shop fabricate components where practicable.

.2	Fabricate components square, straight, true, free of warpage, sharp edges, burrs and other potentially hazardous surfaces.

.3	Accurately cut, machine, file and fit joints, corners, copes and mitres.  Make exposed joints and connections tight, flush and smooth.

.4	Install bumpers to carriage frames or frame covers at maximum 1.5 m centres, centres aligned with bumpers on facing ranges.

.5	Provide aisle locks at operating cranks.

2.16	FINISHES

.1	Prepare and finish exposed steel surfaces to CAN/CGSB-1.300.

.2	Paint colour:  [manufacturer's standard colour closest to CGSB 1-GP-12c, colour 501-214, off-white - grey] [match existing shelving colour], semi-gloss.

SPEC NOTE:  Specify to match existing shelving colour if new shelving will be within view of existing shelving, and existing shelving is a standard colour.

.3	Exposed aluminum shall be clear anodized.

.4	Provide corrosion protection for metals in contact with cementitious material, as follows:

.1	Carbon Steel:  electrogalvanize or hot dip galvanize, or coat with zinc rich primer.

.2	Aluminum:  bituminous paint.

SPEC NOTE:  Specify raised subfloor finish in following clause if mobile shelving system is a separate contract and not part of a building contract.

.5	Raised Subfloors:  [provide finish as specified in Section [    ]]  [          ] .

SPEC NOTE:  Delete following clause if end panels are not specified.

.6	Wood Product End Panels:

.1	Faces:  melamine meeting NEMA (National Electric Manufacturers Association) Standard LQ1, "Decorative Boards", in manufacturer's standard colour closest to colour specified for sheet steel finish.

.2	Edges:  PVC T-type, or rigid PVC strip applied with hot-melt adhesive, 3 mm thick, width to match panel thickness, [black] [colour selected by Minister from manufacturer's standard range.

3.	Execution

3.1	MOBILIZATION OF EXISTING SHELVING

SPEC NOTE:  Delete this article if not applicable.

.1	[Relocate and] mobilize existing shelving [as indicated on drawings] [from [     ] to [      ].]

.2	Disassemble and temporarily store existing shelving to be mobilized as required to provide space for work of this Section.  Re-assemble and mobilize shelving [as indicated on drawings.

.3	User will unload and reload existing shelving.

SPEC NOTE:  Delete above clause and specify following two clauses if User does not wish to unload and reload existing shelving.  For security or other reasons, it may not be advisable to require Contractor to unload and reload storage media.

.3	Unload existing shelves to be mobilized and store media, preserving original sequence of materials, [in location as directed by Minister] [           ], until reloading shelves.

.4	Reload shelves upon completion of performance verification, and as directed by Minister.

3.2	ASSEMBLY AND INSTALLATION, GENERAL

.1	Assemble and install mobile shelving system components to manufacturer's recommendations, to meet specified requirements.

.2	Provide fixed supports concealed under fixed carriages, to match carriage height of mobile ranges.  Secure fixed carriages to structural substrate.

.3	Provide back and side sway bracing for shelving without end and back panels, at end bays of each range and at alternate shelving bays within each range.

.4	Secure fixed ranges as required to meet performance requirements.

SPEC NOTE:  Delete following clause if end panels are not specified.

[.5	Install end panels to [both ends] [aisle access end] of mobile and fixed ranges.  Secure end panels to ranges, using concealed fastening.]

3.3	TRACK INSTALLATION

.1	Install tracks straight and parallel, [on existing floor] [levelled subfloor] [       ] [as detailed on drawings].

SPEC NOTE:  Refer to Data Sheets - Floor Slopes and Drifting for alternatives to installing tracks on levelled subfloors.  Edit article to suit project requirements.

.2	Join track sections to maintain track continuity and alignment.

.3	Secure tracks to floors at spacing recommended by manufacturer, at track ends and both sides of joints.

.4	Shimming tracks is not acceptable.

3.4	INSTALLATION OF SUBFLOOR AND RAMPS

SPEC NOTE:  Refer to Data Sheets.  If need for subfloor has been determined prior to tendering, ensure drawings indicate extent of subfloor and ramps and requirements between tracks and adjacent walls.

.1	Install subfloor continuously under surface mounted tracks or between levelled recessed tracks, along full track lengths [, and as indicated on drawings].

.2	Top of subfloor shall be level and flat to within 1 mm in 4.5 m at any location and direction across subfloor.

.3	Install ramps continuously along perimeter of subfloors serving as access to aisles.  Do not interrupt ramp at fixed ranges.

.4	Provide continuous painted sheet steel closure at exposed subfloor perimeters.

.5	Connect subfloor and ramp to provide integrated assembly.

.6	Securely fasten top of ramp to subfloor perimeter support framing and toe of ramp to existing floor, using concealed fastening.

SPEC NOTE:  Delete following clause if subfloor finish is specified in a Related Section.

.7	[Install finish over subfloor [and ramps], to finish manufacturer's recommendations.]

3.5	SYSTEM DEMONSTRATION

.1	Arrange suitable time to demonstrate system performance to Minister [and personnel intended to operate system].

.2	Demonstrate recommended system operation, maintenance procedures and safety features.

3.6	CLEANING

.1	Promptly remove debris, surplus materials and tools as work progresses.

.2	Repair damage caused by work of this Section to existing structures and finishes.

3.7	INSTALLATION SCHEDULE

SPEC NOTE:  Include schedule if type, configuration and location of shelving is not indicated on drawings.  Edit to suit project requirements.

| Location | Type | No. of Ranges | No. of Bays |
| --- | --- | --- | --- |
| [ ] | [Four post, mobile] |  |  |
|  | [Single faced] | [ ] | [ ] |
|  | [Double faced] | [ ] | [ ] |
| [ ] | [Four post, fixed] |  |  |
|  | [Single faced] | [ ] | [ ] |
|  | [Double faced] | [ ] | [ ] |
| [ ] | [Case type, mobile] |  |  |
|  | [Single faced] | [ ] | [ ] |
|  | [Double faced] | [ ] | [ ] |
| [ ] | [Case type, fixed] |  |  |
|  | [Single faced] | [ ] | [ ] |
|  | [Double faced] | [ ] | [ ] |
| [ ] | [Cantilever, mobile] |  |  |
|  | [Single faced] | [ ] | [ ] |
|  | [Double faced] | [ ] | [ ] |
| [ ] | [Cantilever, fixed] |  |  |
|  | [Single faced] | [ ] | [ ] |
|  | [Double faced] | [ ] | [ ] |

END OF SECTION