Section Cover Page

Section 11 40 00 2011-08-24 Food Service Equipment

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

Use the 11 40 00 to 11 49 99 group of Sections to specify Food Service Equipment (F.S.E.).

This Master Specification Section contains:

.1	This Cover Sheet

.2	LEED Notes and Credits

.3	Data Sheets - General

Specification Section text for F.S.E. master specifications is not available at this time.

LEED Notes:

N/A

LEED Credits:

Contribution towards potential LEED credits may be available in this section:

.1	LEED Credit MR 4: Recycled Content.

.1	The criteria is that the sum of post-consumer recycled content plus one-half of the pre-consumer content constitutes at least the percent(10% and 20%) of the total value of the materials in the project. For example, steel, aluminum and stainless steel have post industrial as well as post consumer recycled components.

2.	LEED Credit MR 5: Regional Materials.

.1	Use building materials or products that have been extracted, harvested, recovered and processed within 800 km (2400 km is shipped by rail or water) of the final manufacturing site.  Demonstrate that the final manufacturing site is within 800 km (2400 km is shipped by rail or water) of the project site for these products. The contractor will be required to submit documentation consisting of cost, weight, transportation service and distances as evidence of compliance with credit requirements.

APPROACH TO F.S.E. ACQUISITION

Use traditional, conventional approach, ie.:

.1	When F.S.E. is required as part of a conventional prime contract for new building construction or renovation, design, document and tender F.S.E. as part of prime contract package.  Prime contractor will award F.S.E. subcontract.

.2	When only F.S.E. is required in existing space or when the construction management method with multiple contracts is being employed, design, document, and tender F.S.E. as a separate contract package.  Alberta Infrastructure will award to lowest valid bidder and enter into a contract directly with F.S.E. contractor.

Do not include F.S.E. as a cash allowance in a prime contract for separate tendering at a later date by Alberta Infrastructure.

SPECIFICATION FORMAT

Format, Generally:

.1	Use CSC/CSI Masterformat and the Alberta Infrastructure Three-Part Section Format (available from Alberta Infrastructure, Procurement Section, Edmonton).

.2	F.S.E. is included under Division 11 - Equipment of the Masterformat.

.3	Sections 11 40 00 to 11 49 99 are assigned to F.S.E.

SPECIFICATION FORMAT (cont'd)

Format, Specifically:  Unless simplicity or complexity of project dictates otherwise, structure F.S.E. specifications as follows:

.1	Section 11 40 01 - Food Service Equipment General Provisions:  Specify general requirements applicable to all F.S.E.

.2	Section 11 40 02 - Food Service Equipment Basic Materials and Methods:  Specify general technical requirements.

.3	Section 11 40 03 - Custom Fabricated Food Service Equipment:  Specify particulars regarding custom designed and fabricated equipment.

.4	Section 11 40 04 - Standard Food Service Equipment:  Specify standard (catalogue) equipment.

.5	Section 11 40 05 - Refrigerated Boxes:  Specify walk-in type coolers and freezers.

.6	Section 11 40 25 - Kitchen Exhaust Systems:  Specify exhaust hoods and associated components.

.7	Section 11 40 45 - Food Service Equipment Schedule:  Include a schedule or list of equipment required for project.

.8	Section 11 40 47 - Food Services Equipment Service Requirements:  If required, specify mechanical and electrical service requirements in schedule form in this Section.  Service requirements may be included in Section 11 40 45 with equipment list or may be shown on F.S.E. drawings.

SPECIFYING PROJECT REQUIREMENTS

Specify F.S.E. in accordance with "Public Works Specifications Policy:  Specifying Products and Methods" and as follows:

.1	Custom fabricated equipment:  specify by using appropriate reference standards, by descriptive specification, by performance specification, or by a combination of any of these.

.2	Standard (catalogue) equipment:  unless one of the above methods is more appropriate, specify by proprietary (ie. trade name) specification. Specify the names of all products known to meet project requirements.  Attempt to specify at least 3 products.

Do not include bidding requirements in technical specifications.

Do not include a "unit price schedule" when F.S.E. is a subcontract under a prime contract.  This may be appropriate where F.S.E. is being tendered separately, however, this should be discussed with Alberta Infrastructure, Procurement Section, Edmonton.

Write specifications in the imperative mood.  Do not refer to "this Subcontractor", "F.S.E. Supplier" etc.  If references are required, use the terms "Minister" and "Contractor" only.

# END OF DATA SHEETS