Section Cover Page

Section 12 21 16 2011-08-26 Vertical Louvre Blinds

Refer to “LEED Notes and Credits” page for additional guidance for LEED projects. Delete LEED items if project: .1 is excluded by the Department’s policy on LEED, or .2 the Department has determined that the work of this Contract is not to attain a LEED rating.

Use this Section to specify non-motorized vertical louvre blinds.

This Section specifies standard and heavy duty vertical blinds:

.1	for top and bottom secured, or

.2	for top secured only (free hanging), and

.3	with three basic materials for louvres.

Check with manufacturer's literature and select combinations of rail and louvre materials, operation and function to suit project requirements.

This Section may be modified to specify motorized vertical louvre blinds. Check with manufacturer's literature for availability, motor and control requirements. Coordinate electrical requirements with Division 26.

Specify "between glass" blinds in appropriate Division 08 Section.

This Master Specification Section contains:

.1	This Cover Sheet

.2	LEED Notes and Credits

.3	Specification Section Text:

1.	General

1.1	Related Work Specified in Other Sections

1.2	Reference Documents

1.3	Design Requirements

1.4	Description of System

1.5	Performance Requirements

1.6	Submittals

1.7	Waste Management and Disposal

2.	Products

2.1	Components

2.2	Fabrication

2.3	Operation

3.	Execution

3.1	Verification of Conditions

3.2	Installation

3.3	Adjusting

3.4	Schedule

LEED Notes:

N/A

LEED Credits:

Contribution towards LEED credits in this section may apply as follows:

1.	LEED Credit MR 4: Recycled Content.

.1	The criteria is that the sum of post-consumer recycled content plus one-half of the pre-consumer content constitutes at least the percent (10% and 20%) of the total value of the materials in the project. Steel, aluminum and HPDE Plastics may have some recycled content. The manufacturer’s will be need to provide information sheets demonstrating recycled content.

2.	MR Credit 5 Regional Materials:

.1	Use building materials or products that have been extracted, harvested, recovered and processed within 800 km (2400 km is shipped by rail or water) of the final manufacturing site.  Demonstrate that the final manufacturing site is within 800 km (2400 km is shipped by rail or water) of the project site for these products. The contractor will be required to submit documentation consisting of cost, weight, transportation service and distances as evidence of compliance with credit requirements.

3.	LEED Credit MR 7: Certified Wood.

.1	A minimum of 50% of wood-based materials and products must be certified in accordance with the Forest Stewardship Council’s Principles and Criteria in order to obtain this credit.

4.	LEED Credit EQ 4.4: Low-Emitting Materials – Composite Wood and Agrifibre Products

.1	To obtain this credit composite wood products must contain no added-urea formaldehyde and any adhesive products must contain no urea-formaldehyde.

5.	LEED Credit EQ 8.1: Daylight and Views: Daylight

.1	Provide building occupants a connection between indoor spaces and outdoor spaces by providing daylight in at least 75% of the regularly occupied spaces.

6.	LEED Credit EQ 8.2: Daylight and Views: Views

.1	Provide building occupants a connection between indoor spaces and outdoor spaces by providing direct line of sight to the outdoors in 90% of all regularly occupied spaces.

1.	General

1.1	RELATED Work Specified in Other SECTIONS

.1	[LEED Submittal Forms	Section 01 32 16]

.2	[LEED Requirements	Section 01 35 18]

.3	[Environmental Procedures	Section 01 35 20]

.4	Waste Management and Disposal	Section 01 74 19.

.5	Window draperies and accessories:	Section [            ].

.6	[[Wood] [Metal] valance]:	[Section [06 20 00][            ].

SPEC NOTE:  Edit above to suit project requirements.

1.2	reference documents

SPEC NOTE: Edit this article to include only standards referenced within the edited version of this Section, including LEED documentation and sustainable practices.

.1	Aluminum Association (AA):

| .1 | AA DAF-45-2003 | Designation System for Aluminum Finishes - 9th Edition |
| --- | --- | --- |

.2	American Society for Testing and Materials (ASTM):

| .1 | ASTM D1784-08 | Standard Specification for Rigid Poly (Vinyl Chloride) (PVC) Compounds and Chlorinated Poly (Vinyl Chloride) (CPVC) Compounds |
| --- | --- | --- |

.3	Canada Green Building Council (CaGBC):

| .1 | LEED Canada 2009 Rating System | LEED Canada for New Construction and Major Renovations. LEED Canada for Core and Shell Development. Website: www.cagbc.org |
| --- | --- | --- |

.4	Forest Stewardship Council (FSC):

| .1 | FSC-STD-01-001-2004 | FSC Principle and Criteria for Forest Stewardship |
| --- | --- | --- |
| .2 | FSC-STD-20-002-2004 | Structure and Content of Forest Stewardship Standards V2-1 |
| .3 | FSC Accredited Certification Bodies |  |

.5	Health Canada/Workplace Hazardous Materials Information System (WHMIS):

| .1 | Material Safety Data Sheets (MSDS) |
| --- | --- |

1.3	design requirements

.1	Design vertical louvre blinds to following requirements:

.1	Allow replacement of wear susceptible parts by user or manufacturer.

.2	Guarantee of at least five years of available replacement parts following discontinued products by manufacture.

.3	Provide instructions for replacing or repairing worn parts, including inventory numbers for parts and procedures for ordering replacement parts.

.4	Program allowing for refurbishing or return of used vertical louvre blinds.

.5	Permit disassembly of components for recycling of materials where recycling markets exist.

.6	Include stamps on major plastic components indicating  composition code to facilitate recycling efforts.

1.4	DESCRIPTION OF SYSTEM

.1	Constituent parts:

.1	Louvres.

.2	Top [and] [Bottom] Rail.

.3	Carrier trucks and wheels.

.4	Tilt Shaft.

.5	Traversing chord.

.6	Bead tilting chain.

.7	Louvre spacer links.

.8	Gears, sprocket wheels, end caps.

.9	Bracket attachments and accessories.

.10	[Valance]

SPEC NOTE: Delete Valance if not required or not to be supplied by blind manufacturer. If applicable, ensure custom valance is specified in other applicable Section and detailed on drawings.

1.5	PERFORMANCE REQUIREMENTS

.1	Blinds shall [traverse and] rotate smoothly, maintaining uniform louvre spacing and orientation.

.2	Closed louvres shall overlap 8 mm minimum, 15 mm maximum.

.3	Louvres for vertical louvre blinds shall have the following flame spread ratings and degree of flame resistance:

.1	Flame spread rating:         [                ].

.2	Degree of flame resistance:  [                ].

SPEC NOTE:  Verify flame resistance requirements with the authority having jurisdiction.

1.6	submittals

.1	Comply with requirements of Division 01.

.2	Submit samples of louvres in manufacturer's standard colour range for selection by the Minister.

.3	Submit product data indicating component thicknesses, finishes, and operators.

.4	Shop Drawings: Indicate dimensions in relation to window jambs, operator details, head [and sill] [conditions between adjacent blinds] [corner conditions] anchorage details, hardware and accessories details.

.5	Closeout Submittals

.1	Provide operation and maintenance data for [vertical louvre blinds] [        ] for incorporation into manual specified in Section 01 78 23 - Operation and Maintenance Data and Manuals.

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 4 is not being sought.

.6	LEED Submittals: submit LEED submittal forms for Credit MR 4 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Documentation identifying quantity by weight of recycled content in products.

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 5 is not being sought.

.7	LEED Submittals: submit LEED submittal forms for Credit MR 5 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Regional Materials: provide evidence that project incorporates required percentage [20] [30] % of regional materials/products, showing their cost, distances from extraction to manufacture and manufacture to project site, and total cost of materials for project.

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit MR 7 is not being sought.

.8	LEED Submittals: submit LEED submittal forms for Credit MR 7 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Documentation verifying products are manufactured using FSC Certified wood products.

SPEC NOTE: Delete LEED submittal item if project is not to attain LEED certification or if Credit EQ 4.4 is not being sought.

.9	LEED Submittals: submit LEED submittal forms for Credit EQ 4.4 in accordance with Section 01 32 16 LEED Submittal Forms and Section 01 35 18 LEED Requirements and the following:

.1	Documentation verifying all wood cores contain no added urea-formaldehyde and adhesive products contain no urea-formaldehyde.

1.7	waste management and disposal

.1	Separate and recycle waste materials in accordance with Section 01 74 19 Waste Management and Disposal and with the Waste Reduction Workplan.

2.	Products

2.1	COMPONENTS

.1	Louvres:

.1	Heavy duty vertical type.

.2	[      ]mm thick x [      ]mm wide x length to suit window assembly.

.3	[Rigid polyvinylchloride, light stable to ASTM D1784, Class 12454-C with [beaded edges] [perforated with 1 mm holes, pattern to give [      ]% open area].]

.4	[Fabric, synthetic resin impregnated.]

.5	[Corrosion resistant aluminum alloy.]

.6	Colour, finish and texture:  [as scheduled] [as selected by Minister].

SPEC NOTE:  Select size, material and colour of louvres to suit project requirements. Check availability of materials, colours, patterns and textures with manufacturers. See clause 3.4 for Schedule requirements.

.2	Rails:  [top rail]  [top and bottom rails]:

.1	[Standard]  [Heavy] duty.

.2	[Extruded aluminum 6063-T5 alloy.]

.3	[Carbon steel roll formed 0.8 mm thick with baked enamel finish.]

.4	Full length, [one piece] [adjustable telescoping to rack] with capped ends.

.5	Size:  [as recommended by manufacturer] [[       ]mm wide x [       ]mm high].

.6	Decorative fluted top rail.

.7	Colour:  [as selected by Minister]  [to match window frame assembly] [as scheduled].

SPEC NOTE:  Select rail material size and finish to suit project requirements. Check availability of material and finish with manufacturer.

.3	Carrier trucks and wheels:  [standard] [heavy] duty, moulded [nylon] [acetal resin].

.4	Gears, sprockets, wheels and caps:  moulded [acetal resin] [nylon] spur or worm gears, self-lubricating. Gear ratio as recommended by manufacturer.

.5	Bead chain:  nickel plated brass or stainless steel.

.6	Louvre spacer and stabilizing links:  type 301 stainless steel, flexible.

.7	Tilt Shaft:  extruded aluminum.

.8	Brackets:

.1	Sized to support weight of blind plus forces applied to operate blind,

.2	Designed to facilitate installation and removal of head rail,

.3	Complete with required hardware for secure attachment of brackets to adjoining construction and headrails.

.9	[Valance: manufacturer’s standard in [same finish and colour as louvres] [finish and colour selected by Minister from manufacturer’s standard range]].

2.2	FABRICATION

.1	Fabricate louvres and assembly to completely fill openings indicated, from top to bottom, from side to side.

.2	Fabricate louvres to stack, uniform, and tight in a minimum space allowing maximum clear window opening.

.3	Maintain tension of louvres between top and bottom rails.

2.3	OPERATION

SPEC NOTE:  Basic requirements for vertical blind operations are specified here. Check availability of special operating requirements with manufacturers.

.1	Traversing:

.1	Manual operation, [free hanging], [secured top and bottom rail], to operate [left to right] [right to left] [centre parting] [as per schedule at end of this Section].

.2	Control opening and closing of blind with nylon cord, tensioned by chord weight or cord tension pulley and without binding louvres at any angle.

.2	Non-Traversing:  [free hanging] [secured top and bottom rail].

.3	Rotation control:

.1	Use bead chain to activate gear assembly to rotate all louvres simultaneously a full 180° and hold them in a fixed position until reset.

3.	Execution

3.1	VERIFICATION OF CONDITIONS

.1	Make accurate measurements at the site before fabrication.  Note building's structural characteristics and allow for all additional supports, drapery material and track required.

3.2	INSTALLATION

.1	Install bracket [recess] mounted vertical blinds in accordance with manufacturer's instructions.

.2	Secure head [and sill] rail[s] with aluminum or stainless steel screws or other non-corroding metal fasteners, concealed in final assembly.

.3	Install blind assemblies square, plumb, true to line with operable parts adjusted for correct function.

.4	Install vertical blind assemblies [as scheduled]  [as indicated on drawings].

3.3	ADJUSTING

.1	Allow for final on-site inspection and adjustments.

3.4	SCHEDULE

| Window Number | Approximate Size (w x h) | Louvre Material | Colour/ Pattern | Operation | Cord/chain Location |
| --- | --- | --- | --- | --- | --- |
| [ ] | [ m x m] | [PVC] | [ ] | [Centre part] | [Right] |
| [ ] | [ m x m] | [Alum.] | [ ] | [Left to right] | [Left] |
| [ ] | [ m x m] | [Fabric] | [ ] | [Right to left] | [ ] |
| [ ] | [ m x m] | [ ] | [ ] | [Non-traverse] | [ ] |
| [ ] | [ m x m] | [ ] | [ ] | [ ] | [ ] |

Note:  All sizes indicated are approximate and for estimating purposes only. Verify all measurements on-site.

END OF SECTION