Section Cover Page

Section 23 69 10 Refrigeration and Air Conditioning Systems Inspection and Maintenance 2008-06-02 General Requirements

Use this Section to specify General Requirements common to all Refrigeration and Air conditioning Systems Maintenance Sections in Division 23, namely:

Section 23 69 20 - Centrifugal Liquid Chillers Inspection and Maintenance

Section 23 69 30 - Mechanical Draft Cooling Towers Inspection and Maintenance.

This Master Specification Section contains:

.1	This Cover Sheet.

.2	Specification Section Text:

1.	General

1.1	Intent

1.2	Related Services Not Provided

1.3	Related Requirements

1.4	Operation and Maintenance Data

1.5	Contractor's Qualifications

1.6	Inspection Report

2.	Products

2.1	Materials

3	Execution

3.1	Performance Requirements

1.	General

1.1	INTENT

.1	This section includes inspection, lubrication, adjustment and maintenance requirements only, common to all refrigeration and air conditioning systems and equipment.  Read this section in conjunction with related technical section which specifies requirements for specific type of equipment.

1.2	RELATED SERVICES NOT PROVIDED

.1	Repair or replacement services of faulty or non-operating components are not included in this Section unless otherwise specified.

1.3	RELATED REQUIREMENTS

.1	Refer to General Requirements Section 01 00 15 for:

.1	Materials and equipment to be provided by the Minister.

.2	Inspection Schedule.

.3	Property locations where services are to be performed.

1.4	OPERATION AND MAINTENANCE DATA

.1	Contractor shall supply operation and maintenance data as required.

1.5	CONTRACTOR'S QUALIFICATIONS

.1	Inspection and maintenance shall be performed only by skilled tradesmen, experienced and fully trained in troubleshooting, care and maintenance of the specific equipment and systems for which the contractor's services have been employed.

1.6	INSPECTION REPORT

.1	Complete an inspection report and submit to the Minister.

.2	Report shall include recommendations for repair or replacement of all faulty and non-operating components.

2.	Products

2.1	MATERIALS

.1	Provide necessary lubricants, supplies, and equipment not supplied by the Minister.

.2	All lubricants, supplies, etc., shall conform to equipment manufacturers specifications, unless otherwise approved by the Minister.

3.	Execution

3.1	PERFORMANCE REQUIREMENTS

.1	Inspection and/or maintenance shall be performed at times or dates as specified by the Minister.

.2	Contractor shall at all times keep work area free of waste material, and ensure work and equipment is clean upon completion of work.

END OF SECTION