Section Cover Page

Section 26 01 10 Electrical Operation and 2018-06-12 Maintenance Data

This Technical Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	Intent

2.	Related Requirements

3.	Product Data

4.	Installation, Operation and Maintenance Instructions

5.	Contractor Designed System Data

6.	Certification

7.	Reports

8.	Warranties

1.	INTENT

.1	Contractor shall obtain all electrical operation and maintenance data specified in Division 01 and Divisions 26, 27 and 28 for inclusion in the Operation and Maintenance Manuals.

2.	RELATED REQUIREMENTS

.1	Comply with requirements of Operation and Maintenance Data and Manual requirements specified in Division 01.

3.	PRODUCT DATA

.1	Collect and submit manufacturer's product data for all equipment and prepackaged systems.

4.	INSTALLATION, OPERATION AND MAINTENANCE INSTRUCTIONS

.1	Collect and submit installation, operation and maintenance instructions for all equipment and prepackaged systems.

.2	Obtain and submit additional comprehensive service manuals requested by the Province.

5.	CONTRACTOR DESIGNED SYSTEM DATA

.1	Prepare and submit Contractor designed system data for systems designed by Contractor.

6.	CERTIFICATION

.1	Collect and submit copies of following inspection certification reports:

.1	Electrical System Inspection

.2	Utility Company Inspection

.3	Occupational Health and Safety Inspection

.4	Fire Alarm Verification

.5	[Other Reports Required by Authorities]

7.	REPORTS

SPEC NOTE:  Revise this list of field reports to reflect project requirements.

.1	Collect and submit field reports including following:

.1	Start-up and testing reports specified in Section 26 08 10 "Electrical Starting and Testing - General Requirements".

.2	Contractor and manufacturer start-up and testing specified in Section 26 08 20, including Fire Alarm pre-verification report.

.3	Test reports by contractors testing agent specified in Section 26 08 30.

.4	Arc Flash, Short Circuit and Coordination Studies.

.5	[                                      ].

8.	WARRANTIES

.1	Collect and complete manufacturers warranty certificates and submit original copies to the Minister.

END OF SECTION