Section Cover Page

Section 26 01 11 Electrical Operation and 2018-06-012 Maintenance Manual

This Master Specification Section contains:

.1	This Cover Sheet

.2	Reference Documents

.3	Specification Section Text:

1.	Intent

2.	Related Requirements

3.	Forms

4.	Manual System Categories

5.	Sub-System Divisions

6.	Operations Section

7.	System Operating Instructions

8.	System Schematics

9.	Equipment Identification

10.	Maintenance Section

11.	Contract Documentation and Standards Section

Forms

.1	Proforma Contractor Start-Up Report Forms.

These facility start-up forms are available in the Alberta Infrastructure, Technical Resource Centre.

END OF DATA SHEET

1.	INTENT

.1	Contractor shall obtain all specified operation and maintenance data.  Using this data, Contractor shall prepare and submit operation and maintenance manuals as specified.

2.	RELATED REQUIREMENTS

.1	Comply with requirements of Operation and Maintenance Data and Manual requirements specified in Division 01.

3.	FORMS

.1	Obtain a current list of Alberta Infrastructure Equipment Identification Forms from the Minister.  Use these forms in presenting Operation and Maintenance Data.

4.	MANUAL SYSTEM CATEGORIES

.1	Organize manual into the following major system categories:

.1	PDS - Power Distribution System

.2	LTG - Lighting Systems

.3	COM - Communication Systems

.4	FSS - Fire Safety Systems

.5	SEC – Security Systems

.6	SPS - Special Systems

.2	Provide master divider tabs and index for each major system category, with white tabs, 75 mm in length.

5.	SUB-SYSTEM DIVISIONS

.1	Divide major system categories into subsystems as follows:

.1	PDS - Power Distribution System:

.1	Medium Voltage Systems (750 Volts – 69KV)

.2	Low Voltage Systems (Below 750 Volts)

.3	Emergency Systems

.4	Motor Control Systems

.5	Uninterruptable Power System (UPS)

.2	LTG - Lighting Systems:

.1	Interior Lighting

.2	Exterior Lighting

.3	Lighting Control

.3	COM - Communication Systems:

.1	Public Address System

.2	Card Access/Security System

.3	Closed Circuit Television System

.4	Intercom System

.5	Nurse Call System

.6	Programmable Clock System

.7	Telephone System

.8	Cable Television System

.9	Pocket Paging System

.10	Mobile Radio System

.11	Doctor's Register System

.12	Dictation System

.13	Sound Masking System

.4	FSS - Fire Safety Systems:

.1	Fire Alarm System

.2	Emergency Voice Communication System

.5	SEC – Security Systems:

.1	Electronic Access Control

.2	Intrusion Detection

.3	Video Surveillance

.4	Electronic Detention Monitoring Control System

.6	SPS - Special Systems:

.1	Lightning Protection

.2	Solar Photovoltaic System

.3	Other Systems

.2	Organize each sub-system into the following sections:

.1	Operations Section

.2	Maintenance Section

.3	Contract Documentation Section

.4	Standards Section

.3	Provide an index and divider for each subsystem and section, colour coded as follows:

.1	PDS Subsystems – Blue

.2	LTG Subsystems - Yellow

.3	CAS Subsystems - Green

.4	FSS Subsystems – Red

.5	SEC Subsystem - Purple

.6	SPS Subsystems - Orange

.4	Use 45 mm tabs for each subsystem and 40 mm tabs for sections, use same colour for section tabs as for subsystem tabs.

6.	OPERATIONS SECTION

.1	In each system or category and/or subsystem, include an operations section which includes:

.1	System Description

.2	System Operating Instructions

.3	Schematic Diagrams

.4	Equipment Data Sheets

.2	System Descriptions: prepare descriptions which , at least, includes the following:

.1	Power Distribution System - PDS:

.1	Calculated demand in kVA of entire system and on each transformer 150 kVA and above.

.2	Short Circuit analysis of entire system, including incoming fault level.

.3	Protective Device Coordination study for entire system, including emergency system.

.4	Description of protection, transfer and metering scheme for both normal and emergency systems supported by schematic diagrams.

.5	Calculated system operating power factor together with method of improvement and anticipated improvement.

.6	Calculated demand in kVA of Emergency Power System.

.7	Single line diagram of entire power system indicating all breaker, switches, protective devices and instrumentation.

.8	Calculated demand on UPS systems where installed.

.2	Lighting Systems - LTG:

.1	Interior Lighting:

.1	Include following in description of interior lighting system:

.1	Calculate and include energy consumption in Watts per square metre.

.2	Include any areas where ambient lighting has been supplemented with task lighting.

.3	On a room by room basis, anticipated design lighting levels.

.4	Describes all ballast and light sources/lamps used.

.5	Include description of diffusers.

.6	Include battery lighting units and exit lights.

.2	Exterior Lighting:

.1	Include following in description of exterior lighting:

.1	Include anticipated designed lighting levels for parking lots, roadways, etc.

.2	Describe ballasts and light sources to be used.

.3	Include description of diffusers and distribution pattern for each fixture to be used.

.3	Lighting Control System:

.1	Interior Lighting:

.1	Describe method of switching. Include switching of corridors, large general use areas and any lighting connected to emergency or standby power.

.2	For low-voltage switching systems, include following:

.1	Manufacturer and model number of system.

.2	Type of switch used.

.3	Relay.

.4	Interface card in panels.

.5	Time clock/computer controlled and zone(s) of control.

.6	Location of any master switches and area they control.

.2	Exterior Lighting:

.1	Describe method of controlling exterior lighting (ie photocell, timelock, override switch, master switch, etc.)

.2	Include location of all control equipment.

.3	Communication Systems - COM:

.1	Public Address:

.1	Manufacturer and model numbers of system and all components.

.2	System Installer.

.3	Integral Transient and memory protection.

.4	Nature and quantity of preamplifications inputs and space capacity on mixer preamplifier.

.5	Order of pertinence of inputs.

.6	Zoning and zone control.

.7	Power requirements of speaker zones.

.8	Power amplifier sizes.

.9	Speaker types, sizes and spacing.

.10	Horn types.

.11	Other pressing equipment eg compressors, equalizers

.12	Microphones

.13	Interfaces: EVAC, telephone, security system, etc.

.2	Intercom Systems:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	Control exchanges as distributed.

.5	Press to talk or open voice.

.6	Master and submaster station types.

.7	Interface to telephone, paging systems.

.8	Other functions such as group call, carry-on.

.3	Nurse Call System:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	Visual or audio-visual.

.5	Direct-select or microprocessor; LCD, LED, video display.

.6	Address capacity.

.7	Master station size if applicable.

.8	Patient stations, features.

.9	Staff stations, solarium stations.

.10	Duty stations.

.11	Emergency stations - Code, staff, emergency, toilet, shower, other.

.12	Dome lights.

.13	Zone lights.

.14	Peripherals:

.1	Narcotics cabinet alarm.

.2	Exit alarm.

.3	Smoke detector relay contact.

.4	Out-of-bed alarm.

.5	Physio monitor.

.15	Other connections:

.1	Paging system.

.2	Pocket pager.

.3	Patient entertainment.

.4	Other system interfaces.

.16	Call cords, pillow speakers and controls.

.17	Master station features:

.1	Required.

.2	Hidden or disabled.

.3	Secondary.

.4	Programmable Clock System:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	Master Clock:

.1	Location.

.2	Supervisor and connection periods.

.3	Manual control.

.4	Daylight savings feature.

.5	Program control points (ie control of lighting, bells, mechanical equipment, etc.).

.5	Clocks:

.1	Digital or analog.

.2	12 or 24 hour system.

.3	Mounting.

.6	Interval Timer Clock:

.1	Stop, start, reset buttons.

.2	Pilot lights.

.3	Clock descriptions.

.5	Telephone System:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	PABX size; centralized or distributed.

.5	Software package.

.6	Required feature and function.

.7	"Smart" telephone sets.

.8	Secondary telephone sets.

.9	Connections to paging, intercom, security, pocket pager, mobile radio, etc.

.10	Call detail recording.

.6	Cable Television System/MATV System:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	Stations received (esp. if MATV); antenna type.

.5	Main amplifier(s).

.6	Secondary amplifier.

.7	Slitters, in-line taps.

.8	Cable type(s).

.9	Outlet type(s).

.10	Distribution riser.

.7	Pocket Paging System:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	Antenna(e).

.5	Encoder.

.6	Transmitter.

.7	Pocket pager type(s):

.1	Tone, Tone & Voice, Silent alarm, etc.

.2	Message capacity.

.8	Intercommunications to other systems.

.8	Mobile Radio System:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	Antenna(e).

.5	Transmitter/base stations.

.6	Mobile sets.

.7	Connection(s) to other systems.

.9	Doctor's Register:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	Processor; software package; capacity.

.5	Entry station.

.6	Printout of messages.

.7	Telephone interface; other interfaces.

.8	Visual paging.

.10	Dictation System:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	Central bank.

.5	Transcription stations.

.6	Author stations; Alternate authoring stations.

.7	Capacity of system.

.8	Remote authoring transcriptions connections via telephone dedicated lines; communications protocol.

.11	Sound Masking System:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	Pink noise generation.

.5	Central amplifiers or self powered speakers.

.6	Noise shaping equalizer.

.7	Speakers, enclosures.

.8	Speaker mounting.

.9	Number of channels used.

.4	Fire Safety Systems - FSS:

.1	Fire Alarm System:

.1	Manufacturer and model number of system.

.2	General description ie single or two stage, zoned, non-coded, etc.

.3	Interconnection to other system ie, security system, building management system in Division 23 etc.

.4	Fire alarm control unit.

.5	Power supply for system.

.6	Communicators.

.7	Pull Stations.

.8	Heat Detectors.

.9	Smoke Detectors.

.10	Signal Device - bell or speaker.

.11	Amplifiers (if speakers used).

.12	Door Holder.

.13	Sprinkler flow and tamper devices.

.14	End-of-line device.

.15	Printers.

.16	Floor fire alarm panel.

.17	Integral transient and memory protection.

.2	Emergency Voice Communication System:

.1	Manufacturer and model number of system.

.2	Command centre.

.3	Power supply.

.4	Amplifiers.

.5	Zoning and Zone Control.

.6	Speakers - types, enclosures, power requirements.

.7	Microphone/Telephone.

.8	Integral transient and memory protection.

.5	Security Systems - SEC:

.1	Security Systems:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	System type and composition.

.5	Location in building and areas served.

.6	Function of major components.

.7	Design Criteria:

.1	Occupied space conditions.

.2	Security risks addressed by system.

.3	Provisions for future expansion / expanding.

.4	Offsite reporting methodology.

.5	Definition of any system interfaces.

.6	Life safety/code issues. Exclude any code variances and authorization.

.7	Power and other system failure operation.

.2	Video Surveillance:

.1	Manufacturer and model numbers of system and all components.

.2	System installer.

.3	Integral transient and memory protection.

.4	Areas covered.

.5	Camera and lens types.

.6	Switcher types.

.7	Control equipment.

.8	Monitors.

.9	Fibre optic equipment and cable.

.10	Pan, tilt equipment.

.11	Environmental equipment eg enclosures, heaters, fans etc.

7.	SYSTEM OPERATING INSTRUCTIONS

.1	Prepare system operating instructions, with the Manufacturers' and Suppliers bulletins as backup.  Provide the following:

.1	Power Distribution System - PDS:

.1	Provide an overall description of operation of power system in both normal and emergency mode.

.2	For high voltage systems, provide detailed instructions for system switching, equipment isolation, discharging and grounding.

.3	Automatic Power Factor improvement equipment detailing method of input summation, protection, switching and size of incremental increase/decrease in kVAR.

.4	Protective schemes such as overcurrent, short circuit, undervoltage, ground fault, including lock out and restraint as applicable.

.5	Transfer schemes both normal and emergency.

.6	Emergency power generation, including load shedding and peak shaving.

.2	Lighting Systems - LTG:

.1	List type of lamps that can be used with ballasts provided to obtain results.

.2	Timelock.

.3	Photocell.

.4	Low Voltage Setting:

.1	Details of systems type and composition.

.2	Location in the building.

.3	Function of each component.

.4	Provisions for future expansion.

.5	Computer controlled - specific instructions for operating and programming system.

.3	Communication Systems - COM:

.1	Public Address System:

.1	Inputs and their precedence and volume controls.

.2	Zoning and its control.

.3	Main volume control.

.4	Settings of processing and power equipment.

.5	Termination, sublimation locations, schedules.

.6	Connections to other systems; settings.

.7	Component's names.

.8	Features/option not used.

.9	[                       ].

.2	Intercom System:

.1	Central exchange:

.1	Capacity.

.2	Programming of features/zones etc.

.2	Operation of stations.

.3	Connections to other systems (EVAC, telephone, paging).

.4	Functions enabled, disabled (system-wide, per-station).

.5	Terminations location(s), schedules.

.6	Features/Options used/not used.

.7	[                         ].

.3	Nurse Call System:

.1	Operation of multi-station; disabled function

.2	Reprogramming system for station nos, function.

.3	Operation of all substation types.

.4	Auxiliary contact devices attached - alarm etc.

.5	Connections to other systems - program, paging, etc.

.6	Terminations' locations, schedules.

.7	Capacity of system/size of system.

.8	Zone assignments.

.9	Features/Options, used/not used.

.10	[                      ].

.4	Programmable Clock System:

.1	Monitor Clock:

.1	Manual/automatic control.

.2	Programming instructions.

.3	List features used/not used.

.2	Clocks.

.3	Interval timer clock.

.1	Control panel.

.5	Telephone System:

.1	PABX size capacity; software package.

.2	Feature/functions enable, disabled.

.3	Operations of "smart" telephone sets

.4	Call detail recording.

.5	Connections to other systems, operations.

.6	Termination, subtermination locations, and schedules.

.7	Features/Options, used/not used.

.8	[                       ].

.6	TV Distribution System:

.1	Signal source(s).

.2	Amplifier location(s), size(s).

.3	Outlet types.

.7	Pocket Paging System:

.1	Operation of encoder.

.2	Operation of pocket units.

.3	Component types.

.4	System size/capacity.

.5	Interconnections to other systems.

.6	Antenna location(s).

.7	Features/Options used/not used.

.8	[                         ].

.8	Mobile Radio System:

.1	Operating of base station, mobile sets.

.2	Antenna (locations).

.3	Transmitter.

.4	[                          ].

.9	Doctor's Register:

.1	Processor/Software/Capacity/Size.

.2	Operation of central and remote stations.

.3	Operations of telephone interface, if any.

.4	Message Printout.

.5	Visual Paging.

.6	Features/Options, used/not used.

.7	[                             ].

.10	Dictation System:

.1	Central basket capacity size.

.2	Operation of author stations.

.3	Operation of transmission equipment.

.4	Termination location(s) and schedules.

.5	Features/options, used/not used.

.6	[                              ].

.11	Sound Masking System:

.1	Components.

.2	Settings of filters (charts); settings of amp.

.3	Speakers, enclosures.

.4	[                             ].

.4	Fire Safety Systems - FSS:

.1	Fire Alarm System:

.1	Fire alarm control unit.

.2	Wiring class.

.3	Zoning.

.4	Programming instructions if microprocessor / addressable.

.5	Supervisory zone operation.

.6	Systems trouble.

.7	System reset.

.8	CRT/Printer Operation.

.9	Communication.

.10	First stage alarm:

.1	System operation.

.2	Auxiliary relay operation:

.1	Door release.

.2	Elevator homing.

.3	Smoke damper operation.

.4	Fan shutdown.

.5	Sprinkler system.

.6	Security system.

.7	Fire department "alert" or "alarm".

.11	Second stage alarm:

.1	Zone evacuation.

.2	Automatic evacuation.

.3	Signal silence.

.4	Auxiliary relay operation (if different from first stage alarm).

.2	Emergency Voice Communication System:

.1	Central control unit.

.2	Zoning control.

.3	Station operation.

.4	Connection to other systems (paging system).

.5	Tones / recorded messages / etc.

.6	Volume control.

.5	Security Systems - SEC:

.1	Security System:

.1	Describe in "Operator Layman" language, specific instructions for operating and programming system and components of system.

.2	Exact type and specific location of each device used.

.3	Identify safety devices, detection equipment and other conditions that must be satisfied in order for equipment to be operated.

.4	Do not include individual passwords, access codes and similar confidential data in O&M Manuals. Include reference to whom to contact should this information be required.

.2	Video Surveillance System:

.1	Camera number vs area covered.

.2	Camera - monitor assignments.

.3	Camera - switcher assignments.

.4	Switcher - monitor assignments.

.5	Dwell line, other controls.

.6	Microprocessor control equipment, reprogramming.

.7	Environmental enclosures; pan/tilt drives.

.8	Labeling of cables.

.9	[                       ].

8.	SYSTEM SCHEMATICS

.1	Include all schematics that are applicable, which will assist in operation and maintenance of system.

9.	EQUIPMENT IDENTIFICATION

.1	Provide data for each component of the system on Alberta Infrastructure Equipment Identification forms.

.2	The Minister will supply one reproducible copy of forms requested by the Contractor for use on the project.

.3	The Contractor shall produce all necessary equipment identification forms not included.

.4	New forms shall contain information similar in nature to that contained in the Alberta Infrastructure forms.

.5	The Minister will transform Consultant produced forms in the Department format and will provide one reproducible copy to the Contractor.

.6	Equipment Identification forms are only required for Power Distribution System equipment.

10.	MAINTENANCE SECTION

.1	General:

.1	Summarize data for this section from Contractor supplied maintenance submissions, supplemented by any additional appropriate data.

.2	Include maintenance as a section of each system.

.3	Organize data into sections, with divider tabs as follows:

.1	Maintenance Tasks and Schedules

.2	Spare Parts

.3	Suppliers and Contractors

.4	Tags and Directories

.5	Maintenance Brochures

.2	Maintenance Tasks and Schedules:

.1	Organize data according to system category, with further breakdown into individual systems as used in operations division of the manual. Provide section index and divider tabs for each system category. Summarize maintenance tasks from maintenance manufacturer's brochures, for each component of system in following format:

.1	Daily

.2	Weekly

.3	Monthly

.4	Semiannually

.5	Annually

.6	When required

.3	Spare Parts List:

.1	Organize data according to system category, with further breakdown into individual systems as used in operations division of manual. Provide section index and divider tabs for each system category. Summarize maintenance tasks from maintenance manufacturer's brochures, for each component of system.

.4	Suppliers and Contractors List:

.1	Provide summary of suppliers and contractors for each component of the system. List name, address and telephone number of each.

.5	Tags and Directories:

.1	Provide a copy of tags and directories as specified in Contract Documents.

.6	Maintenance Brochures:

.1	Include copies of all manufacturers' printed maintenance brochures pertaining to each product, equipment or system. Provide section index and divider tabs. Maximum of twenty-five sheets or one brochure per tab.

11.	CONTRACT DOCUMENTATION AND STANDARDS SECTION

.1	Coordinate collection of data required for this section.

.2	Organize all data required by Construction Contract into sections, with divider tabs, as follows:

.1	Drawing List

.2	Shop Drawings and Product Data

.3	Certificates

.4	Warranties and Bonds

.5	Reports

.6	Standards Division

.3	Drawing List: provide a list of all drawings required for performance of construction contract.

.4	Shop Drawings and Product Data: provide final copies of all shop drawings and product data required by the Contract Documents. Include section index and divider tabs. Maximum of twenty-five sheets or one shop drawings per tab.

.5	Certifications: provide copies of contractor certifications for the performance of the product and systems, and test reports verifying performance of products and systems. Include section index and divider tabs with maximum of twenty-five sheets or one report per tab. This should include, but not be limited to the following:

.1	Electrical systems inspection.

.2	Utility company inspection.

.3	Occupational Health and Safety inspection.

.4	Fire Alarm Verification certificate.

.5	[                              ].

.6	Warranties and Bonds: include one copy each of the Contractor's warranty, manufacturers' warranties longer than one year, bond, and any service contract provided by Contractor. Provide section index.

.7	Reports: include copies of all reports relating to the testing, adjusting and balancing of equipment and systems, as required by the contract specification Sections 26 01 10 and 26 08 10. Include section index and divider tab for each report.

.8	Standards Division: allow 25 mm binder space for standards.

END OF SECTION