## TIER 1 - Deliverables Checklist
ALBERTA INFRASTRUCTURE GREEN BUILDING STANDARDS Updated 2018.02.28 NEW BUILDS (or MAJOR MODS) > or = $5M | TIER 1 | DELIVERABLES CHECKLIST
Please use this cover sheet to submit Alberta Infrastructure Green Building Standards documentation as part of the capital project review process for new building projects, projects including major additions and for major modernization projects that affect all major systems and components (generally exceeding $5M). Email this Excel file and required deliverables to the Project Manager (PM) each time a formal design review is requested, and provide information relevant to each stage of construction. Please use the comments box to 1) explain any areas of non-compliance with the Standards or the required deliverables, and 2) highlight any areas of innovation or unexpected results.
BLIMS#: Project Manager:
Project: Design Start/End: Construction Start/End:
Please indicate the date that this Alberta Infrastructure Green Building Standards documentation was submitted for review (at each phase). | 20XX.XX.XX | 20XX.XX.XX | 20XX.XX.XX | 20XX.XX.XX
ANALYSIS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Are the LBC Feasibility and Net Zero Feasibility tabs in this document complete? |  | N/A | N/A | N/A
INTEGRATED DESIGN | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Are the Integrated design charette meeting notes, with sustainability goals, attached? (TIER 1: minimum 3 meetings) |  |  |  | N/A
Has the team completed the LEED documentation neccessary to the requirements of LEED IP credit 1: Integrative Process? |  | N/A | N/A | N/A
LIFE CYCLE COSTING/VALUE ENGINEERING | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Have the completed LCC calculations been included in the submittal? |  |  |  | N/A
ENERGY MODELING AND GHG CALCULATIONS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Are the model results comparing potential options, with a summary of assumptions, inputs and outputs, attached? |  |  |  | N/A
ONGOING VERIFICATION OF PERFORMANCE | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
If the project includes a parking garage, commercial space, a large kitchen, or data centers/large data closets, is a plan for separately metering all utilities in those spaces included in the project? | N/A |  |  | N/A
If a building management system exists, are meters tied into the building management system? | N/A |  |  | N/A
Is the Measurement and Verification (M&V) plan attached? | N/A
PRESCRIPTIVE REQUIREMENTS AND LEED CERTIFICATION | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Is a LEEDv4 scorecard demonstrating minimum LEED Silver attached? Include confirmation that LEED credits required by Alberta Infrastructure will be achieved.
Is the project's commissioning documentation (i.e. commissioning plan, report) attached?
CLOSEOUT DOCUMENTATION AND O&M READINESS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Is the digital as-built energy model, with summary of inputs and outputs, attached? | N/A | N/A | N/A
Has access to the LEED-Online project been provided to the PM? | N/A | N/A | N/A
The project profile/case study, using the Infrastructure template, is not applicable. | N/A | N/A | N/A | N/A
Is the narrative about sustainability lessons learned attached? | N/A | N/A | N/A
Date: 20XX.XX.XX
Project Team Comments:
don't erase (for drop down boxes):
Yes
No
Partial
N/A

## TIER 1 - LBC Feasibility
LIVING BUILDING CHALLENGE v3.0 FEASIBILITY OPTIONAL CHECKLIST Updated 2018.02.28 |  |  | TIER 1 | Building
The intent of this exercise is for project teams to develop an early phase analysis of whether Living Certification, Petal Certification, or Net Zero Energy Certification may be possible using the Living Building Challenge system. Teams should review the requirements of each Imperative and determine, using the information available to the team about the project at Schematic Design, whether each credit is likely to be achievable based on the current understanding of the project scope, budget, and design options. Please provide a 1-2 sentence explanation for each credit that is deemed not to be feasible.
Project Name: |  |  |  | Landscape + Infrastructure
Project Scale: | Building |  |  | Renovation
Date: |  |  |  | Neighborhood
Yes
PLACE | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible) |  | No
Limits to Growth |  |  |  | N/A
Urban Agriculture
Habitat Exchange
Human Powered Living
WATER | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Net Positive Water
ENERGY | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Net Positive Energy |  | Complete "Net Zero Feasibility" Tab for explanation information.
HEALTH & HAPPINESS | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Civilized Environment
Healthy Interior Environment
Biophilic Environment
MATERIALS | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Red List
Embodied Carbon Footprint
Responsible Industry
Living Economy Sourcing
Net Positive Waste
EQUITY | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Human Scale + Humane Places
Universal Access to Nature and Place
Equitable Investment
JUST Organizations
BEAUTY | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Beauty + Spirit
Inspiration + Education
Details about each of the credits listed above can be found here.

## TIER 1 - Net Zero Feasibility
NET ZERO ENERGY TARGET TOOL Updated 2018.02.28 |  |  | TIER 1
Intent | The intent of this tool is to provide a quick assessment, suitable at the conceptual and schematic design stages of a project, to determine reasonable reference energy use intensities (EUIs) and the potential renewable generation capacity of the project site and roof. These are only intended to provide a starting point for discussion on the feasibility of attaining Net Zero Energy for the project. It is expected that the design team will refine these calculations, supported by energy modeling and other tools, as the design progresses. Project specific EUI targets may differ from the reference EUIs provided below.
Instructions | Enter the total site area, anticipated roof area, and the project area by sector type in the appropriate fields below in the INPUTS section in the cells marked in green. Reasonable estimates are appropriate at this stage. If a building has multiple project types, enter those based on the GSM assigned to each project type. Mouse-over cells with red triangles for additional information.
Assumptions | Unless otherwise noted, the reference EUI's below represent the top performers of existing facilities in the Province of Alberta of that project type, though some figures were revised to reflect regional performers when insufficient data is available. Top performers are defined as 25% better than the average of all buildings reported of that type. All energy use is based on year 2014 data as found on the NRC's website.
RENEWABLE GENERATION INPUTS
Total Site Area: | 0 | M2 |  | Solar PV Capacity (kWh/m2/year) | 75.447
Total Roof Area: | 0 | M2 |  | Solar Thermal Capacity (kWh/m2/year) | 109.3982
ENERGY CONSUMPTION INPUTS
PROJECT TYPE | Area (GSM) | % Total | Total Reference Energy Budget (kWh) | % Total | REFERENCE SITE EUI ekWh/M2*year
ATHLETICS/REC | 0 | #DIV/0! | 0 | #DIV/0! | 245.962
CARE/RESIDENTIAL | 0 | #DIV/0! | 0 | #DIV/0! | 355.5
CULTURAL | 0 | #DIV/0! | 0 | #DIV/0! | 179.6
FOODSERVICE | 0 | #DIV/0! | 0 | #DIV/0! | 306.3
GARAGE/STOR | 0 | #DIV/0! | 0 | #DIV/0! | 49.038
HOSPITAL (ACUTE) | 0 | #DIV/0! | 0 | #DIV/0! | 551.25
JUSTICE | 0 | #DIV/0! | 0 | #DIV/0! | 262.5
MUSEUM | 0 | #DIV/0! | 0 | #DIV/0! | 179.55
OFFICE/PROV | 0 | #DIV/0! | 0 | #DIV/0! | 262.5
SCHOOL | 0 | #DIV/0! | 0 | #DIV/0! | 238.635
UNIVERSITY | 0 | #DIV/0! | 0 | #DIV/0! | 218.4
RESERVED | 0 | #DIV/0! | 0 | #DIV/0! | 0
RESULTS
PROJECT CONSUMPTION |  |  | RENEWABLE PRODUCTION POTENTIAL
0 | Total Project Area |  | 0 | Rooftop PV Production (kWh/year)
0 | Total Project Energy Budget (kWh) |  | 0 | Full Site PV Production (kWh/year)
#DIV/0! | Total Project Target EUI (kWh/year/m2) |  | #DIV/0! | Roof Generation Intensity (kWh/GSM)
|  |  | #DIV/0! | Site Generation Intensity (kWh/GSM)
|  |  | 0 | Rooftop Thermal Production (kWh/year)
|  |  | 0 | Full Site Thermal Production (kWh/year)
|  |  | #DIV/0! | Roof Generation Intensity (kWh/GSM)
|  |  | #DIV/0! | Site Generation Intensity (kWh/GSM)
NET ZERO ANALYSIS
|  | Roof PV Generation/Consumption Ratio: | #DIV/0! | Near or greater than 100% indicates the project has the potential to be net zero. Solar thermal is limited by the amount of hot water demand on site.
|  | Site PV Generation/Consumption Ratio: | #DIV/0!
|  | Roof Thermal Generation/Consumption Ratio: | #DIV/0!
|  | Site Thermal Generation/Consumption Ratio: | #DIV/0!
Design Team Comments:
Note on A6: INSTRUCTIONS: Enter the total site area within the limit of work. We realize that it is unlikely that this area would be able to be completely covered in renewable energy, but this metric is used to show the hypothetical maximum of the site.
Note on F6: Source: Based on the estimated average of solar potential in the Edmonton area of kWh per installed KW of capacity of 1245kWh/kW x 0.0606kW/m2 of roof. This figure needs adjusting per locality. Figures based on Natural Resources Canada PV potential map.
Note on A7: INSTRUCTIONS: Enter the total roof area, not just the expected area that will be free from obstructions or shade. This is designed to show the hypothetical maximum of what the roof could support.
Note on F7: Source: Based on the estimated average of solar potential in the Edmonton area of kWh per installed KW of capacity x 145% better for solar thermal versus PV. This figure needs adjusting per locality. Adjusting percentage based on Harvard Univerities net zero energy target tool calculator.
Note on A9: INSTRUCTIONS: Enter the gross floor area of the building type that is most closely aligned with the project program. Hallways, restrooms, mechanical/electrical and other support spaces should be split among each building type as appropriate.
Note on F10: Reference: Based on Vancouver benchmarking report and a factor of 0.937 different than Office spaces.
Note on F11: Reference: Based on NRCAN's energy efficiency for buildings in Canada publication (at ekWh of 474). Top performers are considered to be 25% better than average.
Note on F12: Reference: Based on Vancouver benchmarking report and a factor of 0.684 different than Office spaces.
Note on F13: Reference: Based on Vancouver benchmarking report and a factor of 1.167 different than Office spaces.
Note on F14: Source: Based on Vancouver benchmarking report and a factor of 0.1868 different than Office spaces.
Note on F15: Reference: Based on NRCAN's energy efficiency for buildings in Canada publication (at ekWh of 735). Top performers are considered to be 25% better than average.
Note on F16: Reference: Based on Vancouver benchmarking report and a factor of 1.000 different than Office spaces.
Note on F17: Reference: Based on Vancouver benchmarking report and a factor of 0.684 different than Office spaces.
Note on F18: Reference: Pembina Institute (p. 14) Improving Energy Efficiency in Alberta. Top performers are considered to be 25% better than average.
Note on F19: Reference: Based on NRCAN's data collection in a pilot program study, that collected data for 371 Alberta schools. Top performers are considered to be 25% better than the average.
Note on F20: Reference: Based on Vancouver benchmarking report and a factor of 0.832 different than Office spaces.
Note on F21: Instructions: If you already have energy model data available or more refined EUI figures available for your project type, please enter the area in the cell to the left and the reference EUI in this cell.

## TIER 2 - Deliverable Checklist
ALBERTA INFRASTRUCTURE GREEN BUILDING STANDARDS Updated 2018.02.28 MODERNIZATIONS > OR = $1m | TIER 2 | DELIVERABLES CHECKLIST
Please use this cover sheet to submit Alberta Infrastructure Green Building Standards documentation as part of the capital project review process for projects exceeding $1M in capital cost where there are not enough affected building components/systems to pursue LEED certification. Email this Excel file and required deliverables to Project Manager (PM) each time a formal design review is requested, and provide information relevant to each stage of construction. Please use the comments box to 1) explain any areas of non-compliance with the Standards or the required deliverables, and 2) highlight any areas of innovation or unexpected results.
BLIMS#: Project Manager:
Project: CAPS Number: Design Start/End: Construction Start/End:
Please indicate the date that this Alberta Infrastructure Green Building Standards documentation was submitted for review (at each phase). | 20XX.XX.XX | 20XX.XX.XX | 20XX.XX.XX | 20XX.XX.XX
INTEGRATED DESIGN | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Are the Integrated design charette meeting notes, with sustainability goals, attached? (TIER 2: minimum 2 meetings) |  |  | N/A | N/A
LIFE CYCLE COSTING/VALUE ENGINEERING | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Have the completed LCC calculations(s) been included in the submittal? |  |  |  | N/A
ENERGY MODELING AND GHG CALCULATIONS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Are the estimated energy demands, consumption impacts, and GHG emissions of proposed key design options, with proposed strategy to verify performance, attached? |  |  |  | N/A
ONGOING VERIFICATION OF PERFORMANCE | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
If the project includes a parking garage, commercial space, a large kitchen, or data centers/large data closets, is a plan for separately metering all utilities in those spaces included in the project? | N/A |  |  | N/A
PRESCRIPTIVE REQUIREMENTS AND LEED CERTIFICATION | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Is a LEEDv4 scorecard attached? LEED certification is not required for Tier 2, though prescriptive requirements that reference LEED standards must be achieved for applicable components. | N/A
Is the project's commissioning documentation (i.e. commissioning plan, report) attached, if applicable? | N/A | N/A | N/A
CLOSEOUT DOCUMENTATION AND O&M READINESS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
The project profile/case study, using the Infrastructure template is not applicable. | N/A | N/A | N/A | N/A
LEED-Online access is not applicable. | N/A | N/A | N/A | N/A
Date: 20XX.XX.XX
Project Team Comments
don't erase (for drop down boxes):
Yes
No
Partial
N/A

## TIER 3 - Deliverable Check
ALBERTA INFRASTRUCTURE GREEN BUILDING STANDARDS Updated 2018.02.28 RENOVATIONS < or = $1M | TIER 3 | DELIVERABLES CHECKLIST
Please use this cover sheet to submit Alberta Infrastructure Green Building Standards documentation as part of the capital project review process for projects less than $1M in capital cost and/or ones having a limited number of applicable components/systems affected by this project (system upgrades, for example). Email this Excel file and required deliverables to Project Manager (PM) each time a formal design review is requested, and provide information relevant to each stage of construction. Please use the comments box to 1) explain any areas of non-compliance with the Standards or the required deliverables, and 2) highlight any areas of innovation or unexpected results.
BLIMS#: Project Manager:
Project: CAPS Number: Design Start/End: Construction Start/End:
Please indicate the date that this Alberta Infrastructure Green Building Standards documentation was submitted for review (at each phase). | 20XX.XX.XX | 20XX.XX.XX | 20XX.XX.XX | 20XX.XX.XX
INTEGRATED DESIGN | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Are the contemplated sustainability goals, attached? (TIER 3: minimum 1 meeting) |  |  | N/A | N/A
LIFE CYCLE COSTING/VALUE ENGINEERING | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Have the completed calculation(s) been included in the submittal? |  | N/A | N/A | N/A
ENERGY MODELING AND GHG CALCULATIONS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Are the estimated energy demand, consumption impacts, and GHG emissions of proposed key design options, with proposed strategy to verify performance, attached? |  |  |  | N/A
ONGOING VERIFICATION OF PERFORMANCE | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
If the project includes a parking garage, commercial space, a large kitchen, or data centers/large data closets, is a plan for separately metering all utilities in those spaces included in the project? | N/A |  |  | N/A
PRESCRIPTIVE REQUIREMENTS AND LEED CERTIFICATION | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Is a LEEDv4 scorecard attached? LEED certification is not required for Tier 3, though prescriptive requirements which reference LEED standards must be achieved for applicable components. | N/A
Is the project's commissioning documentation (i.e. commissioning plan, report) attached, if applicable? | N/A | N/A | N/A
CLOSEOUT DOCUMENTATION AND O&M READINESS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
The project profile/case study, using the Infrastructure template is not applicable. | N/A | N/A | N/A | N/A
LEED-Online access is not applicable. | N/A | N/A | N/A | N/A
Date: 20XX.XX.XX
Project Team Comments
don't erase (for drop down boxes):
Yes
No
Partial
N/A

## TIER 4 - Deliverable Checklist
ALBERTA INFRASTRUCTURE GREEN BUILDING STANDARDS Updated 2018.02.28 NON-ENERGY / LIMITED SCOPE | TIER 4 | DELIVERABLES CHECKLIST
Please use this cover sheet to Alberta Infrastructure Green Building Standards documentation as part of the capital project review process for non-energy projects or limited scope projects with limited energy and GHG impacts. Email this Excel file and required deliverables to Project Manager (PM) each time a formal design review is requested, and provide information relevant to each stage of construction. Please use the comments box to 1) explain any areas of non-compliance with the Standards or the required deliverables, and 2) highlight any areas of innovation or unexpected results.
BLIMS#: Project Manager:
Project: CAPS Number: Design Start/End: Construction Start/End:
Please indicate the date that this Alberta Infrastructure Green Building Standards documentation was submitted for review (at each phase).
INTEGRATED DESIGN | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Are the sustainability goals summarized and attached? (TIER 4: no meeting requirement) |  |  | N/A | N/A
LIFE CYCLE COSTING/VALUE ENGINEERING | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
LCC implications are not applicable. | N/A | N/A | N/A | N/A
ENERGY MODELING AND GHG CALCULATIONS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Energy demands, consumption impacts, and GHG emissions are not applicable. | N/A | N/A | N/A | N/A
ONGOING VERIFICATION OF PERFORMANCE | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Verification of performance is not applicable. | N/A | N/A | N/A | N/A
PRESCRIPTIVE REQUIREMENTS AND LEED CERTIFICATION | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Is a LEEDv4 scorecard attached? LEED certification is not required for Tier 4, though prescriptive requirements which reference LEED standards must be achieved for applicable components. | N/A
Project commissioning documentation is not applicable. | N/A | N/A | N/A | N/A
CLOSEOUT DOCUMENTATION AND O&M READINESS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
The project profile/case study, using the Infrastructure template is not applicable. | N/A | N/A | N/A | N/A
LEED-Online access is not applicable. | N/A | N/A | N/A | N/A
Date: 20XX.XX.XX
Project Team Comments
don't erase (for drop down boxes):
Yes
No
Partial
N/A