Section Cover Page

Section 13284 2001-05-03 Asbestos Encapsulation

Use this Section in conjunction with Section 13281 - Asbestos Control General Requirements and Section 13282 - Asbestos Containment Procedures.

Edit this Section only in consultation with Alberta Infrastructure specialists in asbestos control procedures.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Data Sheet - General

.3	Specification Section Text:

1.	General

1.1	Intent

1.2	Related Sections

2.	Products

  - Encapsulation Sealers

3.	Execution

3.1	Asbestos Encapsulation Procedure

3.2	Asbestos Encapsulation Schedule

Encapsulation is an interim method of controlling asbestos.  Prior to specifying encapsulation, ensure that this is the most appropriate asbestos control method.

Limit use of encapsulation to the following applications:

.1	Areas which will not be subject to physical damage or contact.

.2	Asbestos substrates which are capable of supporting themselves and the additional weight of the encapsulation sealant.

.3	Areas where fire rating will not be compromised by application of encapsulation sealant.

Other considerations:

.1	Asbestos will eventually have to be removed.

.2	Routine inspections are required of encapsulated areas to check for deterioration and damage.

1.	General

1.1	INTENT

.1	Read this Section in conjunction with Section 13281 - Asbestos Control General Requirements.

1.2	RELATED SECTIONS

.1	Asbestos Containment Procedures:	Section 13282.

.2	Asbestos Removal:	Section 13283.

- Products

  - Encapsulating Sealers

SPEC NOTE: Consult with Alberta Infrastructure Specialists for appropriate choice of sealant. Penetrating sealer penetrates and hardens the asbestos substrate. Surface film forming sealers create a thin protective covering over the asbestos substrate, preventing release of asbestos fibres.

.1	Asbestos Sealer:  as specified in Section 13281.

3.	Execution

3.1	CONTAINMENT

.1	Use full containment procedures in accordance with Section 13282.

3.2	ASBESTOS ENCAPSULATION PROCEDURES

.1	Apply encapsulating sealant at low pressure using airless spray equipment.

.2	Apply [Type 1 - Penetrating] [Type 2 - Surface Film Forming] asbestos sealer in accordance with manufacturer's instructions and in a manner which minimizes damage to surface of contaminated materials.

.3	Clean up debris which may be dislodged during encapsulation and dispose of as asbestos waste.

3.2	ASBESTOS ENCAPSULATION SCHEDULE

| Location | Substrate | Type of Application | Asbestos Type and Percentage |
| --- | --- | --- | --- |
| [ ] | [ ] | [ ] | [ ] |

SPEC NOTE:  Specify locations in terms which are easily identifiable, such as room number, major building areas or other identification methods which are used on drawings to delineate asbestos control area.

SPEC NOTE:  Identify substrate where asbestos is to be encapsulated, for example:  walls, ceilings, mechanical piping, columns, beams, joists, and underside of decking.

SPEC NOTE:  Identify type of asbestos and percentage of material by weight, for example, 30% chrysotile, 10% amosite, 5% crocidolite.

END OF SECTION