Section Cover Page

Section 01001 2005-02-08 General Requirements

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	Services of this Contract

2.	Cooperation

3.	Special Procedures

- Temporary Facilities and Controls

1.	SERVICES OF THIS CONTRACT

.1	Services of this Contract includes all tasks specified in the Contract documents including the following:

.1	[                                                        ].

SPEC NOTE:  Specify in very general and simple terms the nature of the services to be performed.  Normally a one sentence statement will suffice.  Use point form method if necessary.  Do not be too specific.  Do not specify a scope of tasks to be performed.

2.	COOPERATION

.1	Cooperate with Minister and user's representative to minimize conflict with occupants of property.

.2	Obtain and pay for use of additional storage and work space for operations, if required.

.3	Move materials or equipment, under Contractors control, which impedes operations of building occupants.

.4	Comply with the Minister's restrictions, if any, as to use of washrooms, movement of personnel and materials, hours of work, other than normal, and deliveries.

.5	The Contractor shall not carry on, coordinate or transact any business on the Property except for that described in this Contract.

3.	SPECIAL PROCEDURES

.1	Comply with all security regulations and procedures in force at the commencement of the Contract and as required from time to time by the Minister, and which do not significantly change the scope of the service.

.2	The Contractor shall immediately report all threats on the property or users to the Minister and appropriate authorities.

4.	TEMPORARY FACILITIES AND CONTROLS

.1	Provide temporary facilities and controls required for performance of the Contract.

.2	Parking:  Parking for [#         ] vehicles [is] [is not] available at the building.  [Available space will be allocated for the duration of the Contract.]

SPEC NOTE:  Include Article 4.2 only where parking is a restriction at the location of the Contract.

END OF SECTION