Section Cover Page

Section 02337 2000-03-22 Granular Base

Use this Section to specify (1) subgrade preparation for granular base construction, (2) sub-base and base course construction for asphalt paving, (3) sub-base and base course construction for gravel surfacing, and (4) restoration of existing gravel surfacing.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	General

1.1	Section Includes

1.2	Related Work Specified In Other Sections

1.3	Protection

1.4	Unit Prices

2.	Products

2.1	Materials

3.	Execution

3.1	Sub-Base Course Construction

3.2	Base Course Construction

3.3	Restoration of Existing Gravel Surfacing

3.4	Compaction Equipment

Applicable Standards

1.	ASTM D698-91	Laboratory Compaction Characteristics of Soil Using Standard Effort (12,400 ft-lbs/ft)

These reference documents may be available for reference purposes in the Technical Resources and Standards Branch Library, Alberta Infrastructure, 3rd Floor, 6950 - 113 Street, Edmonton; Telephone:  (780) 427-7924.

1.	General

1.1	SECTION INCLUDES

SPEC NOTE:  Edit the following to suit project requirements.

.1	This Section includes requirements for:

.1	Subgrade preparation for granular base construction.

.2	Sub-base and base course construction for asphalt paving.

.3	Sub-base and base course construction for gravel surfacing.

.4	Restoration of existing gravel surfacing.

1.2	RELATED WORK SPECIFIED IN OTHER SECTIONS

.1	[Earthwork Testing:	Section 02010].

.2	Fill Materials:	Section 02056.

.3	Earthwork General Requirements:	Section 02305.

.4	Asphalt Paving:	Section 02741.

1.3	PROTECTION

.1	Restrict traffic over completed or partially completed work after inclement weather or at any time when there is tendency for subgrade material to work into base material.

1.4	UNIT PRICES

SPEC NOTE:  Use for unit price contracts only.

.1	Subgrade Preparation:

.1	Unit Description:  Scarification and compaction of subgrade [including removal and disposal of unacceptable subgrade materials].

.2	Unit of Measure:  Square metre.

.2	Sub-base Course Construction:

.1	Unit Description:  Sub-base gravel course construction [including removal and disposal of unacceptable subgrade materials].

.2	Unit of Measure:  [Cubic metre, [truck measure] [measured in place].]  [Tonne of gravel supplied.]  [Square metre, measured in place.]

.2	BASE COURSE:

.1	Unit Description:  Base gravel course construction.

.2	Unit of Measure:  [Cubic metre, [truck measure] [measured in place].]  [Tonne of gravel supplied.]  [Square metre, measured in place.]

2.	Products

2.1	MATERIALS

.1	Refer to Section 02056 for granular fill material products.

3.	Execution

3.1	SUBGRADE PREPARATION

1	Excavate soft areas of subgrade, fill with [25 mm crushed gravel] [                ] and compact to minimum [95%] [  ] of Standard Proctor Density.

2	In excavated areas, where fill material depth will be 100 mm or less, scarify subgrade to depth of [150 mm] [   ].

3	Compact subgrade to minimum [95%] [   ] of Standard Proctor Density.

4	Ensure that required subgrade elevations are maintained upon completion of subgrade preparation.

3.2	SUB-BASE COURSE CONSTRUCTION

.1	Place sub-base course of [        ] on prepared subgrade to a [100] [150] [    ] mm compacted depth. Compact to minimum [95] [97] [100]% of Standard Proctor Maximum Dry Density (ASTM D698-91).

.2	Place sub-base gravel course in continuous horizontal layers not exceeding 250 mm lift.

.3	Re-mix coarse aggregate with fines and work gravel to achieve required depth, grade and section.

.4	Apply water to sub-base gravel course uniformly and in sufficient quantities to obtain optimum moisture content for compaction.

.5	Grade sub-base gravel course to within [20] [50] mm of design grade by blading and compacting.

3.3	BASE COURSE CONSTRUCTION

.1	Place base course of [        ] over sub-base course to [50] [75] [100] mm compacted depth.  Compact to [95] [97] [100]% of Standard Proctor Maximum Dry Density (ASTM D698-91).

.2	Ensure that coarse aggregates and fine aggregates are well mixed.

.3	Place base gravel course in continuous horizontal layers not exceeding  150 mm lift.

.4	Apply water to base gravel uniformly and in sufficient quantities to obtain optimum moisture content for compaction.

.5	Grade base gravel course to within [10] [20] mm of design grade by blading and compacting.

.6	Do not conceal manhole covers, valve covers or catch basin rims.

SPEC NOTE:  Specify following article 3.4 and delete previous articles 3.1, 3.2, and 3.3 if restoration of existing gravel surfacing involves only the addition of new gravel.  If restoration of existing gravel surfacing involves removal of existing material and reconstruction of sub-base and base courses, do not include 3.4.

3.4	RESTORATION OF EXISTING GRAVEL SURFACING

.1	Scarify existing gravel to depth of [50] [75] [100] mm.

.2	Place [         ] in uniform layers to achieve [75 mm] [  ] thickness of new surface course material.

.3	Compact to [95] [97] [100%] of Standard Proctor Maximum Dry Density (ASTM D698-91).

.4	Apply water uniformly and in sufficient quantities to obtain optimum moisture content.

.5	Grade to within [10] [20] mm of design grade by blading and compacting.

3.5	COMPACTION EQUIPMENT

.1	Use smooth drum or pad type vibratory roller for gravel compaction.

END OF SECTION