Section Cover Page

Section 02741 2000-03-22 Asphalt Concrete Pavement

Use this Section to specify asphalt concrete pavement required for parking lots, driveways, and access roads.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Data Sheet - Definitions

.3	Specification Section Text:

1.	General

1.1	Section Includes

1.2	Related Sections

1.3	Detail Drawing

1.4	Unit Prices

1.5	Submittals

1.6	Mixing Plant Qualifications

1.7	Testing and Inspection by Minister

1.8	Sequencing and Scheduling

2.	Products

2.1	Bituminous Materials

2.2	Aggregate

2.3	Aggregate Gradation Schedule

2.4	Pavement Mixture

2.5	Accessories

3.	Execution

3.1	Examination

3.2	Protection of Existing Work

3.3	Primer Application

3.4	Pavement Mix and Placement Temperatures

3.5	Paving, Generally

3.6	Single Lift Pavement

3.7	Two Lift Pavement

3.8	Paving at Catch Basins, Manholes and Valves

3.9	Clean-up

3.10	Protection of Completed Work

.4	Detail Drawing:

02741.01	Pavement Header Detail

Applicable Standards:

.1	ASTM D242-95	Mineral Filler for Bituminous Paving Mixtures

.2	ASTM D692-94a	Course Aggregate for Bitumimous Paving Mixtures

.3	ASTM D946-82	Penetration-Graded Asphalt Cement for Use in Pavement Construction

.4	ASTM D979-96	Sampling Bituminous Paving Mixtures

.5	ASTM D995-95B	Mixing Plants for Hot-Mixed, Hot-Laid Bituminous Paving Mixtures

.6	ASTM D1073-94	Fine Aggregate for Bituminous Paving Mixtures

.7	ASTM D1559-89	Resistance to Plastic Flow of Bituminous Mixtures Using Marshall Apparatus

.3	ASTM D2027-76(1992)	Cutback Asphalt (Medium-Curing Type)

.8	ASTM D3515-96	Hot-Mixed, Hot -Laid Bituminous Paving Mixtures

.10	CAN/CGSB-8.2-M88	Seives, Testing, Woven Wire, Metric

These reference documents may be available for reference purposes in the Technical Resources and Standards Branch Library, Alberta Infrastructure, 3rd Floor, 6950 - 113 Street, Edmonton; Telephone:  (780) 427-7924.

Asphalt Concrete Pavement:  A hot mixture of asphalt cement and graded aggregate of specified quality, prepared, placed and compacted to specified requirements.

Fog Seal:  Light application of slow setting asphalt emulsion used to renew old asphalt surfaces and seal small cracks and surface voids.

Prime Coat:  An application of low viscosity liquid asphalt to prepare granular or soil cement base surface for application of asphalt concrete pavement.

Sand Seal:  An application of asphaltic material covered with fine aggregate used to improve the skid resistance of slippery pavements.

Slurry Seal:  A mixture of slow setting asphalt emulsion, fine aggregate, mineral filler and water used to fill cracks and sealed areas of old pavements to restore a uniform surface texture and seal the surface.

Tack Coat:  Very light application of liquid asphalt used to ensure a bond between the surface being paved and the overlying course.

1.	General

1.1	SECTION INCLUDES

.1	This Section includes requirements for asphalt concrete pavement over a [granular] [soil cement] base course.  This Section does not include requirements for the base construction.

1.2	RELATED SECTIONS

.1	Site Excavating, Filling and Grading:	Section 02320.

.2	Granular Base:	Section 02337.

.3	Soil Cement Base Course:	Section 02341.

.4	[Asphalt Concrete Pavement Repairs:	Section 02742.]

.5	Pavement Markings:	Section 02761.

.6	Road and Parking Appurtenances:	Section 02841.

1.3	DETAIL DRAWING

SPEC NOTE:  Include this article only if detail drawing is applicable to the project.

.1	The following detail drawing is appended hereto and forms part of this Section:

Number	Title

02741.01	Pavement Header Detail

1.4	UNIT PRICES

SPEC NOTE:  This article applies only to unit price contracts.  Delete for stipulated price contracts.

.1	Pavement:

.1	Unit Description:  Asphalt concrete pavement, [including primer,] [and adjusting manhole rims and valve chambers,] placed and compacted [and replacement of pavement removed for testing].

.2	Unit of Measurement:  by [square meter of specified thickness placed] [tonne].

SPEC NOTE:  Specifying pavement by square meter makes quantity a cost to the contractor.  Specifying by tonne makes quantity a source of revenue.

SPEC NOTE  Delete unit price for primer if it is included in unit price for pavement.

.2	Primer:

.1	Unit Description:  Primer sprayed on untreated base to specified application rate.

.2	Unit of Measurement:  [by square metre measured in place] [by lump sum].

SPEC NOTE:  Delete unit price for adjustment of manhole rims and valve chambers if it is included in unit price for pavement.

.3	Adjusting Manhole Rims and Valve Chambers:

.1	Unit Description:  Adjusting manhole rims and valve chambers including supply and removal of adjustment rings.

.2	Unit of Measurement:  [by unit each].

1.5	SUBMITTALS

.1	Comply with requirements of Division 1.

.2	Submit mix design for pavement to Minister for approval, not less than three days prior to commencing paving.

1.6	MIXING PLANT QUALIFICATIONS

.1	Asphalt concrete mixing plants shall conform to ASTM D995-95b.

1.7	TESTING AND INSPECTION BY MINISTER

SPEC NOTE:  Delete this article if testing is not intended for this project.  If circumstances require different criteria for sampling, revise accordingly.

.1	The Minister will engage the services of a testing agency to take samples and test them for conformance to this Section.  Sampling will follow recommended practice of ASTM D979-96.

1.8	SEQUENCING AND SCHEDULING

SPEC NOTE:  Include this article when paving specified may interfere with access to and use of occupied buildings.

.1	Sequence and schedule work so as to provide access to building[s] at all times.  Arrange work so as not to interfere with normal use of premises.

2.	Products

2.1	BITUMINOUS MATERIALS

.1	Primer:  [to ASTM D2027-76, MC-30] [         ].

.2	Asphalt Cement:  to ASTM D946-82, penetration grade [150 - 200A] [200 - 300A].

SPEC NOTE:  Specify type 150 - 200A for projects north of Calgary and type 200 - 300A for projects in Calgary and south.

2.2	AGGREGATE

.1	Aggregate shall consist of crushed stone, crushed gravel, sand, mineral filler, to ASTM D692-94a and ASTM D1073-94.

.2	Mineral filler may be portland cement, pozzolan, or commercially ground stone dust conforming to ASTM D242-95.

.3	A minimum of 60% of aggregate retained on the 5 mm sieve shall have at least one fractured face.

2.3	AGGREGATE GRADATION SCHEDULE

.1	Gradation of aggregate shall be through sieves to CAN/CGSB-8.2-M88, as follows:

Nominal		  Percent By Weight Passing Sieve Sizes

Sieve 	Mineral

Opening	10.0*	12.5*	16.0*	20.0*	Filler

20.0 mm				100

16.0 mm			100	85-95

12.5 mm		100	80-95	70-90

10.0 mm	100	83-95	70-85	63-87

5.0 mm	55-85	48-77	50-70	40-68

2.5 mm	32-67	35-60	35-55	28-55

1.25 mm	25-54	25-48	25-45	20-45

630 µm	17-40	15-40	18-40	13-35	100

315 µm	8-30	10-30	10-30	8-28	95-100

160 µm	5-20	5-20	5-20	5-18

80 µm	2-10	2-10	2-10	2-10	70-100

*Maximum size of aggregate (mm).

2.4	PAVEMENT MIXTURE

.1	Design and prepare hot-mixed, hot-laid pavement mixtures utilizing asphalt cement and aggregate in accordance with ASTM D3515-96, and to meet the Marshall Mix Design Schedule, as follows:

Marshall Mix

Design Property	  Maximum Aggregate Size (mm)

(ASTM D1559-89)	10.0	12.5	16.0	20.0

Number of blows

per specimen	50	50	50	50

Minimum stability

at 60°C (kN)	5.4	5.4	5.4	5.4

Flow (0.25 mm units)	8-18	8-18	8-18	8-18

Percent air voids

in mix	3-5	3-5	3-5	3-8

Minimum percent

voids in mineral

aggregate	15.5	15	14.5	14

Minimum asphalt

film thickness

(µm)	6.5	6.5	6.5	6.5

.2	Do not change approved mix design without written approval by the Minister.

2.5	ACCESSORIES

.1	Adjustment Rims:  as required to adjust elevation of manhole rims and valve chambers.

3.	Execution

3.1	EXAMINATION

.1	Examine prepared base before paving.  Report any defects in base to Minister.  Do not commence work if base is frozen or otherwise unsatisfactory.

3.2	PROTECTION OF EXISTING WORK

.1	Protect structures, buildings, sidewalks, landscaping and other surface features against damage caused by paving operations and asphalt spray.

3.3	PRIMER APPLICATION

.1	Apply primer at [0.90 - 1.50][1.20 - 2.20]  litres per square metre.

SPEC NOTE:  Specify 0.90 - 1.50 litres per square metre for typical granular bases.  These are considered to be tightly graded surfaces.  Specify higher range for open graded surfaces.

.2	Allow primer to be absorbed completely by base surface.

3.4	PAVEMENT MIX AND PLACEMENT TEMPERATURES

.1	Mix and place asphalt concrete heated to temperatures between 121 - 163 degrees Celsius.

.2	Place pavement at ambient air temperatures at or above 5 degrees Celsius.

3.5	PAVING, GENERALLY

.1	Place pavement to elevations and grades indicated on drawings.

.2	Uniformly grade pavement surfaces.  Provide gradual transitions in slopes.  Maximum surface depressions shall be 5 mm below a 3.0 m long straight edge.

SPEC NOTE:  Ensure drawings show elevations and grades.

.3	Compact pavement to minimum 97% of Marshall Design Density.

.4	Do not use pneumatic-tire rollers with wobbly type wheels.

3.6	SINGLE LIFT PAVEMENT

SPEC NOTE:  Specify single lift if total thickness of asphalt concrete pavement specified is 65 mm or less.  Delete this article if two lifts are specified.

.1	Place pavement in a single lift to a minimum total compacted thickness of [50] [  ] mm [and as indicated on drawings].

.2	Maximum Aggregate Size:  12.5 mm or 16.0 mm.

3.7	TWO LIFT PAVEMENT

SPEC NOTE:  Specify two lifts if total thickness of asphalt concrete pavement specified is more than 65 mm.  Delete this article if single lift is specified.

.1	Place pavement in two lifts as follows [and as indicated on drawings]:

.1	Base lift:  [50] [75] [   ] mm thickness.

.2	Surface lift:   [50] [40] [   ] mm thickness.

.3	Maximum Aggregate Size:

.1	Base Course:  12.5, 16.0 or 20.0 mm.

.2	Surface Course:  10.0, 12.5 or 16.0 mm.

3.8	PAVING AT CATCH BASINS, MANHOLES AND VALVES

.1	Ensure surface drainage to catch basins.

.2	Ensure that surface runoff will not drain into manholes and valve chambers.

.3	Do not pave over manholes or valve chambers.  Adjust valve chambers and manhole rims to finished adjacent pavement elevation [as indicated on drawings].

3.9	CLEAN-UP

.1	Remove loose pavement and aggregate from site.

.2	Remove all spillage and over-spray of liquid asphalt from pavement, sidewalks, buildings and other listed features.

.3	Clean out manhole pits and ensure free operation of valves after completion of paving operations.

3.10	PROTECTION OF COMPLETED WORK

.1	Keep vehicular traffic off newly paved areas until pavement surface temperature has cooled below 39 degrees Celsius.  Do not permit stationary loads on pavement until 24 hours after placement.

END OF SECTION