Section Cover Page

Section 03100 2005-02-23 Concrete Forms and Accessories

Use this Section to specify formwork materials and accessories for large scope (e.g. more than $25,000) cast-in-place concrete work except:

.1	Concrete sidewalks, driveways, aprons, pads, curbs and gutters, specified in Section 02771 - Concrete Paving, Curbs and Gutters.

.2	Concrete for street light bases, car plug-in posts, guard posts, etc., specified in Section 02841 - Road and Parking Appurtenances.

.3 	Use Section 03302 – Cast-in-Place Concrete (Short Form) for small scope cast-in-place concrete work.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	General

1.1	Related Sections

1.2	Products Installed but Not Supplied Under This Section

1.3	Reference Documents

  - Shop Drawings

  - Sample Panel

  - Quality Assurance

2.	Products

2.1	Materials

2.2	Accessories

3.	Execution

  - Formwork Preparation

  - Tolerances

  - Fabrication and Erection

  - Inserts, Embedded Items and Openings

  - Cleaning

  - Form Removal

  - Reshoring

  - Field Quality Control

1.	General

1.1	RELATED SECTIONS

.1	Concrete reinforcement:	Section 03200

.2	Cast-in-place concrete:	Section 03300

.3	Joint Sealers:	Section 07920

1.2	Products INSTALLED BUT not SUPPLIED UNDER this SECTION

.1	Install following materials specified to be supplied under other Sections of these project specifications:

.1	Fabricated components, anchor bolts, bearing plates, sleeves and other inserts to be built into concrete.

  - REFERENCE DOCUMENTS

SPEC NOTE: Edit this article to include only standards referenced within this section. Modify to suit project requirements.

.1	CSA A23.1-00 - Concrete Materials and Methods of Concrete Construction

.2	CAN/CSA-O86.1-94 – Engineering Design in Wood (Limit States Design)

.3	CAN/CSA-O86.1S1-98 - Supplement No. 1 to O86.1-94, Engineering Design in Wood (Limit States Design)

.4	CSA-O121-M1978 - Douglas Fir Plywood

.5	CSA-O151-M1978 - Canadian Softwood Plywood

.6	CSA-O153-M1980 - Poplar Plywood

.7 	CSA-S269.1-1975 (R1998) - Falsework for Construction Purposes

.8	CAN/CSA- S269.3-M92 - Concrete Formwork

.9	ACI 347 – Recommended Practice for Concrete Formwork

  - shop drawings

SPEC NOTE: Include this article only when shop drawings are required for formwork or falsework.

.1	Submit shop drawings for formwork [and falsework] in accordance with Division 1.

.2	Indicate method and schedule of construction, shoring, stripping and re-shoring procedures, materials, arrangement of joints, special architectural exposed finishes, ties, liners and locations of temporary embedded parts. [Comply with CSA-S269.1 for falsework drawings.] [Comply with CAN/CSA-S269.3 for formwork drawings.]

.3	Indicate formwork design data, such as permissible rate of concrete placement, and temperature of concrete, in forms.

SPEC NOTE: Include following paragraph only when structural design of formwork or falsework is required.

.4	Each shop drawing submission shall bear stamp and signature of a qualified professional engineer registered or licensed in the Province of Alberta.

  - sample panel

SPEC NOTE: Use the following if a sample panel is required to confirm the quality of architectural concrete.

.1	Construct and erect a sample formwork panel for architectural concrete surfaces receiving special formed finish.  Sample panel shall be of sufficient size to fully indicate special treatment, pattern, module or finish required.  Obtain Minister’s approval prior to casting concrete sample.

.2	Cast concrete against sample panel.  Obtain Minister’s approval of resulting concrete surface finish prior to erecting subsequent forms.

.3	Approved concrete surface of sample will  be considered the standard of quality for the finished work.  Quality of all formwork shall match the approved sample panel.

.4	Leave sample panel and concrete sample exposed to view for duration of concrete work.

.5	Remove sample panel and concrete sample, if not incorporated into the work, from site when directed by the Minister.

  - quality Assurance

.1	Design, construct and erect formwork in accordance with CSA A23.1-00, CSA S269.1, ACI 347, and all applicable construction safety regulations for the place of the work.

2.	Products

  - MATERIALS

SPEC NOTE: If architectural concrete is required, specify form materials such as high density overlaid plywood to CSA-O121 or other special materials to achieve desired concrete finish.

.1	Formwork materials:

.1	Concrete without special architectural features: use plywood and wood formwork materials to [CSA-O121] [CSA-O153] [CAN/CSA-O86.1] and CAN/CSA-O86.1S1.  Square-edged, smooth surfaced panels true in plane, free of holes, surface markings or defects.

.2	Concrete with special architectural features: use formwork materials to CAN/CSA-A23.1  [mouldings] [battens] [              ] fabricated from [mill finished pine] [injection moulded plastic] [formed steel] [                  ] [raised grain boards] [                   ].

.2	Pan forms: [removable] [permanent] [steel] [reinforced plastic] as indicated, free of bends, dents and residual concrete, well matched, tight fitting and adequately stiffened to support concrete weight without deflection detrimental to appearance of finished concrete surfaces.

.3	Tubular column forms: round, [spirally wound laminated fiber forms] [steel], internally treated with release material. [Spiral pattern [to show] [not to show] in hardened concrete.]

.4	Form ties:

.1	Concrete without special architectural features: use removable or snap-off metal ties, fixed or adjustable length, free of devices leaving holes larger than 25 mm diameter in concrete surface.

.2	Concrete with special architectural features: use snap ties complete with plastic cones and light gray concrete plugs.

.5	Form liner: [high density overlay] [medium density overlay] [Douglas Fir Plywood to CSA-O121] [Canadian Softwood Plywood to CSA-O151] [Poplar Plywood to CSA-O153], [   ] grade, [T&G] [square] edge, [    ] mm thick.

.6	Void Forms:  [moisture resistant treated paper faces; biodegradable] [low density bead board]; structurally sufficient to support weight of wet concrete mix until initial set;  [50] [100] [150] mm thick.

.7	Falsework materials: to CSA-S269.1.

  - ACCESSORIES

SPEC NOTE: The type of form release agent specified assumes a standard concrete finish is required.

.1	Form release agents: Ecologo certified under the Environmental Choice Program (ECP) or, if not Ecologo certified, Contractor shall:

.1	provide a product that conforms to the requirements for concrete release agents in accordance with ECP Certification Criteria Document (CCD) 143 governing Asphalt and Concrete Release Agents, excluding the provisions under Conditions for Ecologo Use and,

.2	if requested, provide the Minister with the same rights as the ECP under CCD 143 with regard to verification for product compliance.

.2	Sealant: as specified in Section [07920 – Joint Sealers].

.3	Corner or Chamfer Fillets:  [extruded plastic] [mill finished pine], [40] [25] [20] [13] mm [radius] [width], maximum possible lengths, mitre ends.

.4	Sealing Tape:  [reinforced] [self adhesive] [waterproof kraft] [polyvinylchloride].

3.	Execution

  - formwork preparation

.1	Apply form release agent in accordance with manufacturer’s recommendations, prior to placing reinforcing steel, anchoring devices and embedded parts.

.2	Do not apply form release agent where concrete surfaces are to receive [special finishes] [or] [applied coverings] which are affected by agent.  Soak inside surfaces of untreated forms with clean water.  Keep surfaces moist prior to placing concrete.

.3	Do not apply form release agent where [wood graining characteristics] [                  ] are required on the finished concrete surfaces.

  - tolerances

.1	Construct formwork to produce concrete with dimensions, lines and levels within tolerances specified in ACI 347.

OR

.1	Construct formwork to produce concrete with dimensions, lines and levels within the following tolerances.  Tolerances are not cumulative.

.1	Deviation from Vertical Line:  6 mm in 3 m, 9 mm in 6 m, and 20 mm in 12 m or more.

.2	Deviation from Flat Surface, for Walls and Floors:  3 mm in 3 m.

.3	Deviation from Horizontal Line:  6 mm in 3 m.

.4	Deviation from Linear Building Lines from Drawings and Position of Columns, Walls and Partitions: [6] [  ] mm.

.5	Deviation in Cross Sectional Dimensions of Columns and Beams, and in Thickness of Slabs and Walls: plus or minus 6 mm.

.2	Camber slabs and beams 6 mm per 3 m of span [unless otherwise shown on drawings].  Review method of providing camber with Minister prior to proceeding.  Maintain beam depth and slab thickness from cambered surface.

  - fabrication and erection

.1	Verify lines, levels and centers before proceeding with formwork/falsework and ensure dimensions agree with drawings.

.2	Obtain Minister’s approval for use of earth forms framing openings not indicated on drawings.

.3	Hand trim sides and bottoms and remove loose earth from earth forms before placing concrete.

.4	Fabricate and erect falsework in accordance with CSA-S269.1.

.5	Refer to architectural drawings for concrete and concrete members requiring architectural exposed finishes.

.6	Do not place shores and mud sills on frozen ground.

.7	Provide site drainage to prevent washout of soil supporting shores and mud sills.

.8	Fabricate and erect formwork in accordance with CAN/CSA-S269.3 to produce finished concrete conforming to shape, dimensions, locations and levels indicated within tolerances required by CAN/CSA-A23.1.

.9	Align form joints and make watertight. Keep form joints to a minimum.

.10	Locate horizontal form joints for exposed columns [2400] [    ] mm above finished floor elevation.

.11	Use [25] [  ] mm chamfer strips on external corners and [25] [  ]mm fillets at interior corners of concrete members, unless specified otherwise.

.12	Form chases, slots, openings, drips, recesses, expansion and control joints as indicated.

.13	Construct forms for architectural concrete, and place ties as indicated and as directed. Joint pattern not necessarily based on using standard size panels or maximum permissible spacing of ties.

.14	Build in anchors, sleeves, and other inserts required to accommodate work specified in other sections. Ensure that anchors and inserts will not protrude beyond surfaces designated to receive applied finishes, including paint.

.15	Line forms for the following surfaces:

.1	Outer face of [outside] [girders] [beams] [     ].

.2	Exposed surfaces of [girders] [beams] [   ].

.16	Do not stagger joints of form lining materials.  Align joints to obtain uniform pattern.

.17	Clean formwork in accordance with CAN/CSA-A23.1, prior to placing concrete.

.18	Re-use of formwork and falsework subject to requirements of CAN/CSA-A23.1.

SPEC NOTE: Include following paragraph when slip forms and/or flying forms are acceptable methods of forming.

.19	If [slip forms] [and] [flying forms] are used, submit details of equipment and procedures for Minister’s approval.

.20	Arrange and assemble formwork to permit removal without damage to concrete.  Arrange forms to allow removal without removal of principle shores, where these are required to remain in place.

[.21	Provide shoring under steel beams or steel floor deck as required by design.  Do not remove until concrete has achieved 75% of required 28 day strength.]

  - inserts, embedded items, and openings

.1	Provide formed openings where required for pipes, conduits, sleeves or other work to be embedded in and passing through concrete members.  Obtain Minister’s approval before framing openings in slabs, beams and columns, not shown on drawings.

.2	Accurately locate and set in place items which are to be cast directly into concrete.

.3	Coordinate forming of openings, slots, recesses, chases, and setting of sleeves, bolts, anchors and other inserts with work of other Sections as required.

.4	Coordinate installation of concrete accessories.

.5	Provide temporary ports or openings in formwork where required to facilitate cleaning and inspection.  Locate openings in bottom of forms to allow flushing water to drain.

.6	Close temporary ports or openings with tight fitting panels, flush with inside face of forms, neatly fitted so no leakage occurs and to provide uniform surface on exposed concrete.

  - cleaning

.1	Clean forms as erection proceeds, to remove foreign matter.  Remove cuttings, shavings and debris from within forms.  [Flush completely with water]  [Clean with compressed air] to remove foreign matter.  Ensure that water and debris drain to the exterior through clean-out ports.

.2	During cold weather, remove ice and snow from within forms.  Do not use de-icing salts.  Do not use water to clean out completed forms, unless formwork and concrete construction proceed within a heated enclosure.  Use compressed air or other means to remove foreign matter.

  - FORM removal

.1	Leave formwork in place for following minimum periods of time after placing concrete.

.1	[Three] [     ] days for walls and sides of beams.

.2	[Three] [     ] days for columns.

.3	[Fourteen] [          ] days for beam soffits, slabs, decks and other structural members, or [two] [      ] days when replaced immediately with adequate shoring to standard specified for falsework.

.4	[Two] [    ] days for footings and abutments.

OR

.1	Do not remove forms and falsework until concrete has gained sufficient strength to carry it’s own weight, plus construction loads and other design loads that are liable to be imposed.  Verify strength of concrete by compression tests to the satisfaction of the Minister.

.2	Remove falsework progressively, in accordance with CSA 269.1 and ensure that no shock loads or unbalanced loads are imposed on the structure.

.3	Loosen forms carefully.  Do not wedge pry bars, hammers or tools against finish concrete surfaces scheduled for exposure to view.

.4	Leave forms loosely in place for protection until curing requirements are complete.

.5	Store removed forms for exposed architectural concrete in a manner that surfaces to be in contact with fresh concrete will not be damaged.  Marked or scored forms will be rejected.

  - reshoring

.1	Prepare a schedule of reshoring and submit to minister for review.

.2	Reshore structural members where required due to design requirements or construction conditions.  Remove load supporting forms only when concrete has attained [75] [   ] percent of required 28 day strength and reshore.

.3	Install reshoring as required to permit progressive construction.  [Provide reshoring under the previously constructed concrete floors for two levels below the floor being constructed.]

  - field quality control

.1	Inspect and check complete formwork, falsework, shoring and bracing to ensure that  work is in accordance with formwork design, and that supports, fastenings, wedges, ties and parts are secure.

.2	Inform Minister when formwork is complete and has been cleaned, to allow for inspection.

.3	For all exposed concrete surfaces do not re-use wood type formwork more than [3] [5] [  ] times.  Do not patch formwork.

.4	Allow Minister to review each section of formwork prior to re-use.  Formwork may be re-used if approved by the Minister.

end of section