Section Cover Page

Section 05501 1999-09-13 Custom Steel Fabrications

Use this Section to specify requirements for custom fabricated steel components.  ACTS Trade Definitions for Miscellaneous Steel as a guide for specifying work of this Section.  Following steel items should not be specified in this Section unless they are an integral part of items specified in this Section:  steel less than 2 mm thick, stainless steel, and cast iron.

Specify fabricated metal work other than steel in separate Section in Division 5.  Specify all manufactured metal products including those of steel in a separate Section in Division 10.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	General

1.1	Related Sections

1.2	Products  Supplied But Not Installed Under This Section

1.3	Quality Assurance

1.4	Shop Drawings

1.5	Product Delivery And Storage

2.	Products

2.1	Materials

2.2	Fabrications

2.3	Surface Preparation

2.4	Finishes

3.	Execution

3.1	Installation

3.2	Schedule Of Components

Applicable Standards

.1	ASTM A307-94	Carbon Steel Bolts and Studs, 60,000 PSI Tensile Strength

.2	CAN/CGSB-1.40-M89	Primer, Structural Steel, Oil Alkyd Type

.3	CAN/CGSB-1.108-M89	Bituminous Solvent Type Paint

.4	CAN/CGSB-1.181-92	Ready-Mixed Organic Zinc-Rich Coating

.5	CSA G30.18-M92	Billet-steel Bars for Concrete Reinforcement

.6	CAN/CSA-G40.20/	General Requirements for Rolled or Welded

G40.21-M92	Structural Quality Steel/Structural Quality Steels

.7	CAN/CSA-G164-M92	Hot Dip Galvanizing of Irregularly Shaped Articles

.8	CSA W47.1-92	Certification of Companies for Fusion Welding of Steel Structures

.9	CSA W55.3-1965	Resistance Welding Qualification Code for Fabricators of Structural Members Used in Buildings

.10	CSA W59-M1989	Welded Steel Construction (Metal Arc Welding)

These reference documents may be available for reference purposes in the Technical Resources and Standards Division Library, Alberta Infrastructure, 3rd Floor, 6950 - 113 Street, Edmonton; Telephone: (780) 427-7924.

1.	General

1.1	RELATED SECTIONS

.1	Metal car plug-in rails:	Section 02841.

.2	Steel guard posts:	Section 02841.

.3	Metal stairs and railings:	Section [    ].

1.2	PRODUCTS SUPPLIED BUT NOT INSTALLED UNDER THIS SECTION

.1	Supply following products for installation under other Sections:

.1	Anchor bolts, bearing plates, sleeves and other inserts to be built into [concrete] [and] [masonry] elements  and required for anchorage and support of fabricated steel components.

.2	Fabricated steel components to be built into [concrete] [and] [masonry].

.2	Supply instructions and templates as required for accurate setting of inserts and components.

1.3	QUALITY ASSURANCE

.1	Qualifications of Welders:

.1	Welding of load supporting components shall be performed by companies certified by Canadian Welding Bureau in accordance with CSA W47.1-92.

.2	Welders shall be qualified by Canadian Welding Bureau for classification of Work being performed.

SPEC NOTE:  Include "Qualification of Welders" requirements only on projects where extensive load supporting components are a consideration.

.2	Workmanship Standards:

.1	Resistance Welding:  to CSA W55.3-1965, Resistance Welding Qualification Code for Fabricators of Structural Members Used in Buildings.

.2	Fusion welding:  to CSA W59-M1989, Welded Steel Construction (Metal Arc Welding).

1.4	SUBMITTALS

.1	Comply with requirements of Division 1.

.2	Submit shop drawings clearly indicating:

.1	Components	.4	Dimensions

.2	Core metal thicknesses	.5	Fabrication details

.3	Finishes	.6	Installation details

.3	Submit paint manufacturer's product data.

1.5	PRODUCT DELIVERY AND STORAGE

.1	Schedule delivery of components to site to coincide with installation of this work.

.2	Store components to prevent damage and distortion.

.3	Protect finishes from scratches and soiling.

2.	Products

2.1	MATERIALS

.1	Steel sections and plates:  to CAN/CSA-G40.20/G40.21-M92, Grade [260W] [      ].

SPEC NOTE:  Grade designation includes yield strength expressed in MPa and steel type. Types commonly used are type W-Weldable Steel and type G-General Construction Steel.  Refer to CAN/CSA-G40.20/G40.21-M92 for other yield strengths and types.

.2	Deformed steel bars:  of billet steel to CSA G30.18-M92, grade 300.

.3	Bolts and nuts:  to ASTM A307-94 [, hotdip galvanized].

.4	Prime paint:  oil alkyd type to CAN/CGSB-1.40-M89.

.5	Zinc rich paint:  to CAN/CGSB-1.181-92.

.6	Isolation coating:  acid and alkali resistant asphaltic paint to CAN/CGSB-1.108-M89.

2.2	FABRICATION

.1	Shop fabricate components where possible.

.2	Fabricate components square, straight, true, free from warpage and other defects. Accurately cut, machine, file and fit joints, corners, copes and mitres.

.3	Exposed joints and connections shall be tight, flush and smooth unless otherwise indicated.

.4	Where work of other Sections is to be attached to work of this Section, prepare work by drilling and tapping holes as required to facilitate installation of such work.

.5	Work of this Section, supplied for installation under other Sections, shall be prepared as required ready for installation.

2.3	SURFACE PREPARATION

.1	Thoroughly clean and suitably pretreat steel prior to finishing.

.2	Remove loose mill scale, rust, oil, grease, dirt and other foreign matter using one or more of the following methods:

.1	solvent cleaning

.2	wire brushing

.3	power wire brushing

.4	sandblasting

.3	Grind smooth sharp projections.

2.4	FINISHES

.1	Refer to "Schedule of Components" for component finishes. Unless otherwise indicated apply prime paint finish to unscheduled components.

.2	Prime Paint:

.1	Apply one coat of prime paint to components prior to assembly.

.2	Apply primer to properly prepared surfaces at temperature above 7° C to a dry film thickness of 50 to 75 micrometers.

.3	Leave surfaces to be welded unpainted.

.3	Galvanized:

.1	Hot dip galvanize components to CAN/CSA-G164-M92.

.2	Minimum zinc coating of [600 g/m2] [     ].

.3	Where size permits galvanize components after assembly.

.4	Zinc Rich Paint:

.1	Clean metal in accordance with surface preparation requirements of CAN/CGSB-1.181-92.

.2	Apply one coat of zinc rich paint to all surfaces exposed after assembly to minimum dry film thickness of 60 micrometres. Apply coating immediately after cleaning.

.5	Isolation Coating:

.1	Apply an isolation coating to contact surfaces of following components in contact with cementitious materials and dissimilar metals except stainless steel: (1) exterior components (2) interior components exposed to high humidity conditions.

3.	Execution

3.1	INSTALLATION

.1	Install components square, straight and true to line.

.2	Securely anchor components in place.  Unless otherwise indicated, anchor components as follows:

.1	To concrete and solid masonry with expansion shields and bolts.

.2	To hollow construction with toggle bolts.

.3	To thin metal with screws or bolts.

.4	To thick metal with bolts or by welding.

.5	To wood with bolts for heavy and medium duty fastenings; with screws for light duty fastenings.

.3	After installation, site clean and refinish damaged finishes, welds, bolt heads and nuts. Refinish with primer or zinc rich paint to match original finish.

3.2	SCHEDULE OF COMPONENTS

.1	Provide following components as specified herein and as shown on drawings.

ITEM No. 1 - [                         ]:

.1	Materials:  [             ].

.2	Fabrication:  [             ].

.3	Finish:  [             ].

.4	Installation:  [             ].

.5	Locations:  [             ].

SPEC NOTE:  List all steel components to be supplied under this Section using preceding format.

.2	In addition to the above, provide other steel fabrications shown on Drawings.

END OF SECTION