Section Cover Page

Section 07313 1999-09-23 Cedar [Shingle] [Shake] Roofing

Use this section to specify requirements for cedar shingle or cedar shake roofing on uninsulated wood decks.  Delete references to shingles when specifying shakes only and vice versa.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	General

1.1	Related Sections

1.2	Reference Standard

1.3	Qualifications

1.4	Inspection by Minister

1.5	Delivery, Storage and Handling

2.	Products

2.1	Shingles

2.1	Shakes

2.2	Felts

2.3	Cements

2.4	Accessories

3.	Execution

3.1	Verification of Conditions

3.2	Applying Ice Dam Protection

3.3	Application of Underlayment

3.4	Applying Shingles

3.4	Applying Shakes

Alberta Infrastructure policy is to allow the use of cedar shingles and shakes only under the following conditions:

Shingles:     On slopes of 1:2.4 and steeper.

Shakes:       On slopes of 1:2 and steeper.

Applicable Standards

.1	CAN/CGSB-37.4-M89	Fibrated, Cutback Asphalt, Lap Cement for Asphalt Roofing

.2	CAN/CGSB-37.5-M89	Cutback Asphalt Plastic Cement

.3	CGSB 37-GP-64M	Mat Reinforcing, Fibrous Glass, for Membrane Waterproofing Systems

.4	CSA A123.3-M1979(R1992)	Asphalt or Tar Saturated Roofing Felt

.5	CSA B111-1974	Wire Nails, Spikes and Staples

.6	CSA O118.1-1988	Western Red Cedar Shingles and Shakes

These reference documents may be available for reference purposes in the Technical Resources and Standards Branch Library, Alberta Infrastructure, 3rd Floor, 6950 - 113 Street, Edmonton; Telephone: (780) 427-7924.

1.	General

1.1	RELATED SECTIONS

.1	Flashing reglets:	Section 04200.

.2	Wood Blocking, curbs and deck:	Section 06100.

.3	Roof flashings and rainwater goods:	Section 07625.

.4	Plastic skylights:	Section 08621.

.5	Lead flashing to plumbing vents:	Section 15060.

1.2	REFERENCE STANDARD

.1	Conform to standards established by "Red Cedar Shingle and Handsplit Shake Bureau" (RCSHSB) and CSA 0118.1-1988.

1.3	INSTALLER QUALIFICATIONS

.1	Only competent, qualified tradesmen shall execute the work of this section.

1.4	INSPECTION BY MINISTER

.1	Minister will perform and pay for inspection of roofing and flashing work.

.2	Notify Minister of commencement of work of this Section and provide a schedule of operation.

.3	Contractor shall accompany Minister during inspection.  Repair any irregularities, with no change in Contract Price.

1.5	DELIVERY, STORAGE AND HANDLING

.1	Deliver materials to the job site, handle and store in original packages and containers with manufacturer's seals and labels intact.  The manufacturer's name, brand, mass, specification number, and lot number shall be shown on labels.

.2	Store materials in weatherproof shelters having floors which will protect materials from moisture.  Store roll materials on end.  Avoid prolonged exposure of light or heat sensitive materials to sunlight.

.3	Protect installed work and materials.

.4	Place protection to the requirements and satisfaction of this Section before performing the work of other Sections.

.5	In the event of materials damage by the elements, improper handling or other causes, such materials will be rejected, and shall be replaced at no extra cost to the Minister.  Remove rejected materials promptly from the site.

2.	Products

2.1	SHINGLES

.1	Cedar Shingles:  Western red cedar shingles, to CSA 0118.1-1988, blue label, no. 1 grade, [fire retardant treated,] 600 mm length.

OR

2.1	SHAKES

.1	Cedar Shakes:  Western red cedar shakes to CSA 0118.1-1988, resawn type, no. 1 grade, [fire retardant treated,] 600 mm length, 13 mm to 19 mm thickness.

SPEC NOTE:  Specify fire retardant treatment only if Alberta Building Code requires a Class C roof.

2.2	FELTS

.1	Organic felt:  asphalt saturated, [No. 25, plain and] No.  15 perforated, to CSA A123.3-M1979.

SPEC NOTE:  Include No. 25 felt when specifying shakes.

.2	Base Sheet:  Glass fibre mat to CGSB 37-GP-64M, asphalt saturated and coated, 1.5 kg/m2.

2.3	CEMENTS

.1	Lap cement:  cutback asphalt, fibrated, to CAN/CGSB-37.4-M89.

.2	Plastic cement:  cutback asphalt, fibre filled, to CAN/CGSB-37.5-M89.

2.4	ACCESSORIES

.1	Shingle nails:  Red cedar shingle nails, to CSA B111-1974; hot dipped zinc coated; flat head; diamond point; minimum penetration into deck, 13 mm; minimum length, 38 mm; No. 14 SWG.

OR

.1	Shake nails:  hot dipped zinc coated; flat head; diamond point; minimum penetration into deck, 13 mm; minimum length, 50 mm.

.2	Roofing nails:  CLH roofing nails, to CSA B111-1974, hot dipped zinc coated; large flat head; diamond point; minimum length, 25 mm; minimum head diameter, 11 mm; No. 9 3/4 SWG.

3.	Execution

3.1	VERIFICATION OF CONDITIONS

.1	Examine all surfaces to receive roofing.

.2	Deck surface shall be firm and dry, without ridges, warps or voids, and shall be properly fastened to the supporting structure.

.3	All penetrations except plumbing vents and masonry chimneys shall be curbed.  All penetrations over 200 mm wide shall have upslope splitters or curbs set diagonally to the slope.

.4	[On existing decks, loose nails shall be removed and deck shall be renailed where required.]

.5	Notify Minister of surfaces unacceptable to receive the work of this Section.

.6	Commencement of work of this Section shall imply unconditional acceptance of surfaces.

3.2	APPLYING ICE DAM PROTECTION

.1	Apply 100 mm wide band of plastic cement over deck flange of eave flashing.

.2	Embed into band of plastic cement, 450 mm wide strip of No. 15 organic felt.  Project edge of felt 5 mm beyond face of flashing.  Nail in place.

.3	Brush starter strip of felt with lap cement at rate of 0.6 L/m2.

.4	Starting at eave edge of starter strip, lay 914 mm wide No. 15 organic felt in 0.6 L/m2 of lap cement to produce 2 ply membrane.  Lap felts 480 mm and nail in place.  Extend membrane 1800 mm up slope, as measured from inside face of wall.

.5	Continue 2 ply ice dam membrane up valleys to ridge.  Form membrane 1800 mm wide, centered on valley.

3.3	APPLICATION OF UNDERLAYMENT

.1	Continue laying up slope, over area not covered by ice dam protection, single ply of No. 15 organic felt.  Lap edges 50 mm.  Tack in place.

.2	Along rake edges, project underlayment 5 mm beyond face of drip edge flashing.

3.4	APPLYING SHINGLES

.1	Apply shingles in straight single courses with 3 ply coverage and 190 mm weather exposure.

.2	Apply starter course of double layer of shingles along eave edge.  Project butts 40 mm beyond fascia board.

.3	Space shingles 5 mm apart.  Offset joints between adjacent courses, minimum 40 mm.  Alternate course joints shall not align.

.4	Secure each shingle with two nails.  Drive each nail 20 mm from shingle edge and 30 mm above butt line of course to follow.  Do not drive nail heads into shingles.

.5	Trim shingles parallel with valley to form 100 mm wide gutter.  Keep nails away from valley centre.

.6	Fabricate hips and ridges according to RCSHSB recommendations.  Prefabricated shingle hip and ridge units are acceptable.

OR

3.4	APPLYING SHAKES

.1	Apply shakes in straight single courses with 3 ply coverage and 190 mm weather exposure.

.2	Place along eave edge, 900 mm wide strip of No. 25 organic felt or base sheet.

.3	Apply starter course of double layer of shakes along eave edge.  Project butts 50 mm beyond fascia board.

.4	Space shakes 5 mm to 10 mm apart.  Offset joints between adjacent courses, minimum 40 mm.  Alternate course joints shall not align.

.5	After each course of shakes is applied, lay 457 mm strip of No. 25 organic felt or base sheet.  Lay felt or base sheet to extend from 380 mm above butt line of each course of shakes onto deck.

.6	Secure each shake with two nails.  Drive each nail, 25 mm from shake edge, and 40 mm above butt line of course to follow.  Do not drive nailhead into shakes.

.7	Trim shakes parallel with valley to form 100 mm wide gutter.  Keep nails away from valley centre.

.8	Apply 200 mm strip of No. 25 organic felt or base sheet across crown of hips and ridges.  Fabricate hips and ridges with shakes according to RCSHSB recommendations.  Prefabricated shake hip and ridge units are acceptable.

END OF SECTION