Section Cover Page

Section 07622 Metal Flashings for 1999-09-23 Bituminous Membrane Roofing

Use this Section to specify requirements for metal flashings intended for use with bituminous membrane roofing.

Use in conjunction with Section 07505, Bituminous Membrane Roofing General Requirements.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section Text:

1.	General

1.1	Related Sections

1.2	Reference Documents

1.3	Shop Drawings

1.4	Samples

1.5	Delivery, Storage and Handling

2.	Products

2.1	Materials

2.2	Fabrication, Generally

2.3	Fabrication, Flashing

2.4	Fabrication, Roof Accessories

3.	Execution

3.1	Examination of Surfaces

3.2	Protection of Existing Work

3.3	Flashing Installation, Generally

3.4	Installation of Flashing Joints

3.5	Installation at Reglets

3.6	Gum Box Installation

3.7	Splash Pan Installation

3.8	Vent Stack Installation

Metal flashings are intended to protect the roof membrane from accelerated deteriorating effects of the elements.  They are not intended to act as waterproofing.

Applicable Standards:

.1	ASTM A653-M96	Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot Dip Process

.3	CAN/CGSB-1.108-M89	Bituminous Solvent Type Paint

.4	CAN/CGSB-19.13-M87	Sealing Compound, One Component, Elastomeric, Chemical Curing

.5	CAN/CGSB 37.5-M89	Cutback Asphalt Plastic Cement

These reference documents may be available for reference purposes in the Technical Resources and Standards Branch Library, Alberta Infrastructure, 3rd Floor, 6950 - 113 Street, Edmonton; Telephone: (780) 427-7924.

1.	General

1.1	RELATED SECTIONS

.1	Reglets and through wall flashings:	Section [03300] [04200].

.2	Bituminous Membrane Roofing General Requirements:	Section 07505.

.3	Metal air stops at building control joints:	Section [    ].

1.2	SHOP DRAWINGS

.1	Submit shop drawings in accordance with Division 1.

.2	Clearly indicate bending, folding, jointing, fastening installation details.

SPEC NOTE:  Use the above clause only when complicated details of flashings are designed.

1.3	SAMPLES

.1	Comply with requirements of Division 1.

.2	Submit full size samples of each joint and profile.

SPEC NOTE:  Use the above clause when profile of flashing is complicated and a sample is required to illustrate the assembly and workmanship.

1.4	DELIVERY, STORAGE AND HANDLING

.1	Store materials off ground and under cover in a dry, well ventilated enclosure.

.2	Stack preformed material in manner to prevent twisting, bending and rubbing.

.3	Provide protection for galvanized and prepainted surfaces.

.4	Prevent contact of dissimilar metals during storage and protect from acids, flux, and other corrosive materials and elements.

2.	Products

2.1	MATERIALS

.1	Galvanized Steel Sheet:  commercial quality sheet to ASTM A653-M96, with Z275 designation zinc coating.

.2	Prepainted Galvanized Steel:  commercial quality to ASTM A653-M96 with Z275 zinc coating prepainted with baked on enamel with colours of proven durability for exterior exposure, to CSSBI Technical Bulletin No. 7, 5000 series.

.3	Solder:  50% pig lead and 50% block tin.

.4	Flux:  commercial quality as recommended by sheet metal manufacturer.

.5	Flashing Nails:  #12 hot dipped zinc coated, annular ringed.

.6	Sheet Metal Screws:  Cadmium plated, self tapping, pan head.

.7	Bituminous Paint:  solvent type, to CAN/CGSB-1.108-M89, type II.

.8	Plastic Cement:  cutback asphalt type, to CAN/CGSB-37.5-M89.

.9	Sealing Compound:  to Section 07510.

.10	Sealant:  one component, elastomeric, chemical curing, CAN/CGSB-19.13-M87.

.11	Recessed Reglet:  preformed 0.70 mm thick galvanized steel channel with face and ends covered with plastic tape.

.12	Flashing Anchor Clips:  0.80 mm thick galvanized steel.

2.2	FABRICATION, GENERALLY

.1	Form sections square, true and accurate to size, free from distortion and other defects detrimental to appearance or performance.

.2	Backpaint sheet metal with bituminous paint on surface in contact with concrete, masonry, cementitious materials or dissimilar metal.

2.3	FABRICATION, FLASHING

.1	Maximum Joint Spacing:

.1	Parapet Face Flashings:  1200 mm.

.2	Cap Flashing 300 mm and Greater in Width:  1200 mm.

.3	All Other Flashings:  2400 mm.

.2	Construct flashing joints to allow for flashing movement, using flat "S" lock seams.

.3	Maintain minimum of 22 mm lap at all joints.  Provide 25 mm anchor projection of "S" locks.

.4	At inside and outside corners, mitre the joint, and use upstanding seams, 25 mm minimum height and 22 mm minimum lap.

.5	Maintain minimum 1:5 slope on horizontal surfaces of flashings, parapets and control joints.

.6	Hem exposed edges on underside of all flashings.

.7	Fabricate cap flashing to have a drip leg minimum 110 mm high.

.8	Fabricate cap and counter flashings to lap 100 mm over base flashings.

2.4	FABRICATION, ROOF ACCESSORIES

.1	Form sheet steel roof drain sleeves, air-stops etc. from 0.70 mm galvanized steel.

.2	Form gum boxes from 0.70 mm galvanized steel, with 75 mm minimum upstand and 100 mm one piece flanges.  Solder joints.  Make pans wider than member passing through roof membrane by 50 mm minimum all sides.

.3	Fabricate roof scuppers from 0.70 mm, prepainted galvanized sheet steel with one piece deck flange, minimum 150 mm.  Contour scuppers to cant strips.

.4	Fabricate splash pans from 0.70 mm galvanized steel.

.5	Fabricate air/firestop below control joint box from 0.70 mm galvanized steel.

SPEC NOTE:  Ensure drain sleeve is detailed on drawings.

.6	Fabricate roof drain sleeves as detailed on drawings, from 0.70 mm galvanized steel.

3.	Execution

3.1	EXAMINATION OF SURFACES

.1	Examine surfaces to receive flashings.  Notify the Minister of surfaces which are considered unacceptable to receive the work of this Section.

.2	The commencement of flashing work will imply unconditional acceptance of the surfaces and substrates to which the flashing is to be fastened.

.3	Verify that the following are located and installed as detailed on drawings:

.1	Plywood and lumber nailer plates to walls and parapets.

.2	Control joints.

SPEC NOTE:  Verify drawings detail control joints and transitions to walls and parapets, if applicable.

3.2	PROTECTION OF EXISTING WORK

.1	Protect the work of other Sections from damage by the work of this Section.

.2	Place protection to the requirements and satisfaction of this Section before performing the work of other Sections.

3.3	FLASHING INSTALLATION, GENERALLY

.1	Install flashings not later than seven days after installation of the membrane on any particular section of the roof.

.2	Use 0.80 mm thick x 150 mm long anchor clips on fascia faces, and screws or annular ringed nails on the opposite face.

.3	Use exposed fastenings in approved locations.  Install anchors using annular ringed nails.

.4	Fasten flashings of 1.2 m length and shorter, through the extended "S" locks.  Fasten flashings over 1.2 m length, through the extended "s" locks, and at mid-length with a 150 mm long, 0.80 mm thick galvanized steel clip.

SPEC NOTE:  Specify following clause for projects in Calgary and south only.

.5	Fasten flashings at maximum 600 mm O.C.

.6	Where possible, do not set base flashing screws less than 200 mm from top of roof membrane.

3.4	INSTALLATION OF FLASHING JOINTS

.1	Fit flashings together so that one end of each section is free to move in the joint.  Do not use sealant at joints.

.2	Wipe and wash clean, soldered joints to remove traces of flux, immediately after soldering.

3.5	INSTALLATION AT REGLETS

.1	Assist in locating and installing recessed reglets, as required.

.2	Confirm reglet installation and report defects to the Minister.

.3	Insert metal flashing into reglets to form tight fit.

.4	Seal flashing into reglet with sealant.

3.6	GUM BOX INSTALLATION

.1	Fill gum boxes with plastic cement in two equal lifts.  Separate lifts with one ply of organic felt, precision cut to fit the box.

.2	Built-up Roofing Membranes:  apply two plies of organic felt stripping over flange and extend up face of box curb.  Reinforce stripping with 2 layers of woven glass cloth.

.3	Modified Bituminous Roofing:  apply roofing and flashing to membrane manufacturer's printed instructions.

3.7	SPLASH PAN INSTALLATION

.1	Install 0.80 mm thick, galvanized steel, 600 x 600 mm [     x     ] splash pans, with 25 mm high lip, at end of downspouts draining on roof.

.2	Bed and secure splash pan to [roof] [insulation] with [hot asphalt] [plastic cement].

3.8	VENT STACK INSTALLATION

.1	Install vent stacks to same elevation as top of curb.

.2	Size lead flashings to extend minimum 150 mm down curb base flashing and screw to base flashing.

END OF SECTION