Section Cover Page

Section 09525 2000-06-21 Acoustical Baffles

Use this section to specify suspended acoustical baffles, consisting of fabric-covered glass fibre rigid board insulation, with or without concealed framing.  Suspended acoustical baffles are normally specified to absorb airborne sound and control reverberation.  They may provide an alternative to or supplement surface acoustical treatment.

Provide reflected ceiling plan showing layout, quantity and relationship to mechanical and electrical components and systems.  Provide typical baffle elevations showing hanging alignment and hanger locations.  Indicate minimum clearances and orientation relative to sprinklers.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Data Sheet – Reference Documents

.3	Specification Section Text:

1.	General

1.1	Design Criteria

1.2	Submittals

2.	Products

2.1	Core Materials

2.2	Frame Components

2.3	Fabric

2.4	Accessories

2.5	Suspension System Components

2.6	Baffle Type[s]

2.7	Fabrication

3.	Execution

3.1	Verification of Conditions

3.2	Installation

3.3	Schedule

Applicable Standards

.1	AATCC8-1996	Colorfastness to Crocking: AATCC Crockmeter Method

.2	AATCC 16-1993	Colorfastness to Light

.3	ASTM C423-90a	Sound Absorption and Sound Absorption Coefficients by the Reverberatron Room Method

.4	ASTM D1117-97	Nonwoven Fabrics

.5	ASTM D1682-86	Standard Test Method for Breaking Load and Elongation of Textile Fabrics (Withdrawn Superceded by ASTM D5034 and ASTM D5035)

.6	ASTM D3884-92	Abrasion Resistance of Textile Fabrics (Rotary Platform, Double-Head Method)

.7	CAN/CGSB-51.10-92	Mineral Fibre Board Thermal Insulation

.8	CAN/ULC-S102-1988	Standard Method of Test for Surface Bruning Characteristics of Building Materials and Assemblies

These reference documents may be available for reference purposes in the Technical Resources and Standards Branch Library, Alberta Infrastructure, 3rd Floor, 6950 - 113 Street, Edmonton; Telephone: (780) 427-7924.

## END OF DATA SHEET

1.	General

1.1	DESIGN CRITERIA

.1	Design each individual hanger and anchorage to structure and baffle, to carry 6 times baffle weight, without deforming baffle or supporting structure.

.2	Design baffles to provide rigid suspended units with no deflection or deformation of components.

1.2	SUBMITTALS

SPEC NOTE:  Consider scope of work, complexity of design, and importance of appearance before specifying any or all samples.

.1	Comply with requirements of Division 1.

.2	Submit duplicate minimum 300 mm x 500 mm mock-up of baffle construction[s], including anchorage and hangers.

.3	Provide duplicate 200 x 200 mm sample of fabric in each type pattern and colour specified.

2.	Products

2.1	CORE MATERIALS

.1	Baffle Core:  rigid fibrous glass board insulation, to CAN/CGSB-51.10-92, and as follows:

.1	Density:  45-112 kg/m3.

.2	Noise Reduction Coefficient (NRC):  minimum [0.85] [0.95] tested to ASTM C423-90a, Type A or No. 4 mounting as follows:

SPEC NOTE:  Specify appropriate NRC in above clause and delete following subclauses if only one core thickness is specified.

.1	50 mm Thickness:  0.85 minimum.

.2	100 mm Thickness:  0.95 minimum.

2.2	FRAME COMPONENTS

.1	Wood:  straight, smoothly machined, essentially clear with slight defects permitted, average moisture content of 6%.

.2	Plastic:  straight, smoothly machined, type to manufacturer's option.

2.3	FABRIC

SPEC NOTE:  Specify fabric using the proprietary method or the prescriptive method, at the Specifier's option.

.1	Fabric [, Type [ ]:] one of the following:

.1	[     ] by [        ].

.2	[     ] by [        ].

.3	[     ] by [        ].

OR

.1	Fabric [, Type [1]]:  100% polyester yarn, as follows:

SPEC NOTE:  Normally specify Type [1] fabric, especially where appearance is important.  This type is available from numerous manufacturers and designed for office privacy screens.

.1	Weight:  270 g/m2 minimum.

.2	Weave:  plain.

.3	Warp/25 mm:  15 minimum.

.4	Fill/25 mm:  15 minimum and within 15% of warp.

.5	Flamespread Rating:  [25][75][150], to CAN/ULC-S102-1988.

SPEC NOTE:  Determine flamespread rating required for adjacent finishes and consult local fire and code authorities before specifying flamespread rating.

.6	Tensile Strength:  minimum 200 N, to ASTM D1682-86.

.7	Tear Strength:  minimum 150 N to ASTM D1117-97, section 14.

.8	Colourfastness to Crocking, Wet and Dry:  minimum Grade 4 to AATCC 8-1996.

.9	Colourfastness to Light:  minimum Class L5 to AATCC 16-1993, options A or E.

.10	Colour and Pattern:  [to match [     ]] [selected from manufacturer's standard range].

.2	Fabric [, Type [2]]:  pigmented vinyl-coated polyester yarn, as follows:

SPEC NOTE:  Type [2], vinyl-coated fabric is designed for exterior upholstered furniture. Its advantages over Type [1] fabric, if applicable, may be superior resistance to corrosive atmospheres and cleanability.

.1	Weight:  370 g/m2 minimum.

.2	Weave:  plain.

.3	Warp/25 mm:  15 minimum.

.4	Fill/25 mm:  12 minimum.

.5	Flamespread Rating:  [25][75][150], to CAN/ULC-S102-1988.

SPEC NOTE:  Determine flamespread rating required for adjacent finishes and consult local fire and code authorities before specifying flamespread rating.

.6	Tensile Strength:  minimum 800 N, to ASTM D1682-86.

.

.7	Tear Strength:  minimum 80 N to ASTM D1117-97, section 14.

.8	Abrasion Resistance:  no exposure of yarn after 500 cycles to ASTM D3884-92, no added weight.

.9	Colour and Pattern:  [to match [     ]] [selected from manufacturer's standard range].

2.4	ACCESSORIES

.1	Adhesive:  water-resistant, clear-drying and compatible with contacting materials.

.2	Sewing Thread:  material and colour clear or matching fabric.

2.5	SUSPENSION SYSTEM COMPONENTS

.1	Metal Components, Generally:  [carbon steel with corrosion resistant coating] [stainless steel].

SPEC NOTE:  Specify stainless steel components if baffles will be exposed to high humidity (swimming pools) or other corrosive environment.

.2	Hangers:  metal [cables, minimum 1.6 mm diameter] [or] [chains].

.3	Hanger Fasteners:  designed to prevent accidental separation, and as follows:

.1	To Baffles:  metal.

.2	To Structure:  metal, threaded or expansion type. Driven type fasteners not permitted.

.4	Fastener Anchorage at Baffles:  into framing, or metal plate anchored to core where core edges are chemically hardened, to suit design criteria.

2.6	BAFFLE TYPE[S]

SPEC NOTE:  Create an additional type, using the following format, for each variation in baffle dimensions, framing, fabric or installation.

.1	Type [A]:

.1	Shape:  [rectangular] [as indicated on drawings] [    ].

.2	Length and Width:  [1200 mm x 600 mm] [         ].

.3	Thickness:  [50] [100] mm.

.4	Frame:  [wood, plastic or metal] [chemically hardened core edges] [manufacturer's option].

SPEC NOTE:  Specify wood, plastic or metal frame when baffles will be suspended within 3 m of viewer and appearance is important.

.5	Fabric Type:  [1] [2].

.6	Installation:  [[length][width] horizontal][       ].

2.7	FABRICATION

.1	Fabricate baffles, stretch fabric without distortion and construct seams to provide symmetrical appearance and smooth, flat faces and edges.

.2	Align fabric weave in same direction on each baffle [, parallel with baffle bottom edge] [and as indicated on drawings] [        ].

.3	Provide straight seams.  Do not locate seams along bottom.  Minimize exposed seams.

.4	Centre hanger fasteners on width of top edges.  [Provide concealed anchorage using sheet metal secured to chemically hardened core edges.]

.5	Tolerances:

.1	Face Squareness:  [3] mm maximum variation in diagonal dimensions across baffle faces.

.2	Face Warpage:  [3] [ ] mm maximum measured across face diagonals.

SPEC NOTE:  Specify 3 mm tolerances up to 600 x 1200 mm baffles.  Increase tolerances with increasing baffle size, up to 6 mm.

SPEC NOTE:  Include following two clauses if frames are specified to be wood, plastic, metal or to manufacturer's option.  Delete if chemically hardened edges are specified.

[.6	Where frame is wood, plastic or metal, provide one piece frame along top of baffles and frame split mid-width at exposed baffle edges.]

[.7	Where ends are split-framed, conceal fabric edges by back-wrapping and adhering fabric to back of split framing.]

3.	Execution

3.1	VERIFICATION OF CONDITIONS

.1	Do not begin installation until:

.1	Building is permanently enclosed.

.2	Dust generating activities are completed.

.3	Other overhead work has been completed.

.2	Verify the following:

.1	Substrate for hanger anchorage is structurally adequate.

.2	Existing conditions conform with drawings.

.3	Baffles will not interfere with air supply, lighting, sprinkler and sound reinforcement system operation.

.3	Report nonconforming conditions to Minister before beginning installation.

3.2	INSTALLATION

.1	Secure hanger fasteners to structure [as indicated on drawings] to meet design criteria.

.2	Locate and align baffles as indicated on drawings.  Hang baffles [vertically, with bottoms horizontal] [as indicated on drawings].

SPEC NOTE:  Delete following clause if not applicable.

.3	Hang baffles from lower flutes of fluted steel decking.

3.3	SCHEDULE

SPEC NOTE:  Edit or delete schedule if, respectively, some or all variables are indicated on drawings.

| Baffle Type | Location | Fabric Type | [ ] |
| --- | --- | --- | --- |
| [A] | [ ] | Type [1][2] | [ ] |
| [ ] | [ ] | Type [1][2] | [ ] |

# END OF SECTION