Section Cover Page

Section 14 01 00 2006-05-01 Elevating Device Safety Inspections

Use this Section to specify in-service safety inspection requirements for elevating devices. Use this Section in conjunction with Section 14 01 05 – Elevating Device Locations and Descriptions.

This Master Specification Section contains:

.1	This Cover Sheet

.2	Specification Section text:

1.1	Scope of Services

1.2	Coordination

1.3	Regulatory Requirements

  - Inspection Checklists, Reports and Directives

Obtain bids from the following authorized and accredited elevator inspection agencies:

| AGENCY | PHONE/FAX |
| --- | --- |
| AEDARSA #207, 8616 – 51 Avenue Edmonton, AB T6E 6E6 | Edmonton Ph. (780) 448-0184 Fax (780) 448-0237 Calgary Ph. (403) 216-5750 Fax (403) 216-5755 |
| Action Elevator Service. Ltd. #191, 440 – 10816 Macleod Tr. S. Calgary, AB T2J 5N8 | Ed Dawe Ph. (403) 735-5231 Fax (403) 238-7882 |
| KJA Consultants Inc. 9929 - 108 Street, Main Floor Edmonton, AB T5K 1G8 | John Lee Ph. (780) 420-1389 Fax (780) 488-8974 |
| Lerch Bates North America, Inc. 303, 6707 Elbow Dr. Calgary, AB T2V 0E5 | Louis Belcourt (Calgary) Ph. (403) 212-3797 Fax (403) 259-3783 Bruce Reilly (Edmonton) Ph. (780) 451-8004 Fax (780) 451-6714 |
| Vinspec Ltd. #202, 10204 –125 Street Edmonton, AB T5N 1S9 | John Simpkin (Edmonton) Ph. (780) 488-3808 Fax (780) 665-6038 Ken Vinge (Sundre) Ph. (403) 850-4759 Fax (403) 638-4102 |

  - SCOPE OF ServiceS

.1	Provide all necessary labour and equipment to provide in-service safety inspection and testing of all elevating devices identified in Section 14 01 05 – Elevating Device Locations and Descriptions.

.2	Provide all inspection and testing services in accordance with current, applicable, regulatory requirements.

.3	Inspect for proper adjustment, operation and condition including inspection of any unique features, which the regulatory requirements may not require.

.4	Perform all safety inspections within the time period required by the authorities having jurisdiction.

1.2	Coordination

.1	Schedule inspections with Minister to minimize inconvenience to occupants. Advise and register with Minister when arriving and leaving site.

1.3	REGULATORY REQUIREMENTS

.1	Comply with the latest edition of the Alberta Elevating Devices Codes Regulation and the following codes and standards as varied by this Regulation:

.1	CSA B355-00 – Safety Standard for Persons with Physical Disabilities.

.2	CSA B44-00 – Safety Code for Elevators.

.2	Comply with other requirements of authorities having jurisdiction.

.3	Inspection and testing must be performed by a Safety Codes Officer appointed under the Safety Codes Act (Alberta).

1.4	inspection CHECKLISTs, reports and directives

.1	Record all inspection and test results on appropriate forms and checklists for each elevating device.

.2	Review and confirm that requirements identified in Standata ED –99-004 are being met. Complete a safety inspection checklist for the “Section 12” maintenance requirements.

.3	Note all concerns and submit any directives resulting from the inspection to the Minister before leaving the site.

.4	Submit completed inspection checklists and reports to the Minister within 10 days after the inspection. Invoices for completed services will not be processed until checklists and reports have been submitted.

END OF SECTION