# Contractor Information

| Contractor’s Name |
| --- |
| Address |
| City or Town | Province | Postal Code |

# Submit Report to

Facility Manager’s Name

Alberta Infrastructure and Transportation

Property and Supply Management Division

# Property Information

| Description of Property |
| --- |
| Address |
| City or Town | Province | Postal Code |

# Chiller and Purge Unit Information

| Liquid Chiller Number: |  |
| --- | --- |
| Manufacturer / Model No: |  |
| Chiller Run Time Hours: |  | Purge Unit Run Time Minutes: |  |

# Inspection Information

| Inspected by: |  |
| --- | --- |
| Date of Inspection: |  |
| Minister’s Representative: |  |

| Component | Needs Repair or Replacement | Comments |
| --- | --- | --- |
|  | Yes | No |  |
| Refrigerant Leakage |  |  |  |
| Chiller Start-Up |  |  |  |
| Oil Leakage |  |  |  |
| Water Leakage |  |  |  |
| Operating Controls |  |  |  |
| Controls |  |  |  |
| Purge Operation |  |  |  |
| Starter Operation Voltage / Current |  |  |  |
| Vane Positioner |  |  |  |
| Instructions to Operator for Normal Operation |  |  |  |
| Operating Pressures |  |  |  |

| Component | Needs Repair or Replacement | Comments |
| --- | --- | --- |
|  | Yes | No |  |
| Operating Temperatures |  |  |  |
| Operating Voltages / Amperages |  |  |  |
| Refrigerant Levels |  |  |  |
| Oil Lubrication Levels |  |  |  |
| Oil Inspection: Acid Content |  |  |  |
| Oil Inspection: Moisture Content |  |  |  |
| Oil Inspection: Wear Metal Content |  |  |  |
| Operator Instructions for Winter Shut-down |  |  |  |
| Wiring and Connections |  |  |  |
| Accuracy of Gauges |  |  |  |
| Accuracy of Thermometers |  |  |  |

| Component | Needs Repair or Replacement | Comments |
| --- | --- | --- |
|  | Yes | No |  |
| Indicator / Alarm Lights |  |  |  |
| Starter Motor Dash Pot Oil |  |  |  |
| Purge Compressor Motor Meg Readings |  |  |  |
| Oil Separator and Heater |  |  |  |
| Oil Pump Motor Meg Readings |  |  |  |
| Oil Heater |  |  |  |
| Oil Cooler |  |  |  |
| Strainers, Filter Gaskets |  |  |  |
| Pressure Test |  |  |  |
| System Leak Test |  |  |  |
| Condenser Tubes |  |  |  |

End of Section