# Building Details

| Building Name |
| --- |
| Address |
| City or Town | Province | Postal Code |
| Contact Person | Telephone |

# System Description

| No. | Item | Yes | No |
| --- | --- | --- | --- |
| 1 | Manufacturer |  |  |
| 2 | Model No. |  |  |
| 3a | Single Stage |  |  |
| 3b | Double Stage |  |  |
| 4a | Coded |  |  |
| 4b | Non-Coded |  |  |
| 5 | Zoned | No of Zones |  |  |  |
| 6 | Supervised |  |  |
| 7 | Control Panel Location |  |  |
| 8a | Emergency Power Supply - Battery |  |  |
| 8b | Emergency Power Supply - Standby |  |  |
| 8c | Emergency Power Supply - Generator |  |  |
| 9 | Fire Alarm System monitored by Local Fire Department or Central Monitoring Agency |  |  |
| 10 | Remote Annunciator(s) |  |  |
| 11 | Tie-in with Sprinkler System |  |  |
| 12 | Smoke Evacuation Systems |  |  |

# Building Details

| Building Name |
| --- |
| Address |
| City or Town | Province | Postal Code |
| Contact Person | Telephone |

# System Details

| Date | Installation No. | Manufacturer | Model No. |
| --- | --- | --- | --- |
| Operation | Single Stage | Two Stage |

Test Results – every line must have the appropriate marking in the space provided.

| No. | Item | Yes | No |
| --- | --- | --- | --- |
| 1 | The Fire Alarm System functioned correctly under General Alarm condition |  |  |
| 2 | Location of manual alarm initiating devices operated with main AC Power off: |  |
|  | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  | 5 |  |  |
|  | 6 |  |  |
| 2a | The Fire Alarm System functioned correctly during the above test. |  |  |
| 3 | Each manual alarm initiating device has been individually tested. See Note 1 | No. of Devices |  |  |  |
| 4 | Each automatic alarm initiating device has been tested. See Note 1 | No. of Devices |  |  |  |
| 5 | Each audible and visual signalling device has been tested. See Note 1. | No. of Devices |  |  |  |
| 6 | Correct annunciation has been confirmed for each device tested. |  |  |

Note 1: Details of these tests for all initiating and signalling field devices have been recorded and attached pages 3 through [ ].

# Summary

| No. | Item | Yes | No |
| --- | --- | --- | --- |
| 1 | The Fire Alarm System is now fully functional |  |  |
| 2 | The Fire Alarm System is operational with minor deficiencies noted on pages attached. |  |  |
| 3 | The Fire Alarm system has major deficiencies noted on pages attached. |  |  |
| 4 | A copy of this report has been given to |  |  |  |
|  | who is the Minister’s representative for this building |  |  |

Test and maintenance codes require that this record be maintained by the Minister for a minimum of two years.

# Signatures

This is to certify that the Fire Alarm system has been tested in accordance with Section 4: Periodic Testing of Fire Alarm System of CAN4-S536-86 (R1991) and these records document the results of tests performed.

| Signature of Approved Person Conducting Test | Company Name | Telephone |
| --- | --- | --- |

##### Pre-Test Checklist

| No. | Item | Yes | No |
| --- | --- | --- | --- |
| 1 | Is there a fire department interconnection? If so, take necessary steps to alert central station/fire department, etc. Do not use the Fire Department telephone number |  |  |
| 2 | Name of person contacted at the central station or fire department. |  |
|  | Name: |  |  |
|  | Title |  |  |
|  | Time Out: |  | Time In: |  | Date: |  |  |
|  | Time Out: |  | Time In: |  | Date: |  |  |
|  | Time Out: |  | Time In: |  | Date: |  |  |
| 3 | Do you have auxiliary functions that can impair building functions such as elevator capture, fan shutdown, door holders, etc? |  |  |
| 4 | Have building occupants been made aware of fire alarm testing? |  |  |
| 5 | Has a predetermined time been established for testing signaling devices? |  |  |
| 6a | Have provisions been made for acquiring access to the secured areas of the building? |  |  |
| 6b | Are spare reset and panel keys available? |  |  |
| 7 | Has an alternative plan been established to alert occupants and local fire department should an actual fire condition occur during testing? |  |  |

##### Control Equipment Test Record - Every line must have the appropriate marking in the box provided

Yes – Tested Correctly

No – Did not test Correctly

N/A – Not applicable function or feature not provided on this Fire Alarm System

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Power on Indicator |  |  |  |
| 2 | Common Trouble Signal |  |  |  |
| 3 | Trouble Silence Switch |  |  |  |
| 4 | AC Power Failure Trouble |  |  |  |
| 5 | General Alarm Operation |  |  |  |
| 6 | General Alarm Automatic Cutout Timer |  | Minutes |  |  |  |
| 7 | Control Panel Interconnection to Fire Department Confirmed |  |  |  |
| 8 | Alarm Signal Silence Operation |  |  |  |
| 9 | Alarm Signal Silence Lamp |  |  |  |
| 10 | Alarm Signal Silence Inhibit One Minute |  |  |  |
| 11 | Alarm Initiating Circuit Individually Tested for Alarm |  |  |  |
| 12 | Alarm Lamp Operation (Individually Tested) |  |  |  |
| 13 | Alarm Lamp Designation Checked |  |  |  |
| 14 | All Audible Alarm Signals Operated on AC Power |  |  |  |
| 15 | Audible Alarm Signals Programmed per Specification |  |  |  |
| 16 | All Audible Alarm Signal Circuits Operate on General Alarm (Battery Standby or Standby Emergency Power) |  |  |  |
| 17 | Auxiliary Relays Operate |  |  |  |
| 18 | Auxiliary Relays Programmed per Specification |  |  |  |
| 19 | Emergency Voice Paging Interface Operation |  |  |  |
| 20 | Trouble Lamps (Initiating Circuits) |  |  |  |
| 21 | Trouble Lamps (Signal Circuits) |  |  |  |
| 22 | Lamp Test |  |  |  |
| 23 | Module Alignment |  |  |  |
| 24 | Plug-in Components Securely in Place |  |  |  |
| 25 | Are Exposed Electrical Contacts Clean |  |  |  |
| 26 | Designation Indications for Common Control and Indicators |  |  |  |
| 27 | Reset Operation |  |  |  |
| 28 | Are Glass and Door Clean |  |  |  |
| 29 | Control Panel Lock |  |  |  |
| 30 | Cleanliness |  |  |  |

##### Battery Tests

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Battery Type |  |  |
| 2 | Battery Voltage (AC Power On) |  | VDC |  |
| 3 | Battery Charging Current |  | MA |  |
| 4 | Battery Voltage (AC Power Off – Supervisory Condition) |  | VDC |  |
| 5 | Battery Voltage (AC Power Off – General Alarm Condition) Full Load |  | VDC |  |
| 6 | Battery Inspected for Physical Damage |  |  |  |
| 7 | Battery Terminals Cleaned and Lubricated |  |  |  |
| 8 | Battery Terminals Clamped Tightly |  |  |  |
| 9 | Electrolyte Level Checked |  |  |  |
| 10 | Specific Gravity of Electrolyte per Manufacturer Specification |  |  |  |

##### Voice Communication Test

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Communication System Trouble Lamp |  |  |  |
| 2 | Communication System Trouble Signal |  |  |  |
| 3 | Communication System Trouble Silence Switch |  |  |  |
| 4 | Paging All Call Switch |  |  |  |
| 5 | Paging All Call Lamp |  |  |  |
| 6 | Individual Paging Zone Select Switches (Individually Tested) |  |  |  |
| 7 | Individual Paging Zone Select Indicators |  |  |  |
| 8 | Trouble Lamps Voice Paging |  |  |  |
| 9 | Microphone Press to Talk Switch |  |  |  |
| 10 | Operation of Voice Communication system does not interfere with first minute of alarm signaling |  |  |  |
| 11 | Emergency Voice Paging Loudness Level |  |  |  |
| 12 | Emergency Voice Paging operates on All Call (on Emergency Standby Power) |  |  |  |
| 13 | Emergency Telephone Call-In Lamp |  |  |  |
| 14 | Emergency Telephone Call-In Udal Signal |  |  |  |
| 15 | Individual Telephone Zone Select Switches (Individually Tested) |  |  |  |
| 16 | Individual Telephone Zone Select Indictors |  |  |  |
| 17 | Emergency Telephone Zone Select Indicators |  |  |  |
| 18 | Module Alignment |  |  |  |
| 19 | Plug-In Components Securely In Place |  |  |  |
| 20 | Are Exposed Electrical Contacts Clean |  |  |  |
| 21 | Designation indicators for Common Control and Indicators |  |  |  |
| 22 | Are Glass and Door Clean |  |  |  |
| 23 | Control Panel Lock |  |  |  |
| 24 | Cleanliness |  |  |  |
| 25 | The above tests have been conducted in accordance with the manufacturer’s literature |  |  |  |

##### Remote Trouble Unit

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Trouble Lamp |  |  |  |
| 2 | Trouble Signal |  |  |  |

##### Annunciator Tests

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Annunciator Alarm Lamp Operation (Individually Tested) |  |  |  |
| 2 | Annunciator Alarm Lamp Designation Checked (as per the attached list) |  |  |  |
| 3 | Trouble Lamp |  |  |  |
| 4 | Trouble Signal |  |  |  |
| 5 | Power on Lamp |  |  |  |
| 6 | Lamp Test |  |  |  |
| 7 | Lamp Supervision |  |  |  |
| 8 | Signal Silence Lamp |  |  |  |
| 9 | Annunciator (Auxiliary Function) |  |  |  |
| 10 | Cleanliness |  |  |  |

##### Ancillary Devices Tests

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |

##### After Test Checklist

| No. | Item | Yes | No | N/A |
| --- | --- | --- | --- | --- |
| 1 | Reconnect Auxiliary Functions (off site connections) |  |  |  |
| 2 | Reconnect Auxiliary Functions |  |  |  |
| 3 | Reconnect Time Limit Cutouts |  |  |  |
| 4 | Reconnect Signal Power |  |  |  |
| 5 | Advise Building Management Work Completed |  |  |  |
| 6 | Advise Fire Department Work Completed |  |  |  |
| 7 | Ensure that the alarm system is functional |  |  |  |

| Device Testing – Legend and Notes |
| --- |
| Device | Description | Type | Model No. |
| M | Manual Pull Station |  |  |
| HT | Heat Detector Fixed Temperature |  |  |
| RHT | Heat Detector Rate of Rise |  |  |
| S | Smoke Detector |  |  |
| DS | Duct Smoke Detector |  |  |
| FS | Sprinkler Flow Switch (Note 2) |  |  |
| TS | Sprinkler Tamper Switch (Note 3) |  |  |
| SA | Smoke Alarm Single Station Type (Note 4) |  |  |
| B | Bell |  |  |
| K | Horn (Klaxton Type) |  |  |
| C | Chime |  |  |
| V | Visual Alarm Appliance |  |  |
| SP | Loud Speaker |  |  |
| HSP | Horn Loud Speaker |  |  |
| T | Firefighters Telephone |  |  |
| AD | Ancillary Device |  |  |

Note 1:	Confirmation of Wiring supervision to each individual device is only required during installation verification or a complete building audit of the system and is not required at the annual test.

Note 2:	For sprinkler flow switch, indicate the delay of flow indicator in the Remarks Column.

Note 3:	Sprinkler temper switches cause trouble condition to be annunciated but not an alarm condition.

Note 4:	Signal station smoke alarms are not part of the fire alarm system, but testing of such devices may be required by the fire authority.

Note 5:	Identify the specific ancillary devices in the Remarks Column.

###### Remarks

(Attach additional sheets if further remarks are required).

| Date |  |  | Page |  | of |  |
| --- | --- | --- | --- | --- | --- | --- |

| Building Name |  |
| --- | --- |

| Note: Provide information in all spaces | Correctly Installed | Missing | Requires Service or Repair | Alarm Operation Confirmed | Circuit Number | Annunciation Indicator | Supervision of Wiring See Note No. 1 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location | Device |  |  |  |  |  |  |  | Remarks |